## Slide 1: Integration of powering and protection system
INTEGRATION: M. Alcaide, J.P. Corso, C. Magnier, S. Maridor, B. Vazquez de Prada, I. Zurbano
D. Duarte, P. Ferracin, H. Prin, E. Todesco,
R. Calaga, F. Killing, E. Montesinos and the whole WP4
A. Masi, A. Rossi, S. Redaelli and the whole WP5
A. Ballarino, A. Jacquemod, V. Parma and the whole WP6a
J.P. Burnet, C. Coupat and the whole WP6b
F. Rodriguez Mateos, D. Wollmann WP7
S. Claudet WP9
G. Arduini, M. Fitterer: WP2
Vibration : M. Fitterer, M. Guinchard Lukasz Jerzy Lacny, J. Wennigner (BE-ABP+EN-MME)
WP17: EN-EL: Gerard Cumer, Nuno Dos Santos, Jean-Claude Guillaume
EN-CV: M. Battistin, F. Boralho, P. Pepinster
EN-HE: C. Bertone, B. Feral, R. Rinaldesi, I. Ruehl
GS-ASE: T. Hakulinen, S. De Luca, P. Ninin
GS-SE: J. Osborne, P. Mattelaer
T. Otto
DGS-RP: C. Adorisio
DGS-SEE: J. Gascon
And many others
Prepared by P. Fessia

## Slide 2: Summary
The environment and the integration objectives
The 11 T at Point 7
Point 1 and Point 5
  The adopted approach and the related constraints
  General view of the underground integration of the powering system
    “Technical service” side
    “Machine” side
  Initial consideration on the protection system
  Installation constraints

## Slide 3: The environment and the integration objectives

## Slide 4: Integration objectives
Peak performance
Availability
Reduce intervention time
Reduce risk of failure
Provide best as possible operation environment for equipment
Allow all necessary equipment to operate together
Scheduling constraints
LHC operation constraints
Existing LHC environment integration constraints
Budgeting constraints
Safety constraints

## Slide 5: The 11 T at Point 7

## Slide 6: Point 7 Trim PC and Protection. Preliminary study
IP7
 | A9 option | A20 option
MB.B8L7 | 440 | 550
MB.B8R7 | 360 | 470
Possible areas for new converter
A9
A20

## Slide 7: Junction with LHC tunnel

## Slide 8: The adopted approach and the related constraints

## Slide 9: The adopted approach: the double decker solution
POINT 1
POINT 5

## Slide 10: The Double Decker

## Slide 11: One among many tests on vibrations effect…..
89m
141m
Geophones
Vertical transfer functions were measured at point 1 with a vibrating truck (frequency range 4-100 Hz). Beam observations were made in parallel (for 89m distance).

## Slide 12: ….. and one of the many results
12
Beam measurements with the vibrating truck were performed for the squeezed optics (80 cm) at 6.5 TeV and at injection.
  Multi-turn data (all BPMs) & ADT data.
Measurements results:
  Beam oscillations were only observed in the vertical plane  truck location.
  Beam oscillations were only observed for vibration frequencies of 18-22 Hz – consistent with the measured triplet cyostated magnet resonances.
  Observed B1/B2 amplitude ratio of ~2.5 implies that the different triplet quads oscillated with different amplitudes.
  The oscillation amplitudes of the triplet CMs were in the few mm range for a ground motion amplitudes of ~50 nm in the tunnel.
Dark blue = no truck
The observations are consistent with the triplet resonances that enhance the vibrations by a factor >> 10

## Slide 13: How to cure….
Go Far

## Slide 14: How to cure…. …. Do not do vibrate when you cannot
The vertical shaft excavation overlaps with the 2018 LHC run, the distances to the triplet are 90-95m longitudinally + height. The underground design was modified to place the shaft as far as possible from the triplets.
The horizontal galleries and cavern will be excavated during LS2.
Concreting / finishing work overlaps with LHC runs 2021 / 2022.

## Slide 15: As result….
Envelope of the underground structure
has been fixed the 26th/02/2016
Drawings will be handled to the contractor for construction design on the end of April 2016
From that moment till 2019 modification could be possible,
but will induce exponentially increasing extra costs
From 2019 no modification will be possible

## Slide 16: General view of the underground integration of the powering system

## Slide 17: Together with cryogenics

## Slide 18
Together with crab RF

## Slide 19
Powering system

## Slide 20: Hl-LHC machine: from Q1 to DFM
Q1
Q2a
Q2b
Q3
CP
D1
DFX
DFM

## Slide 21
DFX
DFM
D2
Q4
CRAB cavities
Hl-LHC machine: from DFX to Q4

## Slide 22
Q4
CRAB
cavities
D2
Q5
Q6
LHC
Hl-LHC machine: D2 to Q6

## Slide 23
Powering system: the UR

## Slide 24: What you find in the integration
As stated integration was in hurry to prepare proper CE engineering volumes, therefore taking risk several changes were introduced vs. the baseline

## Slide 25
Powering system: the UR transformers
for L and R

## Slide 26
Powering system: the D1 to Q1 supply
(via DFHX)

## Slide 27
CLIQ
CLIQ
Powering system: the D2 to Q6 supply
(via DFHM)
Latest integration features all SC links of the same length

## Slide 28: An obvious recall
Integration of the powering system is not only finding place for convertors and services equipment but it is also part of optimising the full performance:
1kW dissipated
Operational costs
Air cooling
Water cooling
Air ducts
Air treatment units
Water piping
Water cooling units
Cabling
Installed electrical power
Tunnel sections
Cavern dimensions

## Slide 29
Integration and WP17 have worked hard since last summer to reduce heating loads. The achievements were already partially presented in the integrating talk at the annual review it will be updated and reviewed in the L. Tavian talk

## Slide 30: Initial consideration on the protection system

## Slide 31
UL557
RR57
Q1
D1
D2
Q6
Point 5: protection preliminary integration

## Slide 32: Point 5: protection preliminary integration
Q1-Q3
Q2A-Q2B
D1

## Slide 33
UL16
UL16
Q1-Q3
Q2A-Q2B
D1
A
A-A
Point 1: protection preliminary integration

## Slide 34: Example of installation constraints
The installation in the underground technical galleries and cavern should follow the sequence here below:
Safety related elements
Cranes
Metallic structures
General services: electrical, ventilation, communication system, etc
Cryogenic
SC link
Power converters

## Slide 36: Annexes

## Slide 37
≈ 120 m
UL557
Q1
Q2A
Q2B
D1
Q3

## Slide 38
2X4 m
1X1 m
RQ4
RQ7
RQ9
RQ8
RQ10
RQ6
RQ6
RQ5
D2
STAY
REMOVE

## Slide 39
UL557
Q1
Q2A
Q2B
D1
Q3
UJ57
≈ 120 m
≈ 40 m