## Slide 1
CV Presentation
UPDATE MEDICIS
Cooling
A.BROCHE – EN/CV
https://indico.cern.ch/event/490526/
Thursday 3rd March

## Slide 2
OUTLINE
  Users requirements
  Technical proposal
  Budget
  Planning

## Slide 3
USERS REQUIREMENTS
The Front End Target and Separator require DW cooling;
To include compressed air purge to drain potentially
radioactive water contained in the Front End Target;
To include an emergency mode in case of power failure;
To design a system independent of ISOLDE’s activity;
EDMS 1352214 is Obsolete;
URs are detailed in the Work Package EDMS 1353803.
Item | Heat load (kW) | ∆T (°C) | ∆P (Bar)
Front End Target | 4 | 16 | 1.5
Separator | 3 | 10 | 3

## Slide 4
TECHNICAL PROPOSAL: First Floor
To Ground Floor’s manifold

## Slide 5
TECHNICAL PROPOSAL: First Floor

## Slide 6
TECHNICAL PROPOSAL: Ground Floor
From First Floor’s cooling station
Compressed air and Purge
+ dry contacts

## Slide 7
BUDGET
Total is 221 kCHF + 10% contingencies;
See detailed Work Package EDMS 1353803.

## Slide 8
Work package approval: March 2016
Price inquiry: April to May 2016
Construction work: September 2016
Commissioning: October 2016
PLANNING

## Slide 9
THANK YOU FOR YOUR ATTENTION
QUESTIONS ?