Overview
January 2009 offline detector review - 2nd go
Offline
  - Geometry
  - Material budget
  - Simulation
  - Raw data
  - OCDB parameters
  - Reconstruction
Calibration Issues
  - Online Calibration
  - Offline Calibration
  - GRP
  - Trigger
  - Questions for CORE (new!)
Christian Holm Christensen
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Geometry
Geometry
Are any changes in the geometry and material descriptions expected/foreseen?
  - Maybe. Currently FMD2+3 are off by ~4mm away from IP, possibly due to incorrect SPD geometry.
Is the current situation satisfactory?
  - Yeeees, but we'd prefer to move back to design.
Full/survey misalignment: is it possible to introduce full or survey misalignment without creating overlaps?
  - Internally yes, but the survey story is a bit muddy.
More on this on a later slide!
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Material Budget
Material Budget
Is the current step size good for the calculation of material budget and for energy loss correction?
  - Not investigated at this time. Off-hand the step size seems fine.
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Simulation - Time
Simulation - Time
Time information in simulation (needed for pileup sim and more realistic detector response - this item is new, we never asked them before!)
Is step manager correctly storing the time of the hits
  - Yes!
Does the digitization take into account the time of the hits
  - Yes!
Does the digitization simulates correctly the time response of the readout (binning, time windows etc.)
  - Yes!
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Simulation - Other (1)
Simulation – Other (1)
Is the memory and CPU consumption under control at each simulation step: hits, sdigits, digits?
  - Yes
Labels: are the labels from the kinematics tree correctly propagated to hits, sdigits, digits?
  - AliFMDBaseDigit (AliFMDDigit and AliFMDSDigit by extension) inherits from AliDigit.
  - Up to 3 track labels stored. Warnings in case of more needed.
  - SVN revision 30718
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Simulation - Other (2)
Simulation – Other (2)
Track references: are the track references needed and if yes, are they correctly implemented in the step manager?
  - Needed for BG correction. Implemented. Needs a little bit of testing.
Event merging: is the event merging correctly working for the detector?
  - Not tested at this time.
  - Cvetan will setup test-bench soon
Embedding: is the track embedding foreseen in your detector? If yes, is it working correctly?
  - No.
  - AliFMD::Raw2SDigits implemented and working
  - SVN revision 30718
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Raw Data
Raw Data
Is the raw data format already fixed, or additional changes are needed?
  - The raw format (ALTRO format) has recently undergone some transformations. The responsibility for making proper decoders/encoders lies with a working group steered by Luciano Musa. Cvetan will most likely do the final implementation.
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
OCDB parameters : simulation vs reconstruction
OCDB parameters : simulation vs reconstruction
Are the gains stored in OCDB correctly used both in the simulation and reconstruction?
  - Yes. Also applies to pedestals, conditions, and other such parameters.
LHC machine parameters to go to GRP
  - Currently not used.
  - Could use: Beam energy, and type.
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Reconstruction (1)
Reconstruction (1)
Are all the necessary reco params in OCDB (including params for cosmic reco)
  - Yes (none needed)
Are reco params fully used in the reco
  - No, since none are needed :-)
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Reconstruction - Track Reconstruction (2)
Reconstruction - Track reconstruction (2)
Shift in the reconstructed Pt: is the problem understood ans is the current situation satisfactory?
  - N/A
Doubly found tracks: is the reported increase confirmed and is the origin understood?
  - N/A
Is the propagation status correctly taken into account? If the propagation fails, are the track parameters left unchanged?
  - N/A
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Reconstruction - V0 Reconstruction (3)
Reconstruction – V0
reconstruction (3)
Low V0 efficiency if the propagation failed
  - N/A
Like sign V0s requested for background studies
  - N/A
Shift in the reconstructed radial coordinate of the gamma conversion points
  - N/A
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Reconstruction - PID (4)
Reconstruction – PID (4)
Eta dependency of PID efficiency: is it understood?
  - N/A
PID efficiency at the relativistic rise: is the comparison data vs MC OK? Is the results understood?
  - N/A
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Online Calibrations
Online Calibrations
Status of the procedures (DAs, preprocessor)
  - All 3 done, tested, and working
Status of the DPs definition (new DPs foreseen, status of their implementation)
  - Done – none needed.
Run types defined for your preprocessor (are they correctly implemented in ECS / treated in your preprocessor?)
  - Yes.
Status of the calibration objects (new objects needed?)
  - Done
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Offline Calibration
Offline Calibration
Status of the procedures after the Offline October '08 Week
  - First step procedures done. Second step procedures (Sharing, BG and acceptance corrections, and multiplicity cuts) well underway.
Status of the calibration objects (new objects needed?)
  - No new first step procedure objects. Second step storage of objects generally not settled in AliROOT yet. Latchezar has more information.
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
GRP
GRP
Information you may need to have added in the GRP preprocessor
  - We could want collision system, and energy.
Run types for which you may need the GRP to run
  - All run types (since needed for offline passes):
    - Physics
    - Standalone
    - Pedestal
    - Gain
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Trigger Information
Trigger Information - in case your subdetector is a triggering detector
Information you may need to retrieve
  - N/A
Procedures you may need to apply
  - N/A
System (DAQ/DCS/HLT) you may need to interact with to retrieve your information
  - N/A
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
Questions for CORE
Questions for CORE
Disparately need large (~10M events) pp sim for Background studies – when is this planned?
Can we skip Digit and RecPoint creation in AliFMDReconstruction?
Plans for external data in Analysis – any estimate on this?
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
More on geometry (1)
More on geometry (1)
Avoid overlaps between FMD2 and 3 support and SPD thermal cones
  - Δz ~ +4mm for FMD2 (away from IP) relative to design
  - Δz ~ -4mm for FMD3 (away from IP) relative to design
Survey of FMD2 gives Δz ~ +1±1mm relative to design.
Survey of ITS gives Δz ~ +2.9±1mm
  - SPD and FMD survey says: Overlap of 6mm on FMD2 side! 1Mm overlap on FMD3 side.
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
More on geometry (2)
More on geometry (2)
Accurate drawings of FMD2 and 3 used.
Only simple drawing of SPD thermal screen used.
  - Δz ~ +4mm for FMD2 (away from IP) relative to design
  - Δz ~ -4mm for FMD3 (away from IP) relative to design
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]

---
More on geometry (3)
More on geometry (3)
~9mm gap
~9mm gap
[Speaker Notes: Next, the pedestal and gain calibrations are read in to translate ADC counts to energy deposition and charge particle multiplicity in each active strip.]