## Slide 1
  SMB/SE-HE
  2015 Annual Review
Edms 1578456 v.1

## Slide 2
  SMB/SE-HE
  2015 Annual Review
  5th February 2016
  Mandate
  Budget
  Structure
  Statistiques
  Methods
  Works pictures
  2016 Perspectives

## Slide 3
  SMB/SE-HE section is in charge of:
  The design, operation, repairing, maintenance,
  works and special works in the following fields:
      HVAC (Heating, Ventilation, Cooling, air conditioning, specific extraction)
      Fluids (water cooling, compressed air, gas, fire fighting, filling)
      Electricity (power distribution, lighting, machine powering)
      Sanitary (drinking water, domestic water, solar panels, fountains, safety)
      Catering (catering equipment).
  For tertiary buildings
SMB/SE-HE Mandate

## Slide 4
SMB/SE-HE Parc
407 buildings, 75 technical galleries
1 children school, 3 restaurants, 3 hotels (495 rooms), 10 cafeterias,
150 meeting & conference rooms,
100 workshops, 400 labs, > 30 clean rooms, 20 RP areas and 40 source labs.
2 heating plants, 27 km district heating.
200 radiators circuits
> 100 000 lighting points
> 500 AHUs, > 350 extraction fans
52 chillers, >300 split systems
> 3000 electric boards,
220 PLCs.

## Slide 5
  SMB/SE-HE
  2015 Annual review
  1st February 2016
  Mandate
  Budget
  Structure
  Statistiques
  Methods
  Works pictures
  2016 perspectives

## Slide 6
SMB/SE-HE E109 DALKIA Budget
HVAC & SANITARY
Maintenance & Works
Chart: Annual pluriannual commitment [kCHF/year]
| 2011 | 2012 | 2013 | 2014 | 2015
 | 2465 | 5868 | 5553 | 6627 | 7288
Average Trend: +10%/year

## Slide 7
SMB/SE-HE E109 2015 Budget
Monthly amount per intervention type [€]
Chart: 
| Janvier | Fevrier | Mars | Avril | Mai | Juin | Juillet | Aout | Septembre | Octobre | Novembre | Décembre
Exploitation | 11905.53 | 27891.54 | 27877.32 | 25722.5 | 38540.81 | 29188.64 | 21041.6 | 20012.06 | 21889.04 | 25080.14 | 59912.2 | 36007.94
M. Préventive | 51623.11 | 29335.56 | 23117.52 | 53648.41 | 19675.06 | 23427.53 | 1573.58 | 2503.29 | 2431.4 | 137124.57 | 12571.88 | 0
M. Corrective | 86204.4 | 87965.35 | 64944.68 | 72336.88 | 60506.5 | 63555.85 | 101963.59 | 58463.94 | 68774.37 | 102463.25 | 75409.09 | 11277.96
Travaux | 299381.33 | 324784.75 | 146792.87 | 244089.55 | 130298.91 | 398060.28 | 238916.01 | 215813.98 | 392857.57 | 528341.27 | 851656.57 | 15604.06
Divers | 23165.88 | 21460.85 | 1945.52 | 8388.64 | 9996.97 | 28051.7 | 28969 | 10821.68 | 15532.06 | 32435.37 | 24618.73 | 44585.26
Chart: 
| Exploitation | M. Préventive | M. Corrective | Travaux | Divers
 | 345069.32 | 357031.91 | 853865.86 | 3786597.15 | 249971.66
Annual repartition
per intervention type [€]

## Slide 8
Chart: Annual 2015 works budget [kCHF/2015]
| Main d'Œuvre | Matériel
 | 983 | 1226
SMB/SE-HE FSU- GS-03 2015 Electrical Works
55%
45%
Chart: Achats de matériel
| Tôlerie | DAI [CL] | DAI [CA] | Coffret EJP & câbles EN/EL | Magasin central
 | 1 | 4 | 24 | 4 | 67
Chart: Annual work turnover CB 76628 [kCHF]
| 2012 | 2013 | 2014 | 2015
 | 715 | 1360 | 1550 | 2209
+42%

## Slide 9
SMB/SE-HE 2015 Consolidation Budget
HVAC, SANITARY & ELEC
Chart: Consolidation budget [kCHF/year]
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015
 | 1888 | 2592 | 4040 | 3121 | 3762 | 5113
+35%
+20%

## Slide 10
SMB/SE-HE Section Budget
Chart: Organic Unit section budget [kCHF/year]
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015
 | 6270 | 8107 | 9241 | 6710 | 7958 | 8205

## Slide 11
  SMB/SE-HE
  2015 Annual review
  1st February 2016
  Mandate
  Budget
  Structure
  Statistiques
  Methods
  Works pictures
  2016 perspectives

## Slide 12
SMB/SE-HE Human Resources
10.3 Staffs
1 Fellow
5 FSU’s

## Slide 13
  SMB/SE-HE
  2015 Annual review
  1st February 2016
  Mandate
  Budget
  Structure
  Statistiques
  Methods
  Works pictures
  2016 perspectives

## Slide 14
SMB/SE-HE 2015 ODMs
45.4%
41.3%
11.5%
1.7%
HVAC, SANITARY & ELEC

## Slide 15
SMB/SE-HE 2014 vs 2015 ODMs
Chart: Total annual odms / year
| 2014 | 2015
 | 7448 | 8523
Chart: Total annual odms per trade per year
| Electricity | HVAC | Sanitary
2014 | 3458 | 2713 | 1277
2015 | 3870 | 3673 | 980
Global
+15%
+12%
+35%
-30%
HVAC, SANITARY & ELEC

## Slide 16
SMB/SE-HE 2015 HVAC: 3524 ODMs
Chart: Nb of odms per type of intervention
| EX - Exploitation | CD - Correctif | PS - Preventif | T0 - Travaux | T1 - Travaux | T2 - Travaux
2013 | 279 | 2259 | 772 | 68 | 129 | 122
2014 | 546 | 1575 | 261 | 94 | 165 | 72
2015 | 535 | 1776 | 899 | 131 | 190 | 142
2015 Backlog:
Requêtes

## Slide 17
SMB/SE-HE 2015 HVAC ODMs
TOPS correctifs
VIP buildings
867: new safety requirements
774 modifications
102 important reliability & safety maintenance
Total annual costs / Building
Total annual costs / Equipment






## Slide 18
SMB/SE-HE 2015 ELEC: 3870 ODMs
Chart: Nb odm per type of intervention
| EX - Exploitation | CD - Correctif | PS - Preventif | T0 - Travaux | T1 - Travaux | T2 - Travaux
2013 | 247 | 2762 | 556 | 171 | 207 | 56
2014 | 250 | 2336 | 375 | 160 | 229 | 87
2015 | 243 | 2359 | 694 | 178 | 331 | 65
TOPS correctifs
VIP buildings
30-112: waiting for complete renovation
774 modifications




## Slide 19
SMB/SE-HE 2015 SANITARY: 980 ODMs

## Slide 20
SMB/SE-HE 2015 SANITARY ODMs
TOPS correctifs
VIP buildings
864, 865, 866, 892: waiting for consolidation
774 modifications
Total annual costs / Building


## Slide 21
  SMB/SE-HE
  2015 Annual review
  1st February 2016
  Mandate
  Budget
  Structure
  Statistiques
  Methods
  Works pictures
  2016 perspectives

## Slide 22
SMB/SE-HE Standards
Standards: sanitary fittings, PID, DIUO, ahu, heating sub-station, compressed air sub-station, power cubicles, control cubicles.
2016: PLC programs, sensors and actuators.
Spec, PID, dwg, DIUO
As built detail level

## Slide 23
SMB/SE-HE Conditional & Tele Maintenance
Air filters (pressure transmitters, two thresholds)
Optimisation of the prefilter class (F9+H14, F7+F9)
Two levels remote alarms ambience thresholds (piquet)
Waterless urinals (invest < 40%+maint+>50000l/year))

## Slide 24
SMB/SE-HE Methods
Classification
Codification
Marking = CAMM code
Système | Code
Réseau de chaleur | C
Chauffage | C
Ventilation | V
Refroidissement | R
Sanitaire | S
Incendie | I
Air Comprimé | A
Distribution de gaz | G
Electricité | E
Multi technique | M
Restauration | T
Systeme/parent/child/part
Building / parent = circuit / child = component
Quality Assurance Plan
FX9999QA_510_reperage_V5_F
Edms 126675 V5

## Slide 25: AUTOCAD GIS & EAM Information
SMB/SE-HE Methods
407 ouvrages 1000 étages
GIS: master drawing: 601 / 3000 drwgs
EAM: 9100/ 27000 records (Hvac: 6513, Elec: 2663)

## Slide 26
SMB/SE-HE GIS Integration

## Slide 27
SMB/SE-HE Methods
156
771
864

## Slide 28
Electricity usage
Monthly operational electrical power [MW]
Annual electrical
consumption [MWh]
CERN total

## Slide 29: Energy numbers
CERN infrastructure not linked to accelerator’s operation

## Slide 30
Electricity usage
Annual electrical
consumption [MWh]
Evolution of the annual electrical consumption [MWh]
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014
Cern Meyrin | 40 | 30 | 31 | 32 | 31
Cern Prevessin | 11 | 10 | 10 | 10 | 11
Energy saving not visible:
New buildings
New processes
CERN non machine buildings

## Slide 31
SMB/SE-HE Tele Maintenance
Digital benefits
Individual & grouping communication
Changes via software (rooms config, scenes)
Two-way communication (feedback)
Energy saving (50%)
Predictive maintenance
Auto adaptative (flux)
Life prediction
*AFE
Lighting Management
Dali protocol
LED

## Slide 32
Electricity optimisation
Office lighting example
3 lights (fluo T8 2x58W)
Switch command
Installed electrical power:
23 W/m²
1 vertical light (LED 105W)
Presence lighting regulation
Luminosity lighting regulation
Installed electrical power:
6 W/m²
Typical CERN office
CERN renovated office
Lighting where necessary
Lighting when necessary
Presence detection
Natural luminosity
÷ 4

## Slide 33
Natural gas
CERN wide heating
Addionnal buildings in 2012 (867, its annexes, etc)
Heating confort improved in 2012
Prévessin gas consumption study
Total gas annual consumption [MWh]
Chart: Estimation DJU
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Prévessin - real | 15191.8 | 11570 | 13043.6 | 13789.2 | 11098.4 | 7345.9
Prévessin - Adjusted | 15191.8 | 17579.6589 | 16202.9939 | 15315.001 | 16144.3675 | 13469.2264
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015
MWH/Dju | 5.6 | 3.6857 | 5.1282 | 5.0421 | 3.8497 | 3.0542

## Slide 34: Water usage
Chart: Annual drinkable water consumption [1000 m3]
| 2010 | 2011 | 2012 | 2013 | 2014
CERN total | 6000 | 5300 | 5000 | 3600 | 3700
Meyrin, Prevessin, BA1, BA6, LHC P1 | 3956.818 | 3579.473 | 3081.604 | 3341.579 | 2700.233
Drinking water for sanitary facilities
Demineralised water and fire extinction network supply
Compensation of cooling towers
A/C units using water as coolant

## Slide 35: Water optimisation
Minimalism of the design (Two capacities WC, eco taps, etc)
Water saving devices in showers and taps
Waterless urinals (140 u, 14% of parc, 14 000 m3/year, 0.5 % of consumption)
112 ovens cooling project (2% of Meyrin annual consumption).
Suppression of drinking water leakages (renovation)
Suppression of district heating leakages (from 10 to 5 m3/day, rénovation)
Regular dismantling of old chillers using water as coolant

## Slide 36
  SMB/SE-HE
  2015 Annual review
  1st February 2016
  Mandate
  Budget
  Structure
  Statistiques
  Methods
  Works pictures
  2016 perspectives

## Slide 37
SMB/SE-HE SAFETY
E109: DALKIA
  No accident > 500 days
  6/10/2014: in Meyrin gallery.
  Alert forms follow up.
FSU GS-03: SOTEB ALTEAD
  No accident > 75 days
  19/11/2015: without stop
  Training, car changes
SMB/SE-HE section: CERN
  Habilitations updates
  New RP procedures
  Active dosimeter underway

## Slide 38
SMB/SE-HE Maintenance with absestos presence

## Slide 39
SMB/SE-HE Maintenance with water presence

## Slide 40
SMB/SE-HE HVAC & ELEC regulation
201 heating plant - autocontrol

## Slide 41
SMB/SE-HE HVAC & ELEC regulation
Energy savinSMB
774 heating monitoring

## Slide 42
SMB/SE-HE New central cooling production 30-112
Reliable cooling
Evolutive concept
Natural refrigerant
Sustainable cooling

## Slide 43
SMB/SE-HE 375-ISR
Machine powering
Electrical renovation

## Slide 44
SMB/SE-HE Renovated lighting – 867 hall

## Slide 45
SMB/SE-HE Meyrin new district heating link 53-503

## Slide 46
SMB/SE-HE Globe Smoke Test - 80

## Slide 47
SMB/SE-HE LIGHTING 184-ISR
LED execution
70% instaled power reduction
No delay when switcing on
Instant lighting start
Life time: 50000 hours
20% level of illumination increase

## Slide 48
SMB/SE-HE Outdoor lighting
LED
ISR area
4-5 Parking

## Slide 49
SMB/SE-HE 156
Open space arrangement – HVAC & Elec.

## Slide 50
SMB/SE-HE Hotel 38
Roof ventilation
Monitoring
New bathroom

## Slide 51
SMB/SE-HE Laser welding workshop -100
Fine tuning regulation
Dehumidifcation control.
Vapour humidification control

## Slide 52
SMB/SE-HE
Safety
167 gas point
860
252 new smoke vent
118

## Slide 53
SMB/SE-HE New ventilation cafeteria 6

## Slide 54
SMB/SE-HE New ventilation glass box 501

## Slide 55
SMB/SE-HE New ventilation restaurant 3

## Slide 56
SMB/SE-HE New Globe Lighting – 80

## Slide 57
SMB/SE-HE 2016 Perspectives
  Continuous efficiency (+10%, +15%, +35%, +42%)
  Continuous increasing work load (works, safety, etc)
  Important forthcoming staff turnover in the section
  Safety campaigns (restaurants, halls, etc)
  Preventive maintenance plan
  Site remediation (R22, water pipeworks, compressed air, etc)
  Energy efficiency (gas, water and electricity)
  Radioactive storage in the ISRs
  101 coating lab renovation
  112-30 cooling production (natural fluid)
  156 extension and hall arrangement
  167, 186, 904 ALICE & CMS clean rooms
  771 HVAC, elec & sanitary construction