## Slide 1
Demonstration of Wire Scanners Logs Analysis Application
BI Seminar 22.02.2015
Aleksander Cudny
Emiliano Piselli
Ismael Posada Trobo IT-OIS-WLS
Guillaume Baud

## Slide 2
Goals:
Easier access to logging database than trough Timber application
Wire Scanner customs settings
Static set of variables designated to Wire Scanners
Easy manipulation of charts
CSV and PNG data download
Plot of numeric values in respect of timestamps
Possibility of bunch-by-bunch plot for SPS/LHC
Possible Gaussian fitting to acquired profiles
Introduced scan quality factor

## Slide 3
Current set of variables
Vectonumeric values: Data IN/OUT Position IN/OUT Resistance IN/OUT Current IN/OUT Position Probed (only for the LHC) PROJ_BUNCH IN/OUT (only for the SPS) Bunch selection (for the SPS and the LHC) | Numeric values: Selected filter Gain POT_READ Number of bunches Calculated values: Sigma IN/OUT Scan quality

## Slide 4
General system architecture
Website
Site resources (htmls, images etc.)
Python script
Java .jar
Output CSV files
Database
PHP script for data download
Python listener
1.
2.
3.
4.
5.
6.
Login specifications
AFS Server

## Slide 5
www.cern.ch/bws-web
Website address – valid CERN account is required

## Slide 6
Online presentation

## Slide 7
Thank you for your attention

## Slide 8
Scan quality
Formula
-3σ
+3σ
Example

## Slide 9
Max value = Initial amplitude
Slope between first and last points= Initial slope
Profile width in the middle = Initial σ
Minimum value = Initial offset
Position of max value = Initial µ
Initial fit values