## Slide 1: LED driver design
Georgi M. MITEV
Bulgarian academy of sciences
20.04.2016
Baby MIND Collaboration Meeting #1

## Slide 2: Initial LED driver design and use
Single channel design
Onboard LED
Adapted to work on external LED
Side effects
RS-232
interface
Manual control and mode display
MCU
LED driver
amplitude
timing
20.04.2016
Baby MIND Collaboration Meeting #1

## Slide 3: Pulse Shape
50 ns pulse
50 ns pulse, fed to LEDs over 2m coax
200 ns pulse
200 ns pulse, fed to LEDs over 2m coax
20.04.2016
Baby MIND Collaboration Meeting #1

## Slide 4: LED driver upgrade proposition
Modular system with common pulse timing
Shorter pulse length
Better pulse shape
Multiple wavelengths
Separate diode amplitude control
Onboard USB & WiFi to RS-232 bridges
Master timing control unit
timing
3- channel amplitude control unit
Optical fiber bundle
3- channel amplitude control unit
Optical fiber bundle
. . . . .
Amplitude control bus I2C
LED tube + optics
Optical Pulse Control unit
Oscilloscope
20.04.2016
Baby MIND Collaboration Meeting #1