## Slide 1
Progress on ETF testing
Duncan Rand
Andrea Sciabà
25-02-2016

## Slide 2
Introduction
As previously reported, an ETF instance is submitting the CMS SAM tests to our testbed since December (link)
The node is dual-stack
(new) A very clever trick by Simon Fayer allows to “simulate” IPv6-only WNs when they are dual-stack
  Completely disables IPv4 by replacing the connect function with a version that returns ENETUNREACH when trying to open a IPv4 socket
    This forces also DNS lookups to go via IPv6…
  https://github.com/ic-hep/ipv6only

## Slide 3
Results (more or less VO-independent)
DNS
  At Brunel, DNS is not dual stack, hence all tests needing to open a remote connection fail by definition.
  We may want to refine our approach as it is not necessary to have a dual-stack DNS at a dual-stack site
org.cms.WN-cvmfs
  Description: tests access to CVMFS area for CMS
  Passed at IC (squid is dual-stack)
  Failed elsewhere (cannot resolve hostname or cannot connect)
org.cms.WN-frontier
  Description: reads calibration data via Frontier
  Works fine only from PIC (why?)
  At IC, Access to squid from cmsRun wants to go via IPv4 even if the squid is dual stack (known issue)
org.cms.WN-squid
  Description: checks the local squid by doing a simple query that reflects on the Oracle server at CERN (full chain tested)
  Works fine at PIC
  Works fine at IC via the dual-stack local squid (the secondary squids are elsewhere and have no IPv6)
org.cms.WN-xrootd-access, org.cms.WN-xrootd-fallback
  Description: respectively, test if the files at the sites are accessible via the CERN redirector, and if a job can access a file on a remote xrootd server
  Currently works at IC, may be using IPv4 though; fails intermittently at PIC (both cases to be understood)
org.cms.WN-analysis, org.cms.WN-mc
  Description: respectively read and write to the local storage via the local access protocol chosen by the site
  Work fine (modulo the DNS issue above), again, xrootd may be using IPv4 at IC (to be understood)

## Slide 4
Results (more CMS-specific)
org.cms.WN-basic
  Description: does some basic sanity checks of the CMS software installation and compares the local site configuration with the GIT master version
  cmsweb.cern.ch is not reachable via IPv6 due to both not having an IPv6 address nor ip6tables being properly configured (both easy to fix)

## Slide 5
Xrootd
Xrootd situation not understood yet, may be ignoring 'IPv6-only' environment
Xrootd has an environment variable XRD_NETWORKSTACK which can be used to set the network stack used by the client
  IPAuto - automatically detect which IP stack to use
  IPAll - use IPv6 stack (AF_INET6 sockets) and both IPv6 and IPv4 (mapped to IPv6) addresses
  IPv6 - use only IPv6 stack and addresses
  IPv4 - use only IPv4 stack (AF_INET sockets) and addresses
  IPv4Mapped6 - use IPv6 stack and mapped IPv4 addresses
    See e.g. http://xrootd.org/doc/man/xrdcp.1.html#ENVIRONMENT
Whilst cms-xrd-global.cern.ch is dual-stack, many (all?) of the regional xrootd redirectors (e.g. xrootd-redic.pi.infn.it, llrxrd-redir.in2p3.fr, xrootd.ba.infn.it) still IPv4 only

## Slide 6
Conclusions
Brunel: perhaps consider making your DNS dual-stack?
We have the ability to crudely simulate IPv6-only WNs for tests and flush out some issues early on
Test results are consistent with what we already knew
  In particular, known issues with Frontier
Xrootd situation not yet fully understood
CMS still needs to enable IPv6 on the central services, such as regional xrootd redirectors