## Slide 1
UR :
add longitudinal trench (LHC TUNNEL SIDE) : should use for “pc” cooling pipes ( ahu cooling )
add radial trench : should use : ahu cooling ; pc cooling ; cables
Junction to UL : increase section to leave more space for service.
UA :
add safety exit at right side : coax position modified, rf layout inversed, shielding modified.
add longitudinal trench
add radial trench
Uw : trench 13 x 10 x 0.8 m
US :
Trench :safety room
Trench :lift
Water :
UL :
increase dimension between cores (C.E. request) ,section last 5 m modified .
UR 55:
Add core for QXL (junction to USC55)
CIVIL ENGINEERING

## Slide 3
UR
UR
UL
UA

## Slide 5
UA

## Slide 6
UA

## Slide 7
UL
UL
LHC TUNNEL

## Slide 8
UL
UR

## Slide 9
UR
UL
UL

## Slide 10
US
UA

## Slide 11
UA :
Option to change shielding blocks in UA
US :
Change Sump position
Crinoline from the service stairs to the first floor
Cables trays
Cage faraday shorter
New transport area
SCLink drum
INTEGRATION

## Slide 12
SUMP

## Slide 17
AFFECTED AREA

## Slide 18
SOLUTIONS
1. Displace:
Racks + door+ safety exit

## Slide 19
2.7m
7m
TBD Stairs
SCLink DRUM

## Slide 20
1.5m
Metallic Structure
1m