## Slide 1: Huazhong Normal University (Wuhan) activities within RD51 scalable readout project
Readout Electronics Test Setup
FEE card produced in Huazhong Normal University for ALICE/PHOS project
Firmware of PHOS/TRU trigger cards
Board Controller Firmware of FEE &
Participation in ALICE RCU firmware
Altro-based FEE card for APD readout

## Slide 2: Simple SRU system
SRU
FEE
…
FEE
…
FEE
…
PC
….max 36
CAT6 cables, max 15 m
Frontend ASICS
typically 8 per FEE
Gigabit ethernet
-up to 36864 channels:
36 FEE x 8 x ASICS x128 channels
New: Readout link instead of a GTL bus:

## Slide 3: From readout bus to readout link
Point to Point link architecture:
well defined impedance both ends, longer distance than bus
single node failure does not influence other nodes
parallel transfers on all links, i.e. higher total BW
cheaper by using off the shelf cables
Much less contacts , longer life
Status so far:
tested with 280MHz clk and 15 Meter over CAT6 cable
use simple packet protocol
BUS

## Slide 4: SRU<->FEE: serial LVDS
clock
data
select
return
FPGA
SRU
CAT 6 cable
RJ45
Reversible LVDS drivers/receivers
34 x
max 15 m @ 280 Mbit/s
4 x twisted pairs
FPGA
4
4
chip Interface bus
FEE
RJ45
Input data stream from
36 FEE’s ~ 10 Gbit/s
10 GBE
Board Controller Firmware

## Slide 5: Serial readout/contol modes
Readout mode: clock = 40 MHz ( or other )
data = 200 Mbit/s
select = readout-trigger to FEE
return = local trigger from FEE
Control mode: clock <= 4 MHz
data = Serial data out
select = Serial data in
return = coded status
2 modes of operation defined by SCU clock
Board controller senses clock to switch mode

## Slide 6: =>ALICE case study* for PHOS, EMCal, etc.
Clock
&
Trigger
ethernet
RCU * => SRU
RCU* =>SRU
. . . .
Control
CTP & LTU
Control
PC
Single mode fiber
Clock & timing
Int. BUSY
Test systems only:
HLT
10 GbE-ethernet: MM fiber
DCS
DAQ
GTL bus area
LED monitoring
Pre-Trigger
FEE
FEE
FEE
FEE
FEE
FEE
* Also Non RCU based detectors could
go for scalable proposal based on SRU
Event , DCS, Flow Ctrl
HLT
DAQ
Ethernet backbone
. . .
Copy to HLT via optical splitter
or loopback , eventually insert optical switch layer
New: Readout link
Instead of a GTL bus

## Slide 7: Upgrade Board Controller FPGA firmware
New feature of ALTRO CHIP read and serial data push out will be added in the FEE Board controller
The deserialiser and decoding part will be revised from the PHOS/TRU firmware