## Slide 1
CHARM
Commissioning 2016
Plan
25-04-2016 Stefano Bonaldo

## Slide 2
Resources
Stefano Bonaldo
RadMon:
2x V5 with deported modules (V5#3, V5#5)
6x V6 with deported modules (V6#3, V6#4, V6#5, V6#6, V6#7, V6#8)
• All deported modules will host two 100 nm RadFet.
• The RadFet channel 1 of each RadMon is set at 5V bias mode, while the channel 2 is set at 0V bias mode.
• All V6 RadMon memories:
- Cypress -> 3.3V
- Toshiba -> 3V
• V5 RadMon memories:
V5#3 Toshiba -> 5V
V5#5 Toshiba -> 3V

## Slide 3
Dose gradient in R11, R12, R13
RadMon Deported Module (V6#3)
3
4
RadMon Mother Board (V6#4)
Short Circuit RadFet 100nm
Power nMOS bags
20cm
5
5
R13
R12
R11
30cm
40cm
20cm
129cm
6
6
30cm
3
3
1
1
2
2
30cm
30cm
20cm
4
4
Legend
FB652
FB653
FB654
FB655
FB656
FB657
FB658
FB659
FB660
FB661
FB663
FB664
FB665
FB666
FB667
FB668
FB669
FB670
FB671
NOTES:
- Total number of RadFet in short circuit: 19
- Total number of Power nMOS: 17
- All V6 Motherboard inside the irradiation room
- All V6 deported modules inside the irradiation room
- No V5 RadMons
120cm
189 cm
159 cm
129 cm
99 cm
69 cm
0 cm
n1 (4x)
n2
n3
n4
n5
n6
n7
n8
n9
n10
n11
n12
n13
n14
Aim:
Measure the dose Gradient in R11, R12, R13

## Slide 4
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
1
2
3
4
Entrance
Patch
Panels
NO accessible area
1 m
Scale
24 GeV Proton
Movable
shielding
Long run
MB V6#6
DM V6#6
MB V5#3
MB V5#5
MB V6#5
DM V6#5
MB V6#4
DM V6#4
MB V6#3
DM V6#3
MB V6#7
DM V6#7
MB V6#8
DM V6#8
- All motherboard and deported module at beam height