## Slide 1: CALIFES past experience as a user facility
W. Farabolini on behalf of the Califes users

## Slide 2: Initial scope of CALIFES
CALIFES was built in 2008 principally to test the high gradient accelerating structures:
  Validation of the accelerating gradient as function of the input power
  Frequency tuning of the structures
  Statistics about transverse kicks due to breakdowns (A. Palaia thesis, Uppsala Univ.)
  Structure transverse alignment checking
  Wakefield Monitors resolution (F. Peauger CEA, R. Lillestol Oslo Univ. )
  Octupolar component of the accelerating field (J Ogren, Uppsala Univ.)
  RF phase adjustment between structures in the CLIC module
  Beam kick due to transverse wakefields (my talk, Mon. 17:30)
Frequency downmix of the beam generated power
LO = 11994.2 MHz
Waveguide phase problems
RF Off
RF On
Measure of energy gain
Beam position scan in WFM
Octupolar beam shape

## Slide 3: But rapidly many other users came
Most of them related to the CLIC study
  Various types of BPMs (cavity, strip-line [F. Cullinan, J. Towler RHUL, A. Benot Morell])
  Beam transverse profile diagnostics (OTR, ODR, Diffraction Cherenkov [S. Mazzoni talk Mon. 15:45, T. Lefevre talk, Tues. 11:00])
  Beam loss monitors (optic fibres, diamond detector, ionisation chambers [S. Mallow, M. Kastriotou, E. Del Busto])
  Longitudinal beam profile (Electro-Optical System [R. Pan PhD] )
  Magnetic survey of the environment [B. Heilig, Geological and Geophysical Institute of Hungary]
But now also from outside of the community
  Irradiation test bench for ESA Jupiter mission [R. Garcia and M. Tali talks, Mon. 18:00]
  Strip line BPM for AWAKE (S. Lui, TRIUMF)
  JUAS for students practical training (my talk, Wed 9:35)

## Slide 4: In 2014
Rui Pan (PhD student), Electro-0ptical Bunch Profile Measurement at CTF3 IPAC’13 MOPME077.
F. Cullinan (PhD student), J. Towler A Prototype Cavity Beam Position Monitor for the CLIC Main Beam, IBIC'12 MOPA18
Sophie Mallows(PhD student), A fiber Based BLM System Research and Development at CERN, HB2012 THO3C05
Chart: Califes Beam Time (days)
| BPM | EOS | WFM | Devolpment | TBTS
 | 22 | 18 | 5 | 7 | 3

## Slide 5: Some diagnostics test in 2014
F. Burkart, O. Stein,
E. Nebot Del Busto
Diamond beam loss detectors
High resolution cavity BPM
F. Cullingam J. Towler
PhD Thesis of R. Pan
Electro Optical Sampling (EOS) for bunch length measurement
Injection
Extraction

## Slide 6: Experiments with CALIFES in 2015
Total: 175 days (users x days)
Klystron MKS30 for PHIN : 5 weeks
Very high beam reliability (almost no non-programmed unavailable day)
Test Beam Module : 23 days W. Farabolini & Drive Beam Team
Wake Field Monitors : 54 days R. Lillestol et al.
High Resolution Cavity BPMs : 20 days J. Towler
Interferometric OTR : 13 days R. Kieffer
Beam alignment in Quadrupoles : 12 days N. Aftab, S. Javeed
Califes Cavity BPMs calibration : 6 days N. Aftab, S. Javeed
Beam Loss Monitor: 1 day M. Kastriotou
Girders positions control : 5 days V. Rude, M. Duquenne
Irradiation Test Bench : 11 days R. Alia et al.
Strip Line BPMs A. Benot Morell
Miscellaneous : 30 days (beam preparation, development, studies non referenced in the log-book…)

## Slide 7: Some installed experiments in 2015
3 High Resolution Cavity BPMs on motorized stages
(J. Towler, M. Wendt, A. Lyapin, S. Boogert)
The ESA monitor aligned before test (M. Tali, R. Garcia Alia)
Optical Transition Radiation Interferences (R. Kieffer, T. Lefevre)

## Slide 8: And for 2016
Intense activity on the CLIC Module before shutdown
  High gradient performances with DB factor 4, and now 8
  Use of the octupolar component for structures alignment
  Wake Field Monitor resolution
  Wakefield transverse kicks
  Use of the 12 GHz cavities to measure bunch length
RF control panel
Energy and energy spread as function of CALIFES phase
Beam loading (and anti-loading) with CALIFES long train visible on ACSs output coupler
RF scheme

## Slide 9: And still ‘external’ user experiments
Cherenkov radiation
(R. Kieffer, T. Lefevre)
Magnetic stray field measurements
(E. Marin Lacoma)
Wakefield monitors scan (R. Lillestol)

## Slide 10: A flexible and pretty well controlled beam
Current in quadrupoles -> beam envelope
30 mm 1s beam
Single bunch beam for high resolution cavity BPM study
Dark current beam for irradiation 34 mm FWHM
Without RF power
At zero-crossing (rising RF power side)
At zero-crossing (falling RF power side)
Large flat beam for octupolar component study
Low energy spread: 0.7 MeV
Separated bunches
A versatile laser beam operated by skilled specialists helps a lot: F. Friebel, C. Hessler, M. Martinov

## Slide 11: Conclusions
CALIFES has proven to be capable to reliably provide an electron beam with a large range of parameters to various users.
We are already operating with a user facility spirit
  flexibility
  assistance to the teams
And above all: enthusiasm for novel experiments
Thank you for your attention
?