## Slide 1
21st May 2016
Beamline components close out v0r1

## Slide 2
Current beamline infill piece
Sections (upstream & downstream) to be updated when vapour sources are ready (August)

## Slide 3
Beamline components to be REUSED
VACOM equal cross (X40RS)
CERN sector valve
DN16 angle valve
Vacuum sensor
VACOM unequal cross (UX040016RS)
DN40 flange cap
DN16 CF to KF adaptor
Vacuum sensor

## Slide 4
Edge welded bellows DN16
Edge welded bellows DN40
Double sided DN40 flange
MPP valve
DN16 elbow
Beamline components NEEDED

## Slide 5
Description | VACOM part number | Qty (per end)
VACOM BELLOW DN16CF | EWB16R-10-316LNS | 1
VACOM DN40CF EDGE WELDED BELLOW | EWB40R-40-316LNS | 1
VACOM DN40CF DOUBLE SIDED FLANGE | F40D38-316LNS | 1
VACOM DN16CF ELBOW | EL16R-316 | 1
Beamline components
Also need both MPP protection valves (01032-CE44-BDF1) but these have already been purchased (currently in Munich)
Please could the assumptions about component reuse be reviewed and approved in the next week
WDL will take responsibility for purchasing the following parts from VACOM

## Slide 6
We are using a linear positioner (MPPL16-100-H) to protect the chamber viewport
The linear positioner is magnetically coupled
Can it be confirmed that this is OK?
WDL will take responsibility for purchasing the following part
Other beamline components – linear positioner

## Slide 7
HSR cold trap
(on order)
Other beamline components – vacuum system
Adaptor piece
VACOM TA100063R-316
WDL will purchase
Pumping group (TMP, valve & accessories)
CERN/MPP to supply

## Slide 8
Other beamline components – vacuum trolley
Vacuum trolleys required
CERN/MPP to supply
All interconnect flexihoses required for pumping system
CERN/MPP to supply