## Slide 1: Timing Scan 24.06.2016

## Slide 2
Chart: Time delay scan
| 300 | 500 | 700
Before | 1.0492 | 1.0514 | 1.0518
After | 0.77382 | 0.55306 | 0.35642 | 0.16561 | 0.11852

## Slide 3: The Spill warning…
Spill warning from PS
Spill 540ms
1 s
Acquisition
Spill 540ms
Delay set on C-Train Counter
In control room T9
Trigger for FEB data acquisition
External pulse gen.
100 kHz
1us wide pulse
10us period
100000 cycles
1 s

## Slide 4: Connections for spill delay settings in Control Room T9
Manual for this kit is a bit opaque but worked out