## Slide 1: Beam Instrumentation Workshop, June 2-3, 2009 CLIC Project breakdown structure: organization, documentation and cost estimate
G. Riddone 03.06.2009

## Slide 2: Content
Introduction to CERN Product Lifecycle Management
CLIC Product Breakdown Structure
CLIC Beam Instrumentation documentation
Beam instrumentation cost estimate
Application and relevant EDMS features
Conclusions

## Slide 3: Product Lifecycle Management (PLM)
Intention to build an integrated Product Lifecycle Management (PLM) platform
Aim to link all the information related to one item/product to one common database
Whole lifecycle can be followed
PLM = EDMS at CERN
Integration work under way
Design
Manufacturing
Installation
Maintenance
Dismantling
Commissioning
CERN EDMS
Notes: Therefore, there is an intention to build…
Aim to link all the information related to one item/product to one common database, so that the whole lifecycle of an item could be followed easily. (kuva:) Then it would be possible to follow all the lifecycle steps of a selected item and track what information is related to each of these phases.
This product lifecycle management system is supposed to be based on EDMS system at CERN.
At the moment they are doing this integration work, trying to build links between the different systems and databases.

## Slide 4: Overview of the CERN EDMS
Agile PLM Design data Drawings & Documents
Infor EAM Asset tracking Work management
Other DBs Layout databases Production databases
Design data management
Manufacturing follow-up
Installation follow-up
Maintenance management
CERN Engineering & Equipment Data Management System
D. Widegren

## Slide 5: Introduction to EDMS
EDMS (Engineering and Equipment Data Management Service) provides engineering and equipment data management capabilities. This implies providing a set of advanced information systems but also the development and the formalization of methodologies and procedures for the engineering and equipment data management processes.
EDMS ensures that engineering and equipment data as well as documentation for projects and installations are safeguarded, organized, verified and remain retrievable on a long-term basis.
EDMS is used:
  for all technical data management and their associated work process
  for information flow among different teams, including external suppliers/collaborators

## Slide 6: EDMS – Web Interface
https://edms.cern.ch/cedar/plsql/cedarw.site_home

## Slide 7: Content
Introduction to CERN Product Lifecycle Management
CLIC Product Breakdown Structure
CLIC Beam Instrumentation documentation
Beam instrumentation cost estimate
Application and relevant EDMS features
Conclusions

## Slide 8: CLIC structure in EDMS -1
Based on the CLIC organization chart, a structure in EDMS has been implemented

## Slide 9: CLIC PBS (hardware baseline)
The hardware baseline is based on CLIC PBS, which has been defined according to the CLIC layout
The “hardware baseline” will contain all baseline documentation for the CLIC study :
Parameter Specifications, Functional Specifications, Engineering Specifications, Technical Specifications, Eng. Change Request, Eng. Change Order
Tree structure

## Slide 10: CLIC PBS (hardware baseline)
(level 1)
(level 2)
(level 3)
(level 4)

## Slide 11: Content
Introduction to CERN Product Lifecycle Management
CLIC Product Breakdown Structure
CLIC Beam Instrumentation documentation
Beam instrumentation cost estimate
Application and relevant EDMS features
Conclusions

## Slide 12: BI documentation -1
Meetings
Workshops
Technical documents
Technical reports
Presentations
(Possibility to create links to Indico)
All CLIC specifications are collected in these nodes, and linked to the corresponding node in the HW baseline

## Slide 13: BI documentation -2
PS attached to the dedicated HW baseline node
All technical documents are public

## Slide 14: BI Par. Specifications
Complete list of PSs in EDMS:
927865

## Slide 15: Content
Introduction to CERN Product Lifecycle Management
CLIC Product Breakdown Structure
CLIC Beam Instrumentation documentation
Beam instrumentation cost estimate
Application and relevant EDMS features
Conclusions

## Slide 16: PBS-based cost estimate
Coordinators per
domain/subdomain

## Slide 17: CLIC study costing tool -1
8374 type 0 e+ modules
20924 modules
DB BPMs per Type 0 e+ module

## Slide 18: CLIC study costing tool -2

## Slide 19: Input estimates
1. First round of updated cost estimate by end of 2009.
2. Input on schedule will be provided by T. Lefevre
3. T. Lefevre will collect all input for the BI cost estimate.
4. The domain/subdomain coordinators will put the values in the CLIC study costing tool

## Slide 20: Content
Introduction to CERN Product Lifecycle Management
CLIC Product Breakdown Structure
CLIC Beam Instrumentation documentation
Beam instrumentation cost estimate
Application and relevant EDMS features
Conclusions

## Slide 21: Example of a EDMS document -1

## Slide 22: Example of a EDMS document -2
Several files can be uploaded in a EDMS document (max 100 Mb)

## Slide 23: Example of a EDMS document -3
Possibility to attach EDMS documents as sub-documents

## Slide 24: Example of a EDMS document -4
Documents have one life-cycle and depending on where they are in the life-cycle they have a corresponding status. The standard lifecycle for a document is
  In-Work
  Under-Approval
  Released and
  Obsolete
Once a document has been approved, it can be modified only via a versioning process
Other lifecycles can be programmed if required.

## Slide 25: Example of a EDMS document -5
For all CLIC nodes (except nodes on cost and CSC)
WRITE: CLIC meeting members (can be adapted)
READ: public access
Nodes on cost and CSC: restricted read/write access

## Slide 26: Example of a EDMS document -6
This tab shows the list of other existing versions of the document, and its full history, including notifications.

## Slide 27: Notification e-mail list
Possibility to ask for e-mail daily notification list  list of EDMS documents created the day before

## Slide 28: Conclusions
We are getting organized towards a project-oriented structure
EDMS as unique source of information
Tree structure set-up for CLIC documentation in EDMS (can be used by CERN people and external collaborators)
All BI documentation will be available in EDMS: all PS have been archived and the approval circuit will be soon launched (collaborators will be largely involved)
Update cost estimate will be needed for CDR: first iteration by end of 2009 (still possibility to give feedback to technical systems)