## Slide 1: Changes to underground HL-LHC CE engineering infrastructures
P. Fessia, S. Maridor, B. Vazquez De Prada

## Slide 2: Time plan
Presently finalizing Point 1
After finalise Point 5 (different direction of lift exit underground leading to different US integration)
Production of “implantation” drawings
Target all models (CATIA+2D drawings) to SMB for the 15-16/09
Recall what shown here will be integration minimum envelope that will differ from SMB final model because of construction tolerances and construction solutions adopted

## Slide 3: Main modifications
Technical change | Corresponding CE change
Splitting valves and cold box in 2 elements | Reduction of the shaft diameter from 10.2 to 9.7 m
 | Introduction of enlargement on the UL to house the valve box
 | Reduction of the US-UW diameter (from 16.9m to 16 m) and US length (US – 4.5 m)
PC of Q4,Q5,Q6 moved to RR | Reduction UR diameter from 7 m to 5.8 m
CLIQ reduction and moved in the bypass | 
Reduction of cooling capability linked to reduce requirement from crab also in case of full installation and elimination of the Q4,Q5,Q6 PC and associated cables | Reduction of the UW length and diameter (UW – 4.5m )
Possibility to keep the full crab installation without SR building | Increase UA diameter from 6 to 6.2 m
Re-optimization UL | We can reduce from 3m width to 2.5 m width. Pending on cost savings assessment from CE. If we save money we reduce if not wee keep
As promised, as soon as finished we will try to bring back CLIQ racks if space available, but we will not have margin on cable length

## Slide 6
PM
PM : from 10.2m to 9.7 m (≈ -8%) :

## Slide 7
US reduction (-25% volume)
Diameter 16 m (16.9 baseline)
Length 46 m ( 55 m baseline)
US/UW

## Slide 8
UR15
UR : from 3.5 m to 2.9 m (≈ -20% of volume)
UR

## Slide 9
UA : R 3.1
ULx3
ULx7
BUT UL x7 : Need alcove for cryo.-box
UL x3 : STAY AS BASELINE

## Slide 10
UA : R 3.1
UA
UA
2
1
2
1

## Slide 11: How we can move Crab Cavity to the arc for 1 meter

## Slide 12
UA17

## Slide 13
4.4 m
3.4 m
UA17
CORES + 1m
Arc
IP

## Slide 14
UA17
4.4 m
UA17
CORES + 1m
3.4 m

## Slide 15
UA13

## Slide 16
UA13
5.4 m
4.4 m
2.4 m
4 CORES + 1m ; cables core switched
ARC
IP

## Slide 17
UA13
4.4 m
UA13
4 CORES + 1m ; cables core switched
5.4 m
2.4 m

## Slide 18: conclusions
1 meter displacement toward the arc is feasible and can be absorbed in the present CE design including RP constraints and it was validated in the last months following a request by WP2 that after was not implemented
.