## Slide 1: Cryogenics for experience (CryEx)
Application developed BY EN-ICE solution users

## Slide 2: Origins of the Collaboration
Since the beginning of the project, the Cryogenic Control for experience project was included in the UNICOS project together with the Cryogenic control for Accelerator and the Experiment magnet control system (MCS)
But this part of the project was under the AT-ECR group responsibility :
They have chosen different PLC (I/O) solution : ( Full Quantum instead of Quantum + Premium as for accelerators)
  They have their own development team with different programming habits

## Slide 3: CryEx control team
The ECR has been merged with ACR last year and the new control section has kept the responsibility of the control system for experiments
They maintains :
UNICOS Controlled equipments
  LHC Experience Refrigerator and proximity cryogenics ,
    Atlas Helium (10000 devices), Atlas Argon (6000 devices), CMS (3000 devices)
  NA 48/62 Control
  Central liquefier
Non UNICOS Controlled equipments
  Legacy ABB control in
    North area
    SM18 (in collaboration wit us)
    West area
  Legacy s7/PCVUE control in SM18
The CRG control policy is to finish the migration toward UNICOS

## Slide 4: CRyEX PLC Resp. Sharing
Application
CPC PLC package
Communication package
Programming rules
Inter-object relationship
Program structure
Maintained by ICE
Control experts
Communication Settings
Produced by ICE
generators
Supplier Firmware
Upgraded by ICE
Control experts
POU Logic
POU Logic
POU Logic
POU Logic
POU Logic
Manually coded by
CryEx Control experts

## Slide 5: UNICOS PVSS Sharing
Application
PVSS Unicos packages
Communication drivers
- specific PVSS scripts
application configuration
Maintained by ICE
Control experts
Communication Settings
Produced by ICE
generators
Server operating system
Maintained by BE-CO
Control experts
PVSS Panels
PVSS Panels
PVSS Panels
PVSS Panels
PVSS Panels
Manually designed by
CryEx Control experts

## Slide 6: Application workflow
Functional specs
Devices Doc
Process Engineer
CryEx control Engineer
Design PVSS panels
Specs File
UNICOS
Generator
Produce and maintain
Logic POU
PLC
application
SCADA
application
PLC
application
SCADA
application

## Slide 7: Responsibility sharing summary
CRG
  Project coordination
  PLC hardware selection and installation
  PLC Unicos Logic implementation
  Panel design
  Profibus network & cryogenic instrumentation
  Maintenance
ICE
UNICOS TOOLS
  EXCEL spreadsheets
  Instance generators
  Logic generators
CPC PLC UNICOS packages
PVSS UNICOS framework (Unicore, CPC package)
PVSS Server configuration In collaboration with BE-CO
Support to developers
PLC hardware recommendation

## Slide 8: Remaining issues
PLC
  The coding standard are different since they were not defined initially in the project .
  Cryex has a Quantum PLC implementation whereas for the refrigerators we now use only Premium PLC. But
    Hopefully with UNITY we have now unified the generation tools and the a large part of the CPC PLC library.
    For the new projetc they us either the premium or the S7 ICE standard solutions
PVSS
  Specials scripts have been developed by CRG and need to be taken back by ICE
  Navigation and panel layers have been implemented in a different way
  They are not fully autonomous on the application maintenance mainly formajor upgrade of PVSS or UNICOS packages.
Transfer of responsibilities
  We plan to transmit to this group the maintenance of a large part of the Accelerator refrigerator control.

## Slide 9: Conclusion
CryEx is an example of a successful collaboration with a user group taking our solution.
    They do use our solution
    They follow our hardware recommendation
    They have not tried to take our job (developing their own standard)
But these good results depend a lot of the good will of the user. We have no power to impose our choices so they have to be attractive and give to the user a real added value adapted to his need.