## Slide 1: 3D Energy Deposition Measurements in Hadron Therapy with GEMPix
Johannes Leidner, Fabrizio Murtas, Marco Silari

## Slide 2: Introduction: Radiation Therapy
Bragg Peak
Beam
→ GEMPix in water phantom
Cancer therapy:
  Surgery
  Chemotherapy
  Radiation therapy
    X-rays
    Proton- / Hadrontherapy
Need for quality assurance tools, beam monitors, …
Typical system: water phantom + ion chamber
New detectors needed for Proton- / Hadrontherapy!

## Slide 3: The GEMPix Detector
Gas detection
GEM1
GEM2
GEM3
Read-out
GEMPix: 3 GEMs + Timepix
9 cm3 Ar:CO2:CF4
Several applications of the GEMPix: Hadrontherapy, Microdosimetry, Radiotherapy, Radioactive waste, …
Gas supply
HV supply
Mylar entrance window
GEM foils
FITPix readout

## Slide 4: GEMPix: GEMs + Timepix
3 GEMs:
Kapton foil with thin copper layers
Gas amplification in holes (large field)
Total gain of max 105
4 Timepix chips:
512 x 512 pixels
each 55µm x 55 µm
detection threshold per pixel of 1000 electrons

## Slide 5: Timepix: Time and Charge Measurements
Different modes possible:
  Pulse counting
  Time of Arrival (TOA) → 3D track reconstruction
  Time over Threshold (TOT) → Charge and dE/dx
Timepix 3 will e.g. provide TOA+TOT simultaneously

## Slide 6: 3D Track Reconstruction (TOA)
3x3 cm2
Z coordinate (1 cm)
Z coordinate (1 cm)
Possibility to study single particles
→ lateral measurements
→ secondaries

## Slide 7: Charge Measurement (TOT)
X-ray detection: 6 keV from 55Fe (1s frame)
20% energy resolution
20% energy resolution for 6 keV
Single 6 keV X-Ray

## Slide 8: Setup at CNAO
GEMPix inserted in a water phantom
Beam
Water phantom
GEMpix

## Slide 9: Measurements at CNAO
Carbon ions
Energy: 280 or 332 MeV/n
Scan along beam axis, ~30 positions
Frames (pictures) of 20 ms taken, 5-10 frames per position
TOT mode
Total: 20 min per scan
→ Frames provide beam monitoring
→ Integrated TOT counts per position provide Bragg Curve
→ 3D reconstruction of energy deposition

## Slide 10: Comparison DDS and GEMPix
Good agreement between DDS and GEMPix

## Slide 11: Beam Monitor
Beam spot taken on Plateau, Bragg Peak and Tail
Frame length: 20 ms / 100 ms (before / after the Bragg Peak)
Beam halo: single particle reconstruction
Plateau
Peak
Tail

## Slide 12: Depth Scan: Bragg Curve
Investigations on differences on-going
In general: good agreement between reference measurements / simulation and GEMPix
Beam

## Slide 13: 3D Reconstruction
Beam
Bragg Peak
Fragmentation Tail

## Slide 14: Old Setup
GEMPix
+ CNAO water phantom
+ CNAO Dose Delivery System
→ GEMPix must be dismounted after each shift
→ Timing issues with reference system
→ Study of differences in Bragg curve with more reliable setup
→ New issues when going to other beam facility?
→ Development of an integrated system!

## Slide 15: Outlook: Integrated System
Integrated system with GEMPix, water phantom, ion chamber as reference
Water phantom was donated by Luzern hospital
Ion chamber (PTW 34080) acquired
Funded by MAPF
Integration HW/SW at CERN IdeaS
Tests at Linac4 (160 MeV)
Measurements at clinical facilities
Independent of local beam delivery system
Wellhoefer Blue Phantom
70cm
IC
Beam
PTW
34080

## Slide 16: Thank you for your attention!