## Slide 1: Controls
Interlocks
  Feedback for the interlocks specs v1 to be done
    Mixed process interlocks with protection functionality.
    Identifying hazards
    Platform access & test bench human presence.
    Risk analysis to complete (FMEA* as SM18) to be done.
    Proper selection of the hardware in function of the results.
    ODH: incorporated or standby systems as other installations at CERN.
Data analysis
  Operational functionality to be defined
  Integration of the data analysis and the controls in the control room to be drafted
    UNICOS integration
    Labview
* FMEA: Failure Mode and Effects Analysis
** ODH: Oxygen Deficiency Hazard