## Slide 1: Polarization and electric dipole moments – the grand picture
Kurt Aulenbacher,
Institut für Kernphysik,
Johannes Gutenberg-Universität Mainz
From EuCARD-2 XBEAM to ARIES APEC, Valencia, Spain
February,14, 2017

## Slide 2
- What did we learn from XBEAM WP-5.5 “Polarization” ?
Polarization in upcoming accelerator projects
The role of polarization measurement
Electric Dipole Moments
OUTLINE

## Slide 3: Polarization at the low energy scale („small“ accelerators)
Discovery (strong CP and T violation )
Precision experiments (weak P violation ) with small scale accelerators
EUCARD-2 workshop "Search for the electron EDM in an electrostatic storage ring"
10-11 September 2015
Mainz
https://indico.mitp.uni-mainz.de/event/38/

## Slide 4: Polarization at the high energy scale... (future BIG projects).
EuCARD-2 XPOL workshop on
“Polarization Issues in Future
High Energy Circular Colliders”
16 April 2016
Rome
https://indico.mitp.uni-mainz.de/event/62/
EUCARD-2 workshop "Spin optimization at Lepton accelerators"
12-13 February 2014
Mainz
https://indico.mitp.uni-mainz.de/event/18/

## Slide 5: Polarization at the high energy scale... (future BIG projects).
Precision measurements at the ILC
    Polarized positron source technologically challenging
    Polarization measurement via Compton backscattering promising (DP/P ~0.1%)
Precision beam parameters at the FCC-(ee)
-absolute energy calibration (by resonant depolarization) order
DE/E ~ 10-6
High energy pol. proton beam at the fcc-hh is not completely impossible (would increase circumference by „only“ a few %)
Fixed Target pol. at LHC or FCC-hh is possible
LHeC collider arrangement (linac-ring) is feasible with polarized electron beam

## Slide 6
Observables in future accelerator
spin physics
Storage ring: EDM (CP „JEDI“ )
- Aiming at discovery of an effect
- FCC-ee: Precision energy calibration for resonance
Linac : Parity violating electron scattering , e.g. At JLAB, SLAC or MESA, ILC: Precision measurements
-neutron skins ( PREX, .... ) (program ongoing JLAB & MESA)
- weak charge (E166, QWEAK, program ongoing  Moller, P2)
- elctroweak production and precision measurements
at ILC e.g. 350 GeV (tt-threshold)

## Slide 7
LINAC example : Parity violating electron scattering
- accurate measurement of electro weak mixing angle „sin2qW“
Observables in NEAR and MEDIUM FUTURE
future accelerator spin physics

## Slide 8
„Elastic electron scattering on proton measures 1-4sin2QW  small asymmetry , high sensitivity
Supressing hadronic contributions favours low momentum transfer and low beam energy
F. Maas, PAVI2014 conf.
Influence of
„dark Z boson“
which also contributes
to muon anomalous
magnetic moment..

## Slide 9: Challenge: low signal, high accuracy
S. Baunack
PAVI 2016

## Slide 10: The P2 Experiment at MESA -basic demands
F. Maas PAVI2014 conf.
150 mA Beamcurrent , 60cm lq. H2, Beampol: 85%.
10000 h Data-taking (~13-15000 h Runtime)
High accuracy polarization measurement (DP/P=0.5% !!)
Extremely high demands on control of HC-fluctuations!
Good option at energies > a few GeV is Laser-Compton backscattering with
Potential error ~10-3
Two independent methods seem to be required anyway: Hydro Möller & Double scattering

## Slide 11
Storage ring example: Jülich Electric Dipole Moment Investigations
EDM (CP „JEDI“ ) - Aiming at discovery of effect in „electrostatic storage ring“
Observables in NEAR and MEDIUM FUTURE
future accelerator spin physics
Why is this important?

## Slide 12
Electroweak
Baryogenises
GUT SUSY
J.M.Pendlebury and E.A. Hinds, NIMA 440 (2000) 471
e-cm
Gray: Neutron
Red: Electron
n current
n target
Sensitivity to Rule on Several New Models
e current
e target
p, d target
If found it could explain
Baryogenesis (p, d, n, 3He)
Statistics limited
1st upgrade
Electron EDM (molecules)
new physics reach: 1-3 TeV
From Y. Smerzidis
Talk at EUCARD
workshop

## Slide 13
Observables in NEAR and MEDIUM FUTURE
future accelerator spin physics
From A. Lehrachs talk at the EUCARD-2 workshop

## Slide 14
Observables in NEAR and MEDIUM FUTURE
future accelerator spin physics
From A. Lehrachs talk at the EUCARD-2 workshop

## Slide 15
15
Momentum
vector
Spin vector
E
E
E
E

## Slide 16
- stat. Sensitivity for EDM detection
Observables in NEAR and MEDIUM FUTURE future accelerator
spin physics
(*) many challenges of spin physics unitied in one formula!

## Slide 17
A. Lehrach, FZJ

## Slide 18: Signals and systematic errors in ....
EDM (CP „JEDI“ )
- spurious polarization occurs
- Py,imperfect are caused by , e.g., horiz B-field
PV electron scattering
- „false Asymmetries“

## Slide 19: Signals and systematic errors in ....
Spurious effects are far too large !
Example: estimation for EDM precursor experiment at COSY
(non optimized, magnetic ring)
“Rotations of the RF Wien filter by 0.1 mrad or normally distributed vertical shifts of the quadrupoles with y = 0.1mm introduced signals mimicking a deuteron EDM of about 5 · 10−19 e cm” (PhD thesis Rosenthal, Aachen, 2016)
Example: PV
The Helicity correlated Intensity variation is given by:

## Slide 23: Summary
BIG projects: requirements well defined
Mostly feasible, somewhat challenging (pol positron production,
energy calibration in fcc-ee)
Small and feasible projects in near future: good playground for
„extreme beam control“ („identical orbits, helicity correlated
fluctuations)
Progress is realized under demand!
 Small projects needed while /if waiting for the larger ones

## Slide 24
Thank you for your attention!

## Slide 25
Chudakov&Luppov, Proceedings IEEE Trans. Nucl. Sc. 51, 1533 (2004)
~1m
+ measurement is
non-invasive and
+ provides sufficient
statistical accuracy
at the beam current level
of the PV experiment
„Prototype“ of atomic trap was donated by UVA/Don Crabb
Template for cryostate development
The Hydro Möller proposal

## Slide 26
Magnetic field B splits H1 ground state
H1 in B = 8T at T = 300 mK at thermodynamical
equilibrium:
10-16
Mixing angle
At B =8T 0.3%
A completely polarised electron target

## Slide 27
Gas Lifetime in the Cell
Loss of hydrogen atoms from the cell due to:
Thermal escape through the magnetic field gradient dominates at T > 0.55 K
Recombination in the gas volume negligible up to densities of ~ 1017 cm-3
Recombination in the cell surface constant feeding the cell with atomic hydrogen
A completely polarised electron target
Requires powerful dilution refrigerator….

## Slide 28
Draft of cryostat design for P2-Hydro-Möller (V. Tioukine with lots of help from Dubna, CERN, JLAB)

## Slide 29: Status Hydro Möller
Challenge: Functionality can only be tested when trap is working!
Detailled cryostat design accomplished
Will build 4K precooling stage from available funding
~200 k€ for remainig cryostat parts and magnet
Substantial amount of 3He needed : 50-100 cm^3 lq. (~200k€ ??)
Pumping stages for the precooling and the mixing circuit (~300k€ ??)
No detection system designed yet!
Full design report needed for funding request

## Slide 30: The P2 Experiment at MESA -basic demands
F. Maas PAVI2014 conf.
 ~4000h/Year Runtime
Accelerator must be optimized for reliability& stability
Count rate several hundred Gigahertz Integrating detector + spectrometer
150 mA Beamcurrent , 60cm lq. H2, Beampol: 85%.
10000 h Data-taking (~13-15000 h Runtime)
High accuracy polarization measurement (DP/P=0.5% !!)
Extremely high demands on control of HC-fluctuations!

## Slide 31: Expanding the MAMI facility by “MESA”
1.6 GeV c.w. electron accelerator “MAMI-C”
in operation since 2007
Insufficient space (and budget) for
further extension
no MAMI D project, but
use available space for 100 MeV scale,
high intensity accelerator “MESA”
The MAMI facility will be complemented by
MESA , the Mainz Energy-recovering Superconducting
Accelerator, with dedicated experiments at energies
below or at the pion threshold

## Slide 32: Expanding the MAMI facility by “MESA”

## Slide 33: The P2 Experiment at MESA - detector
F. Maas PAVI2014 conf.

## Slide 34: The P2 Experiment at MESA
Beam Dump Experiment (BDX) @ MESA
Electron Scattering on Beam Dump  Collimated pair of Dark Matter particles !
This existing beam dump is going to
be the P2 beam dump
10,000 hours @ 150 µA
1023 electrons on target (EOT)
MESA
BDX

## Slide 35: The P2 Experiment at MESA: False asymmetry control

## Slide 43: The role of Polarization measurement - accuracy and efficiency
Storage ring experiment : efficiency matters!
- Strong interaction polarization analysis by single spin asymmetry
is at least two orders of magnitude more ffective than electromagnetic –
disadvantage for lepton EDM rings!
Possibility to use Stern Gerlach forces in superconicting cavity (R. Talman)
to detect spin precession non invasively would reverse this argument...
(new idea, not tested in practice)

## Slide 44: The role of Polarization measurement - accuracy and efficiency
S. Baunack
PAVI 2016

## Slide 46: The role of Polarization measurement - accuracy and efficiency
At lepton energies >> 1GeV : Laser Compton Scattering is a useful tool,
- can achieve Accuacies well below 1% (SLAC,JLAB)
Experiments with enrgies below 1GeV require improvement of new techniques
Standard Möller or Mott ca be improved to below 1%
New techniques for P2: „Hydro-Möller“ and Double scattering Mott may achieve
<0.5%.

## Slide 47: Present set-up of DSP at PKA2

## Slide 48: Inside the scattering chamber...
Primary
target
Secondary
target
Polarisation
counters
Monitor
counters

## Slide 49
Double scattering (Kesslers Method)
Gellrich and J.Kessler
PRA 43 204 (1991)

## Slide 50
Kessler/HopsterAbraham/Kessler Method
5 equations with four unknowns
consistency check for apparative asymmetries!
 Results achieved by Kessler were consistent <0.3%
S. Mayer et al
Rev. Sci. Instrum. 64 952 (1993)

## Slide 51
Kessler/HopsterAbraham/Kessler Method
5 equations with four unknowns
consistency check for apparative asymmetries!
 Results achieved by Kessler were consistent <0.4%
S. Mayer et al
Rev. Sci. Instrum. 64 952 (1993)

## Slide 52
2 m long cryostat
Engineering challenge!

## Slide 53
Supplementary transparencies

## Slide 54
PLAN “B” (April-Oktober)
1
2
3
4
P2
MAGIX
BDX
MESA in old/new building structure
#
=hall number
NEW (u-CFP)
OLD
D. Simon
P2 Experiment: external beam, 155 MeV,
0,15mA, spin-polarized
MAGIX experiment: ERL beam, internal target
>1mA beam current.
Additional experiments possible: BdX and „Hall-4“

## Slide 55: Present set-up of DSP at PKA2
beam
beam

## Slide 56: Present set-up of DSP at PKA2

## Slide 57: Elimination of apparative asymmetries (when spin cannot be flipped)
Rotating counters to eliminate efficienciy differences
Monitor counters to measure false asymmetries (solid angles, scattering angle)
Caveat: a zero asymmetry of monitor countors may be result of compensation between
changes of solid angle and scattering angle due to misalignement!

## Slide 58: Elimination of apparative asymmetries (when spin cannot be flipped)
It can be shown that the false asymmetry of the MONITOR counters is proportional
to the false asymmetry measured in the POLARISATION counters IF AND ONLY IF

## Slide 59: The Hydro Möller-general remarks
„internal target“ with complete (>99.99% )electronic polarization
Thin target  online capability
But thick enough to prvide frequent polarization measurements
Expected accuracy DP/P <0.5%
Technologically demanding

## Slide 60
Full Assembly of MELBA planed until early 2017
Polarisation
Matching
Vacuum
Source
„Start to end“ Simulation predicts for 100keV beam:
-Compatibility with spin rotation
Sufficient beam quality
for injection into MAMBO
with 1pC bunches (=1,3mA)
C. Matrejcek

## Slide 61
Assembly of MELBA (MEsa Low Energy Beam Apparatus) in 2016
Polarisation
Matching
Vacuum
Source
Blue ray disc laser and longitudinal diagnostics
already tested….
Longitudinal diagnostics at
Bunch charges corresponding to
> 1mA average current
I. Alexander

## Slide 62: The P2 experiment at MESA
N. Berger

## Slide 63
box graph contributions obtained by modelling hadronic effects:
[Gorchstein, Horowitz & Ramsey-Musolf 2011]
Hadronic uncertainties suppressed at lower energies
Low beam energy experiment:
  P2 @ MESA
Dominant theoretical uncertainty:
box graphs,
Sensitive to hadronic effects
P2

## Slide 64
Beam test of MELBA and “50%” MAMBO
planed until end 2018
First two sections of MAMBO will be installed. 2.5 MeV „full relativistic“ beam
1300 MHz Rf power generated by solid state amplifiers with up to 80kW c.w.
Beam current >1mA can be tested

## Slide 65
MEEK (Mesa Elbe Enhanced Kryomodules)
Design Gradient 13MV/m at Q0 =1.5*1010.
2 Cryomodules with four cavities will yield 50MeV energy gain/turn
„Enhancements“: -faster tuner and improved HOM capabilities for higher current
Under fabrication at RI Instruments Bergisch Gladbach
Delivery date for the two modules and April/June 2017
Performance tests at new „HIM experimental hall“
J. Teichert et al. NIMA 557 (2006) 239
Installation at ELBE

## Slide 66
MEEK Cryomodules
-preparing for the test phase
„Helmholtz Institut Mainz“ (HIM) will by ready for operation this summer….
He: Lq. Helium supply line from liquifier in nuclear physics institute: >50l/hour through 220 m
long pipe demonstrated. P: 4g/s pump stage at 16mbar is presently being ordered.
I: Instrumenttion platform, C: Clean room for cryomodule maintenance
Test bunker for SRF cryomodules
He
P
Experimental Hall
C
I
01 June 2016

## Slide 67: Experiments at MESA
http://www.prisma.uni-mainz.de/1795.php#imagefilm
Mode 2: ERL
Internal Target
MAGIX Experiment
Mode 1:
Extracted Beam
P2 Experiment

## Slide 68: Highlights and roadmap from EuCARD-2 XPOL
Kurt Aulenbacher

## Slide 69: Content XPOL
Deliverables: One workshop per year
So far three workshops took place:
12-30 participants..
General remark: Spin at accelerators is a “fundamental” science issue.
- particle physics meets accelerator people..perhaps more directly than in other cases…
But: Almost no applied Physics yet
(small community!)

## Slide 70: XPOL workshop Spin optimization at Lepton accelerators (Mainz, February, 12-13 2014)
  23 Participants: -national research centers (DESY,BNL)
  & - Many german universities (Bonn, Heidelberg, Munich, Mainz, )
  Highlights: high energy circular proton machines, polarized positron source , “Spin at work” (in linear collider)

## Slide 71: XPOL workshop Spin optimization at Lepton accelerators (Mainz, February, 12-13 2014)
  23 Participants: -national research centers (DESY,BNL)
  & - Many german universities (Bonn, Heidelberg, Munich, Mainz, )
  Highlights: high energy circular proton machines, polarized positron source , “Spin at work” (in linear collider)

## Slide 74
(Polarized) Positron
Bunch population not
Completely safe…

## Slide 75
Positron source is located at the end of the electron linac
required positron yield Y = 1.5 e+/e-
Superconducting helical undulator – 231m maximum active length
   positron beam is polarized
Photon-Collimator to increase e+ pol
  Removes part of photon beam with lower polarization
e+ Production Target, 400m downstream the undulator
Positron Capture: OMD (Optical Matching Device)
  Pulsed flux concentrator

## Slide 76: Positron Target
Material: Titanium alloy Ti-6%Al-4%V
Thickness: 0.4 X0 (1.4 cm)
Incident photon spot size on target: s ~ 2 mm (rms) (Ee- = 150GeV)
~ 1.2 mm (Ee- = 250GeV)
Power deposition in target: TDR 5-7% (~4kW)
small beam size  high peak energy density
spinning wheel to avoid damage due to high energy deposition density
  2000 r.p.m. (100m/s)
  Diameter: 1m
  Wheel is in vacuum
  water-cooled
Potential problems
  Stress waves due to cyclic heat load  target lifetime
  High peak energy deposition
  Eddy currents
  rotating vacuum seals to be confirmed suitable (design and prototyping is ~ongoing)
S. Riemann

## Slide 77: Positron Target
S. Riemann
„EUCARD SPIN-OFF“: POSITAR Experiment
„MIMIC“ impact of photon beam by ionization loss due to focussed electron beam at several
MeV. High repetition rate possible at c.w. electron accelerators.
1 day of operation at MAMI mimicks 1 year operation at the ILC.
(first experiment on Titanium alloy 2/2016)

## Slide 78
  Participants: 27 Particle physics meets storage ring! (No collider!)
  US (BNL, CORNELL), Korea (CAPP), Germany (COSY-Jülich), Italy (Ferrara),
  Russia (Dubna),
  Highlights: Spin coherence, non-invasive effective polarimetry, Particle physics without collisions!
  XPOL workshop
  Search for the electron EDM in an electrostatic storage ring.
  Mainz, September 10-11 2015

## Slide 79
Electric Dipole Moment=EDM
EDM‘s imply CP-violation (bigger than present standard model)
So far only effective experiments with NEUTRAL (composite) systems
(exception: neutron)
Storage rings allow for measurement on truely elementary systems (p, e, m,... )
Electric

## Slide 80
Assuming CPT is invariant,
this implies that
CP is violated too…

## Slide 81
Electroweak
Baryogenises
GUT SUSY
J.M.Pendlebury and E.A. Hinds, NIMA 440 (2000) 471
e-cm
Gray: Neutron
Red: Electron
n current
n target
Sensitivity to Rule on Several New Models
e current
e target
p, d target
If found it could explain
Baryogenesis (p, d, n, 3He)
Much higher physics reach
than LHC; complementary
Statistics limited
1st upgrade
Electron EDM new physics reach: 1-3 TeV

## Slide 82
A. Lehrach, FZJ

## Slide 83
83
Momentum
vector
Spin vector
E
E
E
E
at the magic momentum

## Slide 84
Signal can be mimicked by radial magnetic fields
eliminate those by all electric ring operaqting at „magic“ momentum
(„frozen spin“ points always in direction of motion)
Hadrons promise easier success, but require much more expensive ring
Problem with electron: efficiency of Polarimetry.
Way out: Transfre from intensity to frequency measurement (Talman)

## Slide 86
  XPOL workshop
  Polarization issues in future high energy circular colliders
  Rome, April 16 2015
14 Particpants
(China, Germany, Japan,
Switzerland, Russia, US,)
Small, but extremely
intense meeting with vivid
Discussions…
Highlights: Vertical polarization
In fcc-ee  energy calibration
(Ginafelice, Hillert, Koop,
Fcc-hh: polarization
not hopeless (Ptytsin) internal
Target also (Lenisa)
Again ,polarimetry is the key…

## Slide 88
  Next XPOL workshop End of 2016
  New venues in polarimetry
Beam Polarimetry is the key issue for several project in acclerator based research
fcc-ee energy calibration
eEDM determination („Resonant polarimter“)
Highly accurate polarimeters for precision observables
(Hydro Moller completely polarized internal target, double scattering, )