## Slide 1: Seeing elusive protein structures at high resolution: Instrumentation for XFEL crystallography and imaging
Grant Mills
SPB/SFX
Postdoctoral Scientist
Hamburg DESY, 09 June 2017

## Slide 2: The European XFEL

## Slide 3: Traditional X-ray sources
Images:
https://industry.gov.au
http://www.xstruct.ugent.be

## Slide 4: Protein structure
R Neutze (‎2015)
TRM Barends et al. (2014)
Nass et al. (2016)

## Slide 5: Non-crystalline material scatters fewer x-rays than crystalline material
Scattered x-rays is proportional to N2
(~ 100 x 100 x 100 elements)
If N=1, then scattering is proportional to 1
(~ a million times less than above)
Conclusion: Need a lot more x-rays
Slide modified: A. P. Mancuso

## Slide 6: SASE radiation
FELs offer improvements over 3rd generation synchrotrons
Orders of magnitude brighter
Extremely short pulse duration
Both µm and nm focus

## Slide 7: Diffraction before destruction
Image: R. Neutze et al. Nature (2000)

## Slide 8: SASE pulse train
Slide: A. P. Mancuso

## Slide 9: Undulator

## Slide 10: Undulator

## Slide 11: Undulator
Coherent radiation is emitted from 175 m of SASE undulator
Initial section of undulator produces radiation
The radiation couples with the electron’s to bunch the electrons
Saturation occurs when the electrons are completely microbunched
This process greatly amplifies the radiation emitted

## Slide 12: Radiation damage
Diffraction before destruction (2014)
Henry N. Chapman, Carl Caleman, Nicusor Timneanu

## Slide 13: Imaging biomolecules and X-ray radiation
Technical Design Report: Scientific Instrument SPB, (2013) A. P. Mancuso, et al.

## Slide 14: KB mirror systems
Design of the mirror optical systems for coherent diffractive imaging at the SPB/SFX instrument of the European XFEL, (2016) Richard J Bean, et al.
Kirkpatrick-Baez mirrors will produce a 1 micron and 100 nanometer focused beam
4 bounce system (1 µm) in green
2 bounce system (100 nm) in blue
B4C and Ru coatings

## Slide 15: KB mirror systems
Design of the mirror optical systems for coherent diffractive imaging at the SPB/SFX instrument of the European XFEL, (2016) Richard J Bean, et al.
Kirkpatrick-Baez mirrors will produce a 1 micron and 100 nanometer focused beam
4 bounce system (1 µm) in green
2 bounce system (100 nm) in blue
B4C and Ru coatings

## Slide 16: KB mirror systems
Design of the mirror optical systems for coherent diffractive imaging at the SPB/SFX instrument of the European XFEL, (2016) Richard J Bean, et al.
micron focus
nano focus

## Slide 17: Manufacturing achievements
970 x 25 mm clear aperture
1.8 nm peak to valley variation
2x 50 nm thick polished coatings
  B4C and Ru
  950 x 10 mm

## Slide 18: Compound refractive lenses
CRL is a repeating structure of parabolic surfaces
12 mm diameter
2 mm thickness
Focus to 2.5 µm diameter
Initial operation will use the CRL in the tunnel
Refractive x-ray lenses (2005) B. Lengeler, et al

## Slide 19: Cassette ordering
1, 2, 4, 8, 10, 10 …..
Allows the change of X-ray energy while still maintaining focal location
Initial operation will use the CRL in the tunnel

## Slide 20: Interaction region
Day 1 will provide 60 pulses per train at 10 Hz
Photons at 8.4 keV
Pulse energy at 2 mJ
Pulse duration 43 fs
120° open scattering cone
There are two inline interaction regions, thes 1st upstream region is available day 1
Image: Joachim Schulz

## Slide 21: Sample injection
Many methods have been adopted to deliver sample into the interaction region
GDVN
Aerosol
Fixed targets
Images: J. Schulz and R. Graceffa

## Slide 22: Gas Dynamic Virtual Nozzle
Image: http://www.sfx-consortium.org/e230143/e230213
Capillary guides the sample into the interaction region
Inert gas focuses the jet into a thin stream
A µm thin jet can be maintained over more than 100 µm distance
A modified system can also handle viscous solutions

## Slide 23: Design study of a microfluidic mixing nozzle in 25 mm nozzle rod
Image: Joachim Schulz, Rita Graceffa, Dennis Ropers

## Slide 24: Aerosol injectors
Injector creates particle beam
Pressures decrease through the injector nozzle
Rapid motion of sample
Image: Joachim Schulz

## Slide 25: Fixed targets
Image: Joachim Schulz

## Slide 26: AGIPD Detectors
6 – 13 keV
1 x 104 at 12 keV dynamic range
5 σ at 12 keV sensitivity
Number of storage cells 352
Can store images at 4.5 MHz
Image: AGIPD Consortium

## Slide 27
Image: AGIPD Consortium
Pixel size 200 μm x 200 μm
128 x 512 pixels per module
64 x 64 pixels / chip
8 chips / module
4 module / quadrant
4 movable quadrants

## Slide 28: Experiments
Slide modified: Adam Round

## Slide 29: The Single Particle Imaging Experiment
Image: Gaffney, Champman. Science (2007)

## Slide 30: Experiments
Time-resolved SFX
Bacteriorhodopsin conformational changes
10 fs long pulses at SACLA
Eriko Nango, et al 2017, Science

## Slide 31: Experiments
High resolution SFX
1.2 Å res proteinase K
Comparision of SFX and SRX B-factors
Tetsuya Masuda, et al 2017, Science Reports

## Slide 32: Experiments
Two-colour X-ray-pump/X-ray-probe scheme used for studying the molecular fragmentation of XeF2
These reactions occur on the fs timescale, perfect for the European XFEL
A Picón, et al 2016
CS Lehmann, et al 2016

## Slide 33: Experiments

## Slide 34: Acknowledgments: People—the most important components
  Sample Environment
  AGIPD consortium
  Adrian Mancuso
  Zunaira Ansari
  Richard Bean
  Johan Bielecki
  Carsten Fortmann-Grote
  Klaus Giewekemeyer
  Oliver Kelsey
  Felix Lemcke
  Luis Lopez Morillo
  Bradley Manning
  Masoud Mehrjoo
  Marc Messerschmidt
  Nadja Reimers
  Adam Round
  Tokushi Sato
  Marcin Sikorski
  Andrew Stawniczy
  Stephan Stern
  Britta Weinhausen
  Patrik Vagovic
  Prasad Thute
Particular thanks to all European XFEL groups supporting (too many to mention).