## Slide 1: Microscopic simulation of Xenon-based gaseous optical TPCs in the presence of molecular additives
C. Azevedo, S. Biagi, C. Henriques,
D. Gonzalez-Diaz
and the NEXT collaboration
@RD51 (14/12/2016)

## Slide 2
I. The problem

## Slide 3
The importance of the ‘topological’ information in NEXT
ββ0 signal
γ-background
MC-truth
low diffusion
pure Xenon
low-diffusion
mixture
Xe
Xe
low-diffusion
Xe
J. Renner et al., arXiv:1609.06202v3
(deep neural network analysis)
but what happens to the Xenon scintillation when diffusion is reduced??

## Slide 4
A ‘conceptual’ magic mixture
(Penning)-Fluorescent
Low diffusion/light preserving
Strongly fluorescent at higher λ and self-transparent.
Suitable for Penning transfer. Can potentially reduce Fano factor.
Allows for EL at lower field due to low-lying excited states of the additive.
Able to reduce electron diffusion in gas.
(2 candidate molecules identified)
Able to reduce electron diffusion in gas.
(6+ candidate molecules identified)
From TPC conference 2014!
~’low IP/high-reactive type’
~’high IP/low-reactive type’
Recombination small.
Recombination small.
Light mechanisms unaffected.
  Highly transparent to Xenon-light.
  Small quenching for S1, S2 and small fluctuations in EL.

## Slide 5
II. The tool

## Slide 6
Garfield++
Magboltz
scintillation MC, and photo-absorption
x-section database
Magboltz electron
x-section database
A microscopic software for electron and photon transport in gas
(recombination MC/model)
[not included here]
Degrad
(S1, S2)
(WI, F,
cloud size)
(vd,DL,DT )

## Slide 7
III. Basic considerations

## Slide 8
Electron x-sections of relevant gases
Xenon 2016
I

## Slide 9
Xenon 2016
Electron x-sections of relevant gases
x-sections for molecules that are plot here are actually old ones (just illustrative!)
I

## Slide 10
Ionization transport characteristics (vd, DL, DT)
Mean Electron Energy
H2
CF4
CO2
CH4
H2
CF4
CO2
CH4
H2
CF4
CO2
CH4
N2
N2
N2
Ed=20 V/cm/bar, P=15bar
Outside 20-30V/cm/bar it performs generally worse
H2(0.8%)
CF4(0.007%)
CO2(0.02%)
CH4(0.1%)
N2(4%)
I

## Slide 11
Ionization transport characteristics (vd, DL, DT)
Mean Electron Energy
C2H6
i-C4H10
CH4
Ed=20 V/cm/bar, P=15bar
Outside 20-30V/cm/bar it performs generally worse
C2H6
i-C4H10
CH4
C2H6
i-C4H10
CH4
C2H6 (0.06%)
i-C4H10(0.035%)
CH4 (0.1%)
I

## Slide 12
Light transparency
II

## Slide 13
Light transparency
i-C4H10
C2H6
II

## Slide 14
3body
2body
decay
Light quenching (generic pathway diagram)
IPXe
Most serious difficulties related to S1:
Distribution of initial excited states?.
Quenching/decay of Xe**, Xe2** largely unknown.
S2 much more robust (dominated by low-lying states):
Measurements exist, and scalings work reasonably.
other continua
2nd continuum (170nm)
IPXe2
example of main (atomic) quenching reactions
relevant for S2
relevant for S1
III

## Slide 15
IV. Electron transport + scintillation model

## Slide 16
Garfield++
Degrad
I. Computation of probability distribution of excited states

## Slide 17
II. Computation of atomic cascade
decay constant
2-body collision rates
3-body collision rates
each value represents a vector!

## Slide 18
III. Excimer pathways
(analogous for 2p5 and Xe**)

## Slide 19
Example of light production code (population evolution from 2p10)

## Slide 20
Example of electron transport + light production code
time distributions
energy spectra

## Slide 21
V. Comparison with pure xenon data

## Slide 22
Time distributions

## Slide 23
Yields
VUV region
IR region
simulated
measured (α’s)

## Slide 24
VI. Comparison with xenon + additives

## Slide 25
Electroluminescence (yield)

## Slide 26
Electroluminescence (light fluctuations, Q)

## Slide 27
VII. Fine, but what is happening here?

## Slide 28
!
if assuming
a fit gives:
The quenching rate of s5 state in CO2 is:
Xe-CO2
!

## Slide 29
!
if assuming
Xe-CF4
and the quenching rate of s5 state in CF4:
Predicts a 0.3% scintillation drop in
the range of concentrations shown…

## Slide 30
Indeed: dominance of triplet state
scintillation above 1bar!
An analytic picture… and a simple one (I)

## Slide 31
An analytic picture… and a simple one (II)
This simple picture (triplet dominance) describes the quenching effect in earlier data by Suzuki for Ar-CO2 and Ar-CH4 (1983) and Conde and Policarpo for Xe-N2 (1968),
…quantitatively!
It does describe the data for Xe-CH4 from GIAN group (Carlos Henriques), but with a quenching rate for the excimer that is about x4-x8 less than that of the atom (!). This seems to enable CH4 for high pressure operation in NEXT, and its figure of merit perhaps even surpasses the one from CO2, contrary to the initial expectations…
still a lot to learn from good measurements!

## Slide 32
Ambiguities in the scintillation model (I)

## Slide 33
Ambiguities in the scintillation model (II)
default model used in simulations
model by J. Escada
(predicts no pressure dependence of time spectra!, just a global yield drop)

## Slide 34
conclusions I (projections for NEXT)
preliminary

## Slide 35
conclusions II (Ozkan/Rob’s feedback parameter β)
!

## Slide 36
VI. Appendix