## Slide 1: SM18 Minimal Plan
Frequency tracking in cooldown
Tuner validation with (low power) RF
LLRF (cavity & tuning loop)
HOM spectrum
Pick-up probe & connectors
Initial RF conditioning, 1kW solid state amplifier
24/11
Notes: 1. Frequency tracking of the two cavities through-out the CM assembly procedure, vacuum/pressure testing, cryogenic cooldown. Coupling measurements at warm
2. Tuner validation both mechanical and with RF feedback (low power)
3. LLRF validation (cavity loop and tuner loop) to the extent time allows, already validated in vertical setup on PoP+Tuner
3. HOM spectrum between the two cavities both at cold and warm
4. Check of the Pickup probe and all needed connectors.
5. Initial RF conditioning with the available 1 kW amplifier, extent of Rf conditioning depending on the time available.

## Slide 2: HOM Assembly
Courtesy E. Montesinos et al.
Assembly of 3 HOMs + PU
Beginning of May 2017
Cold testing with HOMs
mid-May
Additionally requesting HOM testing with US-DQW#1 at Jlab

## Slide 3: Impedance Spectrum
Chart: Frequency (GHz)

## Slide 4: HOM Power including LHC Filling
The HOMs were designed for
We are monitoring HOMs for both cavities during cooldown to understand the freq/spread
More details from E. Metral

## Slide 5: HOM Tracking during Cavity Tuning
585 MHz
960 MHz

## Slide 6: Success Criteria for SPS test:
Operate crab cavities w/o interrupting SPS
Demonstrate ‘transparency’ of the system and ability to ‘turn-off the system’ (detuned and anti-phased)
Characterize failure scenarios and beam response during failure for MP studies in the HL-LHC
Observe Crabbing on the longitudinal beam profile and demonstrate reliable system operation with high beam current
Demonstrate system functionality and current design choices and assumptions (e.g. cryo load, RF power, HOM power…)
Transverse alignment and the need for active alignment in LHC
O. Bruning, CC-Review

## Slide 7: Beam Parameters for Crab Tests
 | Units | Value
Energy | GeV | 
Coast Energy | GeV | 
Intensity | p/bunch | 
RF Voltage | MV | 
4th Harmonic Voltage | MV | 
Bunch Length | ns | 
Longitudinal Emittance | eVs | 
Betatron Tunes |  | 
 | m | 
Dispersion | m | 
 | Units | Value
Energy | GeV | 
Coast Energy | GeV | 
Intensity | p/bunch | 
RF Voltage | MV | 
4th Harmonic Voltage | MV | 
Bunch Length | ns | 
Longitudinal Emittance | eVs | 
Betatron Tunes |  | 
 | m | 
Dispersion | m | 

## Slide 8: Transparency to SPS
The mechanical bypass is specifically designed to be an independent vacuum system. SPS operation not interrupted in case of RF commissioning or “catastrophic” failure of cryomodule
Crabs
LSS6
COLDEX in LSS4

## Slide 9: Transparency
To demonstrate transparency, one needs to measure field/phase in the cavity
The present RF pickup designed to pickup is at for LLRF field & phase regulation
LLRF tests in SM18 with VTA
  () implies
LER Scan
Zero crossing
KEKB Commissioning
RF Phase w.r.t to Beam

## Slide 10: RF Input Power w/o Beam
The present baseline is to install in SM18 to reach per cavity

## Slide 11: RF Input Power w/o Beam
The required power with
(200 bunches, p/b)

## Slide 12: SPS Instrumentation
BPMs
  MOPOS system (possibility of DOROS acq channel)
    Orbit mode – , Trajectory -
  Two new BPMs around the crab
  Special PUs (transverse damper, WBFS, exponential PU)
Head-Tail Monitor
  HT monitor - resolution for
  New EO-Pick-up and MIM under-development – possibly available by 2018
Wire scanenrs for emittance measurements
BGI under re-commissioning and cross calibration in 2017
Extra BLMs around the crab-cavity to be finalized

## Slide 13: What can be Observed
At , orbit response of with times 2 cavities, implies ()
Requires the cavity tuning range to reach from present target of
Higher energies () with difficult, but approx. same relative kick () as in LHC
Courtesy: R. Tomas

## Slide 14: Cavity Performance, Minimum Acceptance
Bare cavity results show margin
We could expect degradation from dressing and cryostating
Well below , the SPS installation questionable
 |  | DQW #1 (CERN) | DQW #2 (CERN) | DQW #1 (USLARP) | DQW #2 (USLARP) | RFD #1 (USLARP) | RFD #2 (USLARP)
Max Volt | [] | 5.04 | 4.8 | 5.8 |  | 4.4 | 
[MV/m, mT] |  | 56, 109 | 54, 103 | 65, 125 |  | 42, 73 | 
min | [n | 10 | 10 | 9 |  | 11 | 
, 3.4MV | [n | 15 | 18 | 15 |  | 13 | 
FE onset | [] | 4.0 | 3.5 | 4.5 |  | No FE | 
 |  | DQW #1 (CERN) | DQW #2 (CERN) | DQW #1 (USLARP) | DQW #2 (USLARP) | RFD #1 (USLARP) | RFD #2 (USLARP)
Max Volt |  | 5.04 | 4.8 | 5.8 |  | 4.4 | 
 |  | 56, 109 | 54, 103 | 65, 125 |  | 42, 73 | 
 |  | 10 | 10 | 9 |  | 11 | 
 |  | 15 | 18 | 15 |  | 13 | 
FE onset |  | 4.0 | 3.5 | 4.5 |  | No FE | 
Nominal ,