## Slide 1: Implementation of the recommendations from the Design Review at CERN
Beam Gas Curtain
Elena Barrios Díaz
2 December 2016

## Slide 2: Global overview

## Slide 3: Sections of the BGC system
Expansion
section
Interaction
section
Dumping
section

## Slide 4: Expansion section
Gas inlet valve
Laser system viewport
Pressure sensors
Gate valve
Turbopumps
Nozzle pumping valve
Skimmers chamber
Nozzle chamber

## Slide 5: Expansion section
Nozzle
1st skimmer
2nd skimmer
3rd skimmer
Ø = 30 μm
Ø = 180 μm
Ø = 400 μm
□ = 4 x 0.4 mm

## Slide 6: Expansion section
Front view
Back view
Nozzle
Nozzle holder
Nozzle tube
Ø = 30 μm
1st skimmer
2nd skimmer
3rd skimmer
Ø = 180 μm
Ø = 400 μm
□ = 4 x 0.4 mm

## Slide 7: Interaction section
Pressure sensor
Electron
gun
Optical system
Electron collector
Turbopump

## Slide 8: Dumping section
Front view
Back view
3D movable gauge
Pressure sensor
Turbopump
Retractable mirror

## Slide 9: Vacuum system
300 L/s
700 L/s
700 L/s
800 L/s
Baseline pumps

## Slide 10: Vacuum system
Baseline and optional pumps
300 L/s
700 L/s
700 L/s
800 L/s
300 L/s
300 L/s
300 L/s

## Slide 11: Expected pressures
10-6 mbar
Dynamic Pressure Ranges (Order of Magnitude)
High
10-9 mbar
10-3 mbar
High
10-9 mbar
Static Pressure < 10-9 mbar

## Slide 12: Main changes
Nozzle tube diameter
Dumping chamber shape

## Slide 13: Thank you