Network activities update
ALICE workshop
4th of May 2017
edoardo.martelli@cern.ch

---
Agenda
Updates on:
- Networks at CERN IT
- LHCOPN
- LHCONE
- IPv6 adoption
- Cloud Activities [if time allows]

---
CERN IT

---
IT Communication Systems
The IT-CS group is responsible for communication services in use at CERN for data, control, voice and video
http://information-technology.web.cern.ch/about/organisation/communication-systems

---
Recent activities
Wigner remote data-centre:
- added 3rd 100G link Geneva-Budapest
- re-configured network to increase local capacity
Tender for new datacentre routers
- to replace Brocade MLXE contract
- on going, waiting for replies
- to be concluded by September

---
CERN data centres – current setup

---
3rd 100G Geneva-Budapest link
T-Systems – GEANT#1 - GEANT#2

---
Recent activities
Campus upgrades
- New WIFI network being deployed
- Planning for routers and switches upgrade
2nd network hub for business continuity in Prevessin
- Construction works almost completed
- Installation of network devices will start in the summer
New datacentre in Prevessin
- evaluating feasibility and costs of a shared DAQ facility located in Prevessin (FR)

---
Shared DAQ (TBC)
CMS
LHCb
Prevessin DC
ALICE
Meyrin DC
ATLAS

---
Possible network topology
Cloud resources
T1s-T2s
network
T0-T1s
network
Internet
Under construction
=
=
Up to 40 Tbps
DAQ lines
Prevessin
Network Hub
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
=
Prevessin DC
Shared DAQ / Offline
Wigner DC
 Extra capacity
Geneva DC
Computing / Storage
CMS
Not existing today
Construction under evaluation
ALICE
LHCb
ATLAS

---
CERN external traffic – last 12 months
Average bandwidth increased of ~80% compared to previous year

---
CERN external traffic – last 12 months
Peak of 250Gbps outbound

---
LHCOPN

---
LHCOPN
Private network connecting Tier0 and Tier1s
- Reserved to LHC data transfers and analysis
- Single and bundled long distance 10G and 100G Ethernet links
- Star topology
- BGP routing: communities for traffic engineering, load balancing
- Security: only declared IP prefixes can exchange traffic.
https://twiki.cern.ch/twiki/bin/view/LHCOPN/WebHome

---
ES-PIC
AS43115
█ █ █
CA-TRIUMF
AS36391
█
US-T1-BNL
AS43
█
TW-ASGC
AS24167
█ █
US-FNAL-CMS
AS3152
█
KR-KISTI
AS17579
█
RRC-KI-T1
AS59624
█ █ █
CH-CERN
AS 513
█ █ █ █
UK-T1-RAL
AS43475
█ █ █ █
RRC-JINR-T1
AS2875
█
NDGF
AS39590
█ █
FR-CCIN2P3
AS789
█ █ █ █
NL-T1
AS1162, 1104
█ █ █
DE-KIT
AS58069
█ █ █ █
IT-INFN-CNAF
AS137
█ █ █ █
10Gbps
T0-T1 and T1-T1 traffic
20Gbps
T1-T1 traffic only
40Gbps
100Gbps
█ = Alice █ = Atlas █ = CMS █ = LHCb
edoardo.martelli@cern.ch 20170202

---
Latest developments
IPv6 adoption:
- 10 Tier1s and the Tier0 now have IPv6 connectivity
- dual-stack perfSONAR installed in all of them
Doubled link capacity during last year:
- NL-T1 (2x10G)
- FR-IN2P3 (2x10G)
- NDGF (2x10G)
- IT-INFN-GARR (4x10G)
- UK-T1-RAL (2x10G, load balancing on existing backup link, now procuring 3rd 10G link)
CA-TRIUMF: is moving to SFU; TRIUMF dismantled by 2020

---
Plans
Complete IPv6 deployment:
- connect all Tier1s
- make all LHCOPN perfSONAR probes dual-stack
- use IPv6 for production data transfers
Upgrade Tier0-Tier1 links when necessary
- add additional 10G or move to 100G when cost effective

---
LHCONE

---
LHCONE
LHCONE L3VPN: Routed Virtual Private Network
- Worldwide private network connecting WLCG and other HEP sites at high bandwidth
- Bandwidth dedicated to HEP data transfers, no contention with other research projects
- Trusted traffic that can bypass slow perimeter firewalls
https://twiki.cern.ch/twiki/bin/view/LHCONE/WebHome
L3VPN

---
LHCONE L3VPN - status
- Over 20 national and international Research Networks
- Interconnections at Open Exchange Points including NetherLight, StarLight, MANLAN, WIX, CERNlight, Hong Kong and others
- Trans-Atlantic connectivity provided by ESnet, GEANT, Internet2, NORDUnet and SURFnet
- Trans-Pacific connectivity provided by ASGCnet, KREOnet, SINET
- Euro-Asia connectivity provided by GEANT, TEIN, TIFR
- ~74 end sites connected:
- 14 Tier0/1s
- 60 Tier2s
L3VPN

---
LHCONE L3VPN - update
Traffic within LHCONE is steadily growing
- GÉANT has seen peaks of over 100Gbps
- Growth of over 65% from Q2 2015 to Q2 2016
- ESnet sees more LHCONE traffic than LHCOPN
Some NRENs and sites need to upgrade their connection
- GÉANT is already working with the NRENs for the upgrades
Expected to see further increases after the upgrades
L3VPN

---
LHCONE L3VPN - update
The LHCONE network is expanding
- Ukrain, Russia and Belgium connected to GÉANT (Russian ban finally lifted)
- Brazil connected to GÉANT, Chile is interested to join
- TEIN (Asia) connected to GÉANT, provides transit to Thailand
L3VPN

---
LHCONE L3VPN - current topology
North America
Europe
Asia
South America

---
Map of VRFs
America
Asia
CANARIE
CA AS6509
RNP
BR AS1916
Internet2
US AS11537
Transit
ThaiREN
TH AS24475
ESnet
US-EU AS293
CSTNet
China
TEIN
Asia AS24490
Transit
CERNet
China
ASGCNet
TW AS24167
KREONET
KR AS17579
SINET
JP AS2907
NORDUnet
EU AS2603
ERnet
IN AS2697
CERNlight
CH AS20641
RU-VRF
RU AS57484
GEANT
EU AS20965
GARR
IT AS137
RedIRIS
ES AS766
JANET
UK AS
DFN
DE AS680
RENATER
FR AS2091
Ukrain
UA
PIONIER
PL AS8501
Europe
International VRF
National VRF
Transit
edoardo.martelli@cern.ch 20170425

---
LHCONE development in Asia
SINET Japan ready to peer with TEIN in Hong Kong, but existing interconnection turned out to be just 1Gbps. Will wait till TEIN’s routers are upgrade in June 2017
Other peerings with TEIN are waiting for the TEIN’s routers upgrade
IHEP and CCNU interested to connect to LHCONE. Discussion started with CERnet and CSTnet. CSTnet has promised to implement LHCONE
L3VPN

---
Upcoming developments
ESnet
US AS293
ThaiREN
TH AS24475
CERNlight
CH AS20641
SINET
JP AS2907
ASGCNet
TW AS24167
TEIN
Asia AS24490
KREONET
KR AS17579
CERNet
CSTNet
China
International
ERnet
IN AS2697
National
GEANT
EU AS20965
LHCONE peering in place
Missing LHCONE peering
Upcoming LHCONE peering

---
TransPAC
Cooperative partnership among Indiana University, APAN, TEIN, JGN/NICT-Japan, NII-Japan, CERNET, and others.
Started in March 2015, running through Feb 2020
$4.8M over 5 years. Includes funding for circuits (100G), exchange points, application support/engagement, research
Increased engagement with the wider community through groups such as APAN, TEIN/Asi@Connect, GNA, GLIF, LHCONE, Internet2, etc
Offers capacity over transpacific 100G link to LHCONE, to connect TEIN with Internet2 and ESnet

---
LHCONE connectivity via TransPAC

---
ALICE sites connected to LHCONE
ALICE sites:
~ 75 sites around the world
- at least 35 sites connected to LHCONE

---
ALICE sites
Site	Group	Tier	LHCONE
Vienna	Austria	T2	n
CBPF	Brasil	T2	y
SaoPaulo	Brasil	T2
CERN (Meyrin)	CERN	T0	y
CERN (Wigner)	CERN	T0	y
Prague	Czech Republic	T2	y
FZK	Germany	T1	y
GSI	Germany	T2	y
Athens	Greece	T2	n
KFKI	Hungary	T2	n
CCIN2P3	IN2P3	T1	y
Clermont	IN2P3	T2	y
Grenoble	IN2P3	T2	y
GRIF_IPNO	IN2P3	T2	y
GRIF_IRFU	IN2P3	T2	y
IPNL	IN2P3	T2
Strasbourg_IRES	IN2P3	T2	y
Subatech_CCIPL	IN2P3	T2	y
Kolkata	India	T2	y
Bandung	Indonesia	T2	n
Cibinong	Indonesia	T2	n
Bari	INFN	T2	y
Cagliari	INFN	T2
Catania	INFN	T2	y
CNAF	INFN	T1	y

---
ALICE sites
Site	Group	Tier	LHCONE
Legnaro	INFN	T2	y
Torino	INFN	T2	y
Trieste	INFN	T2
TriGrid_Catania	INFN	T2	y
Hiroshima	Japan	T2	n
Tsukuba	Japan	T2	n
UNAM	Mexico	T2	n
CSC	Nordic Countries	T2
DCSC_KU	Nordic Countries	T2
HIP	Nordic Countries	T2
LUNARC	Nordic Countries	T2
SNIC	Nordic Countries	T2
UiB	Nordic Countries	T2
COMSATS	Pakistan	T2	n
PAKGRID	Pakistan	T2	n
Cyfronet	Poland	T2	y
Poznan	Poland	T2
WUT	Poland	T2	y
IHEP	RDIG	T2	y
ITEP	RDIG	T2	y
JINR	RDIG	T2	y
MEPHI	RDIG	T2
PNPI	RDIG	T2	y
RRC-KI	RDIG	T2	y
SPbSU	RDIG	T2

---
ALICE sites
Site	Group	Tier	LHCONE
Troitsk	RDIG	T2	y
KISTI	Republic of Korea	T2	n
ISS	Romania	T2
NIHAM	Romania	T2	y
NIPNE	Romania	T2	y
UPB	Romania	T2
Bratislava	Slovakia	T2
Kosice	Slovakia	T2
ZA_CHPC	South Africa	T2
Madrid	Spain	T2	y
Trujillo	Spain	T2
NECTEC	Thailand	T2
SUT	Thailand	T2	y
NIKHEF	The Netherlands	T2	y
SARA	The Netherlands	T1	y
Birmingham	UK	T2	n
Oxford	UK	T2	n
RAL	UK	T1	n
BITP	Ukraine	T2
ICYB	Ukraine	T2
ISMA	Ukraine	T2
KNU	Ukraine	T2
LBL	US	T2
LLNL	US	T2
ORNL	US	T2

---
WLCG perfSONAR
278 perfSONAR instances registered in GOCDB/OIM
249 Active perfSONAR instances

---
perfSONAR - update
Mesh have been reconfigured/optimized. There are now experiment specific meshes: ATLAS, CMS and LHCb which allow daily bandwidth tests. ALICE uses MonaLISA
All the LHCOPN and LHCONE data is available in ElasticSearch via OSG (ongoing)
Some degradation in the data retrieving of the LHCOPN/ONE MaDDash. Upcoming upgrade to v4 should be the opportunity to make the nodes more resilient

---
perfSONAR - update
ATLAS is working on getting network metrics into an analytics platform:
- packet loss from perfSONAR
- network stats and flows from ESnet routers
- stats from CERN routers will be added
Looking for more router sources
Completed MCA (Mesh Configuration Admin) tool. Could be used by WLCG
WLCG is working on ETF (Experiment Test Framework) to monitor perfSONAR services

---
Open to other HEP collaborations
The L3VPN is now used also by:
- Belle II experiment
- Pierre Auger observatory
- NOvA neutrino experiment
- XENON dark matter project

---
ESnet plans
Ongoing project to build next-generation network. Right now at the approval phase
Considering various models, from classic hardware layers to mostly virtualized
Key goals: capacity, reliability and resiliency, flexibility
Some concern on future funding due to the political situation

---
GEANT plans
Tendering for next generation network
Improvement and cost reduction by
- remove vendor lock-in
- strict necessary feature sets
- open source software
- keep control of data
- layer1-2-3 integration
- separation of management, control and data planes

---
NORDUnet plans
Establishing a PoP in Hong Kong for Global Campus project
Planning for next network
- disaggregation
- network virtualization
- global services without private resources

---
SURFnet plans
Upgrading to SURFnet8
Optical layer contract assigned to ECI telecom
Tender for packet devices is ongoing
Implementing automation and orchestration
Increasing cross-border connections footprint

---
GNA - Global Network Architecture
Sharing of R&E network resources for common benefit
Extend benefits gained with ANA-300G experience (sharing of three 100G transatlantic links)
Pillars:
- resource sharing
- aligning operational standards
- maximizing funding and investments
- knowledge sharing and outreach
- increasing global collaboration

---
Possible change of computing model
Picture: Simone Campana, Ian Bird - WLCG
“Consolidate storage in few locations to decrease costs”

---
Networking for Run4
Proposed project to improve network utilization efficiency

---
IPv6 deployment

---
IPv6 adoption
http://6lab.cisco.com/stats/

---
HEPiX IPv6 working group
IPv6 deployment have been followed up by the HEPiX IPv6 working group
It surveys IPv6 compliance of HEP applications and IPv6 conenctivity of HEP sites
Lists are maintained at the web site: http://hepix-ipv6.web.cern.ch/

---
IPv6 only worker nodes
IPv6 requirements for LHC Experiments have been discusses at the GDB
A plan to support IPv6 only worker nodes has been proposed.
The aims are:
- provide a migration path for sites
- allow long term planning for network setups
- give the possibility to make use of IPv6 only resources, should they become available
It is essential to provide dual-stack access to storage

---
Dual-stack storage
Most storage solutions and protocols now work in dual-stack mode
- dCache, DPM, StoRM, FTS
- XrootD 4, GridFTP, WebDAV
Several sites have been running dual-stack for some time
Production data transfers over IPv6 have started happening

---
IPv6 at Tier0-Tier1s
- Good IPv6 adoption
- 10 Tier1s and the Tier0 peering over IPv6
- dual-stack perfSONAR installed in all of them
Still missing:
- KR-KISTI (work in progress)
- RRC-KI-T1 KIAE (work in rrogress)
- RRC-KI-T1 JINR (will follow KIAE)
No IPv6 storage in most of them though, including CERN

---
IPv6 at Tier2s
IPv6 connectivity provide by most of the LHCONE VRFs
12 Tier2s have IPv6 connectivity with LHCONE
HEPiX is writing an How-To deploy IPv6 at a Tier2:
https://hepix-ipv6.web.cern.ch/content/how-deploy-ipv6-wlcg-tier-2-site
An IPv6 tutorial is scheduled for the WLCG workshop in Manchester in June

---
IPv6 and ALICE
ALICE central services have been dual stack for more than a year
Storage is fully federated based on XrootD. XrootD 4.1 is needed to support IPv6
To support IPv6-only resources, all data must be available on some IPv6-enabled storage
ALICE can support IPv6-only CPU resources as soon as enough sites have upgraded their storage to dual stack. At the moment only 5% have done it.
Aiming to all sites dual-stack by the end of Run II

---
IPv6 Monitoring
Network performance on perfSONAR
http://psmad.grid.iu.edu/maddash-webui/index.cgi?dashboard=Dual-Stack%20Mesh%20Config
FTS transfers in MONIT
https://monit.cern.ch/
(add “data.ipv6:true” to any FTS monitor page for IPv6 only traffic)
ETF
https://etf-ipv6-dev.cern.ch/etf/check_mk/

---
Clouds activities

---
HELIX NEBULA the Science Cloud
Procurers: CERN, CNRS, DESY, EMBL-EBI, ESRF, IFAE, INFN, KIT, SURFSara, STFC
- Procurers have committed funds (>1.6M€), manpower, use-cases with applications & data, in-house IT resources
Objective: procure innovative IaaS level cloud services
- Fully and seamlessly integrating commercial cloud (Iaas) resources with in-house resources and European e-Infrastructures
- To form a hybrid cloud platform for science
Services will be made available to end-users from many research communities: High-energy physics, astronomy, life sciences, neutron/photon sciences, long tail of science
Co-funded via H2020 (Jan’16-Jun’18) as a Pre-Commercial Procurement (PCP) project: Grant Agreement 687614, total procurement volume: >5M€

---
HNSciCloud challenges
Innovative IaaS level cloud services integrated with procurers in-house resources and public e-infrastructure to support a range of scientific workloads
Compute and Storage
support a range of virtual machine and container configurations including HPC working with datasets in the petabyte range
Network Connectivity and Federated Identity Management
provide high-end network capacity via GEANT for the whole platform with common identity and access management
Service Payment Models
explore a range of purchasing options to determine those most appropriate for the scientific application workloads to be deployed

---
High Level Architecture of the Hybrid Cloud Platform including the R&D challenges

---
Project phases
We are here

---
Selected bidders
Admitted to the Design Phase
- T-Systems, Huawei, Cyfronet, Divia
- IBM
- RHEA Group, T-Systems, exoscale, SixSq
- Indra, HPE, Advania, SixSq
Other major players not interested or dropped out just before tender submission
Admitted to the Prototype Phase
- T-Systems, Huawei, Cyfronet, Divia
- IBM
- RHEA Group, T-Systems, exoscale, SixSq
Current Status: Evaluation of Bids in the Prototype Phase

---
Prototype phase
Collect a number of tests from the Procurers
- To test/validate the design proposed for the several project challenges
- To be able to assess results of the tests as one of the main criteria to be eligible to the next phase (Pilot)
Tests consist in applications and some selected workloads
Next phase (Pilot) will be based on the Prototype to be assessed on 3 main aspects:
- Performance
- Scalability
- Security

---
CMS GoogleCloud engine demo at SC 2017
Challenge: Doubling CMS computing using Google Cloud Engine
Expand the Fermilab facility to an additional 160,000 cores
Use HEPCloud technology to do this as transparently as possible to the application
Live demo during Supercomputing 2016
730172 simulation jobs submitted; only 47 did not complete
205 M physics events generated, yielding 81.8 TB of data
Cost: ~1.6 cents per core-hour (on-premises: 0.9 cents per core-hour assuming 100% utilization)

---
Conclusion

---
Summary
CERN: planning upgrades for RUN3 and for better resiliency
LHCOPN: stable, almost fully dual-stack, upgraded when needed
LHCONE: expanding, works on-going in Asia
IPv6: good progress in WAN networks, less in campus and datacentres. More dual-stack storage needed in WLCG
Clouds: testing integration with orchestration tools to fit peaks of computing demand

---
Questions?
edoardo.martelli@cern.ch