## Slide 1: Austrian Tier2
D. Liko, Institute for High Energy Physics
M .Weber, Stephan Meyer Institute

## Slide 2: Overview
Status of the Site
Short time goals
Long term goals

## Slide 3: Austrian Tier 2 at HEPHY
Initial Investment from EGEE times
  CMS Only
  Hosted at the Institute
Newcomers
  Alice – via grant for Stephan Mayer Institute
  Belle2 – no real investment yet …
Manpower
  1 FTE & 1 Technician
Big question
  Soon significant investment required to renew aging infrastructure
  How to continue in a sustainable way ?

## Slide 4: Resources
CPU
Supermicro TwinBlades
  Intel Xeon E5-2680 v2 @ 2.80GHz
  800 CPU cores +HT
HPE Blade System
  Intel Xeon E5-2660 v3 @ 2.60GHz
  480 CPU cores + HT
Storage
Supermicro Diskserver
In house upgrade
  10 Gbit Network
  New RAID card
  4/8 TB Disks
Not all servers converted yet
Up to now CMS only

## Slide 5: EOS Storage
Preparations ongoing
  Currently liberating some old disk servers
  In house upgrade with new components
We aim to start operation before the summer
  Please bug me to stick to my promise!
We should deliver about 300 TB to Alice
  Later more

## Slide 6: Ageing Infrastructure
Network components
Cooling
UPS
Storage Servers
Main issues in the last year
  UPS breakdown
  Crate with central services broken after power cut
  SSD broken
Under control, but cause unexpected delays in development of the site
We think we can still run the site for about two years

## Slide 7: IPv6
For sure it will be supported in the next facility
  New storage only in 2019/2020
We started to look in the issue
It should be possible in the current setup
Similar item: Support for LHCONE

## Slide 8: Plans for the future
Collaboration with Austrian Biologists
  Large computing needs
  Well positioned in the Austrian Science Environment
Joint Analysis facility
  Next Generation Computing Platform for Life Sciences
  HPC like infrastructure (e.g. low latency network)
  Separate storages
The good and the bad
  The project was approved in principle
  Not yet clear when the money will be available

## Slide 9: CLIP Design
Persistent services on a OpenStack Cluster
Sub clusters with different configuration
  CPU, GPU, Memory
HEP on standard cluster

## Slide 10: Main technical issue
Our Biologists like Debian
Linux Containers will be essential
  Singularity
  (or Docker or Shifter)
I do not yet know
  Integration with batch system/CE
  CVMFS
  EOS

## Slide 11: Provisional Timescale*
CPU
Disk
2017
2018
2019
2020
2021
New CPU
New Disk
* Assuming funding can be obtained

## Slide 12: Conclusion
Vienna is running now Alice jobs for about a year
Storage will be available in foreseeable future
Plans on how to continue in two to three years are progressing
  Waiting for a confirmation from the funding agencies