## Slide 1: BIF Measurement update

## Slide 2: Data analysis
Medfilter2
Threshold
Sum all pictures
Normalize and show
Twice
Hot spot in MCP might affect the resolution.
Distribution around the photon in each picture might not be real.
Not dealing with non-linear amplification in MCP

## Slide 3: Y scan (1000s)
E-Beam direction
Jet direction
5.6
6.0
6.4
6.8
7.2
7.6
108 mm

## Slide 4: Analysis
1 pixel ~= 0.22mm

## Slide 5: X scan (1000s)
5.9
6.3
6.7
7.1
7.5
7.9
8.3
8.7

## Slide 6: Analysis
1 pixel ~= 0.22mm

## Slide 7: Integration time
1000s
4000s
8000s

## Slide 8: Fitting
time | 1000s | 2000s | 3000s | 4000s | 5000s | 6000s | 7000s | 8000s
a | 188.8 | 331 | 480 | 592.8 | 706.8 | 829.7 | 917.2 | 1032
b | 347.3 | 348.4 | 348.7 | 348.6 | 350.1 | 349.9 | 349.6 | 349.5
c | 9.834 | 8.824 | 7.926 | 8.662 | 8.979 | 9.529 | 8.842 | 9.138
d | 190.7 | 389.1 | 586.6 | 778.6 | 945.1 | 1127 | 1327 | 1513
R2 | 0.7358 | 0.8193 | 0.7988 | 0.8235 | 0.8475 | 0.8513 | 0.8718 | 0.8695
Size ?? | 2.15 | 1.93 | 1.73 | 1.89 | 1.96 | 2.08 | 1.93 | 1.99

## Slide 9: Y fitting
 | case1 | csae2
a | 3438 | 9121
b | 244.1 | 244.1
c | 6.217 | 6.63
d | 881.5 | 3191
R2 | 0.9755 | 0.9837

## Slide 10: Y line scan
a | 82.42
b | 244.1
c | 6.45
d | 8.084
R2 | 0.9321
1.41 mm

## Slide 11
108 mm == 494.7 pixel