## Slide 1: 2017 Gas jet monitor plan
Hao Zhang, Edward Martin

## Slide 2: Faraday Cup
Chart: Filament current (A)
| 2 | 2.1 | 2.2000000000000002 | 2.2999999999999998 | 2.4 | 2.5
 | 1.078e-09 | 4.3962e-08 | 7.7655e-07 | 4.4126e-06 | 1.5643e-05 | 2.7588e-05

## Slide 3: Lab move and major changes of the setup
The date should be between Feb. 14th to March 31st
Find the best quotation for manufacture the new gas jet setup.
New electron gun test by both beam and faraday cup.
Assemble the new jet after its arrival

## Slide 4: Jet Characterization
Movable gauge scan
Test with Neon gas.
Test with different 3rd skimmer sizes and shapes