## Slide 1: Background challenge
Scale up x60 of CPU and x10 storage by 2026
    Assume ~x5 scaling from technology (Moore)
    Remaining x10 from innovation and optimization
Possible new data centre
    PUE <1.1
    15-20kW density
    4MW equipment load with staged growth to 12MW
    Shared facility for LHC experiments and IT
    Very high bandwidth to experiment pits required

## Slide 2: Some topics
Logistics, racking, repairs
    Warehouse automation
Assets tracking & management
    IoT for FRU tracking
    Spare parts & stock mgmt.
Inhomogeneous density
Disaggregation
    Component granularity
    Lifecycle mgmt. & service level per device
    Fault management
    Future proof interconnect
Rolling upgrades sleds/bricks/blade/drawer
    Cable free electrical and interconnect
Rack unit: proprietary or loosely coupled
    Sourcing upgrades
SDI & Integration with tool-chain
    Provisioning, configuration, monitoring
Any convergence among disperse initiatives RSD, OCP, Open19,..