## Slide 1: Overview of CERN Test Beam Facilities relevant for TPC tests
J. Bernhard, N. Charitonidis, M. Brugger, A. Fabich, L. Gatignon, E. Gschwendtner, B. Rae and H. Wilkens
2nd Workshop on Neutrino Near Detectors based on gas TPCs
20-21 March 2017, CERN

## Slide 2: Presentation Outline
  CERN Accelerator Complex overview
  The East Area test beams
    General description and performance
    Fluxes and beam composition
    Optics example
    Some pictures
  The EHN1 beams
    The VLE extensions for the neutrino platform
    Large magnets
  Beam requests
  Summary

## Slide 3: CERN Accelerator Complex
SPS : protons/ions @ 400 GeV/c/Z
PS: protons /ions @ 24 GeV/c/Z
Maximum momenta available to the users in the PS/SPS Test Beam Facilities :
North Area  400 GeV/c/Z (primary beam) or 360 GeV/c/Z (secondary beam)
East Area  10 GeV/c secondary beam
Reference : OPEN-PHO-ACCEL-2016-013

## Slide 4: East Area
Test Beams
Secondary beams:
  T9: 1 GeV/c – 10 GeV/c
  T10: 1 GeV/c – 6 GeV/c
Particle types and intensity
  electrons, hadrons, muons
  Max. 106 particles per spill, typically 103 - 104 used
Spill structure from PS
  400 ms spill length
  Typically 1 spill every 18s (15bp), more on request
New Aida telescope AZALEA in T10
Quick access, short routes from control room to experimental area
CHARM
IRRAD
T11
T9
T10

## Slide 5
East Area Test Beams
The T9 and T10 beam lines are mixed beams.
Their maximum flux is 106 per EASTA cycle. Both beams are served from a common target, together also with the T11 beam for CLOUD. The flat top is 0.4 seconds. The number of EASTA cycles is defined by the physics coordinator, depending on the overall schedule, but is normally 2 per super-cycle. When CLOUD runs up to 3.
Each beam line is equipped with 1 (T10) or 2 (T9) threshold Cerenkov counters, a scintillator and a Delay wire chamber.
Parameter | T9 | T10
Maximum momentum (GeV/c) | 10 | 6
Production angle (mrad) | 0 | 61.6
Beam length to ref. focus (m) | 55.8 | 34.9
Beam height above floor (m) | 2.50 | 2.505
Ang.acceptance Horiz (mrad) Vertic (mrad) | ±4.8 ±5.8 | ±5.4 ±13.9
Acc. Solid angle (msterad) | 87 | 224
Theor. momentum resol. (%) | 0.24 | 0.24
Max. momentum band (%) | ±10 | ±8
Magnification at ref. focus | 1.0, 1.2 | 0.8, 0.6
Protons on North target | ~2.5 1011 | 
Max. flux (depending on p, Q) | 106 | 106
For e--enriched targets,
i.e. heads 1 or 2
The only ‘big’ magnet is MNP17 with 30 cm high gap.

## Slide 7
T9 estimated MAXIMUM Beam rates
p
p
For wide open collimators, i.e. Dp/p ≈ ±7.5% (but very big beam). Typically very good conditions for 10x lower rates

## Slide 8
Beam Composition
With electron enriched target (otherwise e± strongly reduced, by about factor 8)
p
p

## Slide 9
Beam instrumentation

## Slide 10: North Area Secondary Beam Lines
The 400 GeV/c primary beam is slowly extracted onto 3 ‘primary’ targets
NA62
COMPASS
SPS beam @ 400 GeV/c
North Area
Test Beam Facilities
Spill duration approx. 5 seconds
Usually : 2 cycles / SPS supercycle for NA
Spill length / repetition frequency dependent on the physics program of all the facilities served by SPS and LHC
   Variability to be expected.

## Slide 11: Schematic of the beam lines & experimental areas in EHN1 Top view of b. 887 @ CERN, Prevessin
Experimental Zones H2 & H4
Experimental Zones H6 & H8
Towards the targets (~300m)
Approx. 150 m
Approx. 100 m

## Slide 12: North Area Beam Lines General Characteristics
Parameters | Target T2 |  | Target T4 | 
Beam Line | H2 | H4 | H6 | H8
Maximum Momentum [GeV/c] | 400 / 350 | 400 /330 | - / 205 | 400 / 350
Maximum Acceptance [uSr] | 1.5 | 1.5 | 2 | 2.5
Maximum Δp/p [%] | ± 2.0% | ± 1.4 % | ±1.5% | ±1.5%
Maximum Intensity / spill * (Hadrons / Electrons) | 107/105 | 107/106 | 107 **/105 | 107 **/105
Available Particle Types | Primary protons/ions*** OR pure electrons OR mixed hadrons (pions, protons,kaons) |  |  | 
Other / Special requests | sba-physicists@cern.ch & sps.coordinator@cern.ch |  |  | 
Primary mode Secondary mode
* Imposed by Radio Protection, and not available to every zone
** In some zones can be elevated up to 108 subject to certain restrictions
*** Not available in H6
Nota Bene : The particle momenta in H2/H4 and in H6/H8 are coupled.

## Slide 13: Experimental Zones
H2
  PPE152 (NA61), PPE172
H4
  PPE134, PPE164 (CMS)
H6
  PPE126(CERF), PPE146, PPE156
H8
  PPE128 (UA9), PPE138, PPE158, PPE168
Nota Bene : The different beam lines/zones offer different beam possibilities and have different space/infrastructure constraints. Send your beam request and discuss questions & possibilities in advance with the SPS coordinator and the responsible liaison physicists.
Many “parasitic” users can share the beam zone, under certain circumstances.

## Slide 14: H2 & H4 VLE (NP) Beam design characteristics

## Slide 15: Beam Composition
Assuming ~106 particles / spill on the secondary target
References : CERN-ACC-NOTE-2016-0052, CERN-ACC-NOTE-2016-0059
NP-04 rate
NP-02 rate

## Slide 16: Momentum Resolution
Beam lines equipped with a momentum selection station which can offer a Dp/p down to 2.3%
Further improve of the resolution with a spectrometer (using 3 profile monitors) around a bending magnet
References : CERN-ACC-NOTE-2016-0052, CERN-ACC-NOTE-2016-0059

## Slide 17: EHN1 Extension – General View
NP-02
NP-04

## Slide 18: Large Magnets available for tests with beam
Goliath
EHN1, H4 beam line
Large classical dipole
100 x100 x100cm
1.5 T field
CMS M1 magnet
EHN1, H2 beam line
superconducting dipole
82 cm gap, 1.4m diameter
3 T field
Morpurgo
EHN1, H8 beam line
superconducting dipole
1.6m diameter, 4m length
1.5T field
MNP22: A stand alone magnet test facility available to the users.
Info: https://sba.web.cern.ch/sba/Documentations/MNP22/mnp22_controlbackup.htm

## Slide 19: Instrumentation (available to users)
Depending on the beam line and the zone :
  Beam profile & intensity monitors (scintillators & analog/delay multi wire chambers), installed in several positions along the beam line
  FISC scanners (precise slower profile monitors – can be used for angular measurements)
  Cherenkov gas counters (used for particle species tagging)
  (a few) EM calorimeters
Most of the signals available in the counting rooms !

## Slide 20: Schedule and planning
The beam time request has to be sent to the SPS coordinator @ ~ November for the next year.
  Short (<1 week @ SPS or < 2 weeks @ PS) requests can be approved by the SPS coordinator only.
  Longer requests require recommendation by CERN physics committees (SPSC, INTC)
The scheduling is based on priorities of different experiments and is discussed with the committees’ chairs. The draft schedule is presented at CERN’s research board for approval.

## Slide 21: Summary
Contact in advance sps.coordinator@cern.ch and sba-physicists@cern.ch in order to optimally exploit your beam time and the facilities.
  Visit often https://sps-schedule.web.cern.ch/sps-schedule/ for the updated version of the schedule and other useful information
CERN offers a great variety of test-beam experimental areas
Area | East Area |  | EHN1-ext (NP) |  | EHN1 – North Area |  |  | 
Beam line | T9 | T10 | H2VLE | H4VLE | H2 | H4 | H6 | H8
pmin (GeV/c) | 0.5 | 10 | 0.4 | 0.4 | 10 | 10 | 10 | 10
pmax (GeV/c) | 0.5 | 6 | 12 | 7 | 400 | 400 | 205 | 400
Particles | Mixed. h or e-enr. Tgt Some m |  | Mixed. h or e-enr. Tgt |  | e,p ,m Quite pure beams |  |  |