## Slide 1
Cooling and Ventilation Review – 14th March 2017
Frédéric Borralho
CERN
Engineering Department
Cooling and Ventilation Group
Underground Drawings & Layout for HL-LHC (WP17.3)

## Slide 2: Agenda
  Underground Overview
  Status of Underground Layout & Drawings
  HL-LHC
  Integration US17
  Integration UA17
  Integration UW17

## Slide 3: Underground Overview
URx5
UAx3
ULx3
UAx7
USx7 / UWx7
PMx7
ULx7

## Slide 4: Status of Cooling / Ventilation 3D Models HL-LHC
Buildings | Civil Engineering Drawings / 3D Models | Cooling / Ventilation 3D models
UW17/57 |  | 
US17/57 |  | 
PM17/57 |  | 50%
UR15/55 |  | 50%
UA13/53 |  | 50%
UA17/57 |  | 50%
UL13/53 |  | 
UL17/57 |  | 

## Slide 5: Overview Cavern USx7 / UWx7
USx7
UWx7

## Slide 6: 3D Model Ventilation USx7

## Slide 7: Primary Air Underground
Primary Air

## Slide 8: Air Supply USx7
Air Supply
Primary Air

## Slide 9: Air Return USx7
Air Supply
Air Return
Primary Air

## Slide 10: Smoke Extraction USx7
Smoke Extraction
Air Supply
Air Return
Primary Air

## Slide 11: Air Supply Safe-room USx7
Smoke Extraction
Air Supply
Air Return
Primary Air

## Slide 12: Air Return Safe-room USx7
Smoke Extraction
Air Supply
Air Return
Primary Air

## Slide 13: View Complete 3D model cavern USx7

## Slide 14: Air Supply Gallery UAx7
Air Supply
AHU installed in UW

## Slide 15: Air Return Gallery UAx7
Air Supply
Air Return
AHU installed in UW

## Slide 16: Smoke Extraction Gallery UAx7
Smoke Extraction
Air Supply
Air Return
AHU installed in UW

## Slide 17: Complete Integration gallery UAx7

## Slide 18: Overview UWx7
Cooling system
Ventilation system

## Slide 19: Primary Air UWx7
Air Supply
Air Return
Primary Air

## Slide 20: Air Supply UWx7
Air Supply
Air Return
Primary Air

## Slide 21: Smoke Extraction UWx7
Smoke Extraction
Air Supply
Air Return
Primary Air

## Slide 22: 3D Model Ventilation System UWx7

## Slide 23: 3D Model Cooling System UWx7

## Slide 24: Cooling System UWx7
Primary water circuit

## Slide 25: Cooling System UWx7
Secondary water
circuit
Primary water circuit

## Slide 26: THANK YOU