## Slide 1: TI8 injection on TED test
6 to 8 June 2009
RadMon measurements

## Slide 2: TI8 RadMon positioning
8RM08S UJ88-8 5V
8RM07S UJ88-7 3V
SIMA.UJ88.8RM06S UJ88-6 3V
SIMA.UA87.8RM05S UJ87-0 3V
3V setting has a strong sensitivity to thermal neutrons (several times more than 5V)

## Slide 3: TI8 RadMon positioning
RMon 8
RMon 7
RMon 6
RMon 0

## Slide 4: Beam intensity per extraction and integrated intensity
Wrong BCT readings,
has to be scaled to 5e9

## Slide 5: UJ88 and UJ87 Hadron>20MeV compared to BCT intensity per extraction
Integrated values Hadrons>20MeV:
UJ88 – 8: 6.96e+9 cm-2
UJ88 – 7: 2.68e+8 cm-2
UJ88 – 6: 9.32e+6 cm-2
UJ87 – 1: 1.69e+6cm-2
1MeV eq. n0:
UJ88 – 8: 1.37e+10 cm-2

## Slide 6: UJ88 and UJ87 Hadron>20MeV compared to BCT intensity per extraction ZOOM
1MeV eq. n0:
UJ88 – 8: 1.37e+10 cm-2
Integrated values Hadrons>20MeV:
UJ88 – 8: 6.96e+9 cm-2
UJ88 – 7: 2.68e+8 cm-2
UJ88 – 6: 9.32e+6 cm-2
UJ87 – 1: 1.69e+6cm-2

## Slide 7: UJ88 Hadron>20MeV compared to BCT intensity per extraction – pos8
Integrated values Hadrons>20MeV:
UJ88 – 8: 6.96e+9 cm-2
UJ88 – 7: 2.68e+8 cm-2
UJ88 – 6: 9.32e+6 cm-2
UJ87 – 1: 1.69e+6cm-2
1MeV eq. n0:
UJ88 – 8: 1.37e+10 cm-2

## Slide 8: BCT integrated intensity normalized to dose (Medium Sensitivity) - pos8
Integrated values:
UJ88 – 8: 2.27 Gy
UJ88 – 7: 107 mGy
UJ88 – 6: 1.2 mGy
UJ87 – 1: 0.3 mGy

## Slide 9: BCT integrated intensity normalized to dose (Medium Sensitivity) - pos7
Integrated values:
UJ88 – 8: 2.27 Gy
UJ88 – 7: 107 mGy
UJ88 – 6: 1.2 mGy
UJ87 – 1: 0.3 mGy

## Slide 10: BCT integrated intensity normalized to dose (Medium Sensitivity) – pos6
Integrated values:
UJ88 – 8: 2.27 Gy
UJ88 – 7: 64 mGy
UJ88 – 6: 1.2 mGy
UJ87 – 1: 0.3 mGy

## Slide 11: BCT integrated intensity normalized to dose (Medium Sensitivity) – UJ87
Integrated values:
UJ88 – 8: 2.27 Gy
UJ88 – 7: 64 mGy
UJ88 – 6: 1.2 mGy
UJ87 – 1: 0.3 mGy

## Slide 12: TI2 layout downstream the TED next injection test scheduled for 11-12 July 2009
RadMon 6
below Q6
RadMon 5
RadMon 4
RadMon 3
TED

## Slide 13: BLM layout in TI8 around TED
BLMI 87720
BLMI 87804
BLMI 87704

## Slide 14: BLM data – loss rates in TI8 including the collimator