## Slide 1: Status of the BMBF project
Mini-workshop on CCC 26th and 27th April 2017 CERN Geneva
(1) BMBF- Joint Project 05P2015
R&D Accelerator (CCC):
„Entwicklung, Sensoroptimierungen und Tests von kryogenen
Stromkomparatoren zum Einsatz an neuartigen Ionenquellen,
Beschleunigeranlagen und Speicherringen“
Project partners: FSU Jena + TU Darmstadt
Associated partners: GSI Darmstadt + CERN Genf
(2) Collaboration Agreement CERN, GSI, FSU (# KE2915/BE)
(3) Collaboration Agreement FSU Jena IOQ, IFK und TU Darmstadt
Volker Tympel (HIJ)
Interim report 2016 + I/2017

## Slide 2: Interim report 2016
Milestone 1
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
M1
return
stop
forward
parties agree to continue with the project as foreseen

## Slide 3: Interim report 2016
Task 1
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
on time

## Slide 4: Interim report 2016
Task 2
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
on time

## Slide 5: Interim report 2016
Task 3
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
BMBF-decision: “with minor priority”

## Slide 6: Interim report 2016
Publications
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
PhD –thesis
Defense: 23rd March 2016
Dr. Febin Kurian

## Slide 7: Interim report 2016
Publications
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
1x Oral + poster + proc.
V. Tympel, …,
Superconducting Beam Charge
Monitors for Antiproton Storage
Rings
Events 2016 | Q1/2016 |  |  | Q2/2016 |  |  | Q3/2016 |  |  | Q4/2016 |  | 
 | J | F | M | A | M | J | J | A | S | O | N | D
LEAP, Low Energy Antiproton Physics, Japan |  |  | 1P 1O |  |  |  |  |  |  |  |  | 
LEAP, Low Energy Antiproton Physics, Japan

## Slide 8: Interim report 2016
Events 2016 | Q1/2016 |  |  | Q2/2016 |  |  | Q3/2016 |  |  | Q4/2016 |  | 
 | J | F | M | A | M | J | J | A | S | O | N | D
LEAP, Low Energy Antiproton Physics, Japan |  |  | 1P 1O |  |  |  |  |  |  |  |  | 
IBIC, Spanien |  |  |  |  |  |  |  |  | 4P |  |  | 
Publications
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
4x Poster + proc.
M. Schwickert, …,
Status of beam current transformer developments for FAIR.
T. Sieber , ...,
Optimization studies for an advances Cryogenic Current Comparator
(CCC) system for FAIR.
M. Fernandes (CERN), ...,
Optimized Cryogenic Current Comparator for CERN’s low-energy
antiproton facilities.
V. Tympel (FSU), …,
The next generation of Cryogenic Current Comparators for
beam monitoring.
Events 2016 | Q1/2016 |  |  | Q2/2016 |  |  | Q3/2016 |  |  | Q4/2016 |  | 
 | J | F | M | A | M | J | J | A | S | O | N | D
LEAP, Low Energy Antiproton Physics, Japan |  |  | 1P 1O |  |  |  |  |  |  |  |  | 
International Beam Instrumentation Conference, Barcelona

## Slide 9: Interim report 2016
Publications
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
1x Poster
F. Kurian, …,
The Cryogenic Current Comparator, a
SQUID based diagnostics for non-
intercepting intensity
measurements in the nA range.
Conference on Application of Accelerators in Research and Industry, Texas, USA
Events 2016 | Q1/2016 |  |  | Q2/2016 |  |  | Q3/2016 |  |  | Q4/2016 |  | 
 | J | F | M | A | M | J | J | A | S | O | N | D
LEAP, Low Energy Antiproton Physics, Japan |  |  | 1P 1O |  |  |  |  |  |  |  |  | 
IBIC, Spanien |  |  |  |  |  |  |  |  | 4P |  |  | 
CAARI, Conference on Application of Accelerators in Research and Industry, USA |  |  |  |  |  |  |  |  |  |  | 1P | 

## Slide 10: Interim report 2016
Events 2016 | Q1/2016 |  |  | Q2/2016 |  |  | Q3/2016 |  |  | Q4/2016 |  | 
 | J | F | M | A | M | J | J | A | S | O | N | D
LEAP, Low Energy Antiproton Physics, Japan |  |  | 1P 1O |  |  |  |  |  |  |  |  | 
IBIC, Spanien |  |  |  |  |  |  |  |  | 4P |  |  | 
CAARI, Conference on Application of Accelerators in Research and Industry, USA |  |  |  |  |  |  |  |  |  |  | 1P | 
SPARC Workskop , Polen |  |  |  |  |  |  |  |  | 1O |  |  | 
Publications
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
1x Oral
V. Tympel, …,
Cryogenic Current Comparators –
basics and the next generation
Stored Particles Atomic Physics Research Collaboration Workshop, Krakow

## Slide 11: Interim report 2016
Events 2016 | Q1/2016 |  |  | Q2/2016 |  |  | Q3/2016 |  |  | Q4/2016 |  | 
 | J | F | M | A | M | J | J | A | S | O | N | D
LEAP, Low Energy Antiproton Physics, Japan |  |  | 1P 1O |  |  |  |  |  |  |  |  | 
IBIC, Spanien |  |  |  |  |  |  |  |  | 4P |  |  | 
CAARI, Conference on Application of Accelerators in Research and Industry, USA |  |  |  |  |  |  |  |  |  |  | 1P | 
SPARC Workskop , Polen |  |  |  |  |  |  |  |  | 1O |  |  | 
Kryo, Kryoelektronische Bauelemente |  |  |  |  |  |  |  |  |  | 4P |  | 
Publications
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Tagung Kryoelektronische Bauelemente, Freyburg (Unstrut)
4x Poster
F. Kurian, …,
Temperature induced fluctuations in SQUID Measurements –
Cryogenic Current Comparator.
J. Golm, ...,
Adapted Cryogenic Current Comparator for the Antiproton Decelerator
at CERN.
R. Neubert, ...,
A tailor-made Cryostat for CCC-XD.
Tympel (FSU), …,
CCC-XD – the next generation of superconducting beam-line monitoring.

## Slide 12: Interim report 2016
Publications
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Superconductor Science and Technology
1x Paper
M. Fernandes, …,

## Slide 13: Interim report 2016
Publications
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
4th Joint HGS-HIRe & RS-APS
Lecture Week on Atomic and Laser/
Plasma Physics - Fall 2016 - Haus Ebersberg
1x Lecture
V. Tympel, …,
Cryogenic Current Comparators

## Slide 14: I/2017
CCC-XD
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Ready for
Testing &
Optimising
Lab-results
IBIC2017
deadline:
Saturday, 20 May at 24:00 EST (GMT-5)

## Slide 15
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
noise
measurement
white noise:
< 4 pA/√Hz
I/2017
pre limited

## Slide 16
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
transfer function
I/2017
pre limited
pre limited

## Slide 17
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
SQUID – electronic
corrected
transfer function
I/2017
pre limited

## Slide 18: 2017
BMBF
V. Tympel (Helmholtz-Institute Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
2 milestones !
follow-up proposal
2018-20

## Slide 20: Toroid measurements, FAIR CCC tests, error analysis at CERN + GSI CCC
Mini-workshop on CCC 26th and 27th April 2017 CERN Geneva
Volker Tympel (HIJ), Ralf Neubert (FSU)
● Meander Shielding
● Cable problems
● Matching transformer
● Next challenges

## Slide 21
SQUID
Pick-up coil
Transformer
Superconducting shielding
Compensation
Current
Cryogenic liquid
LHe
Magnetic flux
Concentrator ring
Flux gap
Charged particle beam
Metrology
Calibration
Current
Magnetic field B
Four-wire
Measurement
Flux
Compensator

## Slide 22
Meander Shielding
12 Nb-inside-discs
12 Nb-outside-discs
Electron-beam welding
1x inside-disc-stack
1x outside-disc-stack
CCC-XD

## Slide 23
Meander Shielding
12 Nb-inside-discs
12 Nb-outside-discs
Electron-beam welding
1x inside-disc-stack
1x outside-disc-stack
Testing & „ free burning“
Low-Voltage upto 30 V
High-Voltage upto 1,4 kV in LN2
Ready: R > 40 M C = 44 nF
DMM
CCC-XD

## Slide 24
Meander Shielding
Add top cover
Stacks fixed
Before:
Pick-up-coil & flux-concentrator
CCC-XD

## Slide 25
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Meander Shielding
CCC-XD discs

## Slide 26
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Meander Shielding
CCC-XD discs
GFK-Spacer
(glass fibre reinforced plastic)

## Slide 27
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Meander Shielding
CCC-XD discs

## Slide 28
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Meander Shielding
CCC-XD pick-up coil

## Slide 29
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Meander Shielding
CCC-XD pick-up coil
High-Voltage-
Test
in LN2
Cover of
Pick-Up-Coil

## Slide 30
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Meander Shielding
CCC-XD pick-up coil
Flux-concentrator added
Nb-Pick-Up-Coil

## Slide 31
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Meander Shielding
CCC-XD pick-up coil
Pick-Up-Coil closed - ready
Nb-wire

## Slide 32
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Meander Shielding
CCC-XD pick-up coil
Nb-wire
SC-testing: Nb-wire

## Slide 33
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Cable problems
CCC-XD pick-up coil
GSI-
Probleme

## Slide 34
LN2
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
CCC-XD pick-up coil
No problem!
Sample
H20
Cable problems
H20

## Slide 35
LHe
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
CCC-XD pick-up coil
Use only soft-annealed wire!
Sample
LN2
Cable problems

## Slide 37
Meander Shielding
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
End of December 2016:
First L-Measurements
Houston, we have a problem.
CCC-XD


## Slide 38
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Ende Dezember 2016:
Erste Messung CCC-XD fertig geschweißt!
Meander Shielding
CCC-XD

## Slide 39
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
January 2017:
Room-temperature
L-Measurements
Meander Shielding
CCC-XD

## Slide 40
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Meander Shielding
CCC-XD
January 2017:
Room-temperature
L-Measurements

## Slide 41
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Meander Shielding
CCC-XD
Hardware-
Simulation: Inductance
Similar inductance
Additional turn with
resistor

## Slide 42
Meander Shielding
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
CCC-XD
Hardware-
Simulation: transfer func.
Similar inductance
Additional turn with
resistor
Additional turn with
AC-Voltage-meter

## Slide 43
Meander Shielding
CCC-XD

## Slide 44
Meander Shielding
AC: 3 kHz 25 V
ShortCut: 8 A => 16 A at meander
Free: 2 A
CCC-XD

## Slide 45
Meander Shielding
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
CCC-XD
16 A @ 3 kHz

## Slide 46
Meander Shielding
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
CCC-XD
Room temperature
Input 10Vpp PickUp
Output Calib. coil
Red : OK
Black: Short Cut

## Slide 47
Meander Shielding
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Anodize
+
_
Nb:
2,4 nm / V

## Slide 48
Meander Shielding
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
0 V
10 V
20 V
30 V
40 V
50 V
60 V
60 V
60 V short
30 V
30 V
Anodize

## Slide 49
Meander Shielding
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
“pickling”
0,2 % HCl
+ 60 V
+ 1 h
+
_
Anodize

## Slide 50
Meander Shielding
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Anodize
“pickling”
0,2 % HCl
+ 60 V
+ 1 h

## Slide 51
Meander Shielding
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
CCC-XD


## Slide 52
Meander Shielding
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
CCC-XD
Hardware-
Simulation: Inductance
Similar inductance
Additional turn with
capacity

## Slide 53
Transformer
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Matching
80 µH 1 µH

## Slide 54
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
1 81µH
1 81µH
9 81µH
1 1µH
1µH
9
1
1
1
1
81·1
( 2 ) ·81
1:1
9:1
(3.26)
A
Dissertation
René Geithner, 2013
„Um eine Impedanzanpassung zu gewährleisten, muss die Induktivität der Sekundärseite des Anpass-transformators an die Induktivität der Einkoppelspule angepasst werden (LT2 = LI) und andererseits wird die Induktivität der Primarseite des Anpasstransformators an die Induktivität der Pick-up-Spule angepasst (LP = LT1).“
Transformer

## Slide 55
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
CCC-XD
Transformer

## Slide 56
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
CCC-XD
Transformer

## Slide 57
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
CCC-XD
Transformer

## Slide 58
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
measured
3,7
measured
CCC-XD
CCC-XD
Transformer

## Slide 59: Attenuation Factor FAIR-CCC
Increased number of meander from 7 auf 12
Transvers fields (perpendicular to beam)
  187 dB, (DESY-CCC:167 dB)
Longitudinal fields (parallel to beam)
  199 dB, (DESY-CCC: 187 dB)

## Slide 61
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
[IBIC2016 T. Sieber, F. Kurian et. al.]
[CAARI2016 F. Kurian, R. Neubert et. al.]
Next challenges
Attenuation Factor

## Slide 62
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
Attenuation Factor
Next challenges
10 Vpp @ 1 Hz
=> ± 170 mA
± 4 µT
B= 2,8 µTRMS
Helmholtz-Coil
Φ0 ≈ 2∙10-15 T m2
Ri = 142,5 mm
A = Ri2 ∙ π
=> A= 0,064 mm2
=> ΦHH = B∙A = 0,18 µTm2
=> 0,9 ∙108 Φ0RMS
CCC-XD
Peak: 3,3 mVRMS/√Hz Bereich: 25 Hz / 800 Linien
Fenster: Flat Top (exp: 2x)
Umrechnung in VRMS =
2∙18 mVRMS/√Hz ∙√(25 Hz / 800)
VRMS ≈ 6,4 mVRMS
SQUID feedback sensitivity:
45 µA/Φ0 ∙10 kΩ = 450 mV/Φ0
=> ΦSQUID = 0,014 Φ0RMS
ΦCCC = ΦSQUID / 2,8
ΦCCC/ ΦHH = 0,005 / (0,9 ∙108)
SCCC≈ 5,5 ∙10-11 ( -205 dB )

## Slide 63
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
NL-Kryostat
SL-Mäander
besser
-200 dB ???
Attenuation Factor
Next challenges

## Slide 64
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
10 Vpp @ 1 Hz
=> ± 170 mA
± 4 µT
B= 2,8 µTRMS
Helmholtz-Coil
Φ0 ≈ 2∙10-15 T m2
Ri = 142,5 mm
A = Ri2 ∙ π
=> A= 0,064 mm2
=> ΦHH = B∙A = 0,18 µTm2
=> 0,9 ∙108 Φ0RMS
CCC-XD
Peak: 3,3 mVRMS/√Hz Bereich: 25 Hz / 800 Linien
Fenster: Flat Top (exp: 2x)
Umrechnung in VRMS =
2∙18 mVRMS/√Hz ∙√(25 Hz / 800)
VRMS ≈ 6,4 mVRMS
SQUID feedback sensitivity:
45 µA/Φ0 ∙10 kΩ = 450 mV/Φ0
=> ΦSQUID = 0,014 Φ0RMS
ΦCCC = ΦSQUID / 2,8
ΦCCC/ ΦHH = 0,005 / (0,9 ∙108)
SCCC≈ 5,5 ∙10-11 ( -205 dB )
Attenuation Factor
Next challenges

## Slide 65
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany
10 Vpp @ 1 Hz
=> ± 170 mA
± 4 µT
B= 2,8 µTRMS
Helmholtz-Coil
Φ0 ≈ 2∙10-15 T m2
Ri = 142,5 mm
A = Ri2 ∙ π
=> A= 0,064 mm2
=> ΦHH = B∙A = 0,18 µTm2
=> 0,9 ∙108 Φ0RMS
CCC-XD
SCCC = SMäander ∙ SPickUp
SPickUp – to measure!
Setup
Pick-Up-Coil only
BPickUp
B= 2,8 µT
Attenuation Factor
Next challenges

## Slide 66: Thank you for your attention.
Squid it !
Charged beam:
Short summary
V. Tympel (Helmholtz-Institut Jena) GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt Germany