## Slide 1: LINAC 4 BPM
Michele Bozzolan (BI/PI)
BI day, 29-06-2017
With contributions from J.Tan (BE/BI) & J.B. Lallement (BE/ABP)

## Slide 2
2 BPMs in DTL, 7 in CCDTL, 6 in PIMS, 10 in the transfer line
BPM type: Shorted stripline
  Compact size
  Easy calibration of the coax cable
LINAC 4 Overview
Normal conducting LINAC aimed to replace LINAC 2 after LS2
H- ions
80m long
Macro-pulse lenght up to 600μs @ 30mA average current
Chart: MeV

## Slide 3
LINAC 4 beam
Intensity
time [s]
600μs
1.2s
Intensity
Time [ns]
Intensity
Frequency
Macropulses
Bunches
(18 ... 222 injected into the PSB per turn)
Spectral components
What we measure

## Slide 4
Image current principle
-
+
+
Electric field is null inside (and outside) the pipe
Relativistic charges produce TEM fields
Free electrons of the metal compensate for the beam’s field
Measuring the image current in opposite location of the pipe allow us to estimate beam location and intensity.
Conducting Beam pipe
v≈c
I+
I-
Intensity
Position
sensitivity

## Slide 5: Shorted Stripline BPM (relativistic beam)
R=50Ω
Z=50Ω cable
Z=50Ω stripline
Vout
t
Vout
Gaussian bunches
response
Signal strenght is bunch shape dependant:
VOUT = f{ I , σ , ...}
No absolute intensity measurement is possible (in general)

## Slide 6: Electric field of a point charge
field lines get compressed by the lorentz factor when seen from
an observer at rest (i.e. our instrument)
Static case
Uniform motion
Field produced by the charge is the same but

## Slide 7: Low β effects
-
-
-
-
-
-
Relativistic beam: β≈1 v≈c
Low beta beam: β<1
d1
d2
offset
offset
Region of image charges
Overlapping
pipe
pipe
I+
I-
2) The furthest image current is more affected  higher position sensitivity
I+
I+
I-
I-
1) Lower β flatten the signals (i.e. less HF components)  less amplitude
I+
I-

## Slide 8
BPM system overview
TUNNEL
FARADAY CAGE
ADC
16 bit
88Msps
50 ...100m coax
330MHz
L.O.
352MHz
-40 ... 0 dBm
22MHz
FEC
LPF
LPF
H+
H-
V+
V-
Individual signal treatment of the 4 electrodes
352MHz component (30MHz BW) measured
Compensation of cable and amplifier chain by calibration pulse injection
352MHz
Cal signal
Analog front end

## Slide 9
Analog Front End
Linear over the signal dynamic range
Good input match
Low noise
attenuator
(Ideal) Balanced amplifier features:
3dB higher dynamic range
Perfect input match
No noise degradation
Main limitation: hybrid coupler
L4 AFE input match
operating region
Gain: 2 ... 48dB in 0.5db steps
P1dB: > 15dBm (input power)
N.F. : 12dB
Power: 8W
L4 AFE main features:

## Slide 10
Energy measurement by time of flight
BPM
A
d=3m
1MeV
Time resolution ~ 1ns
RF=352MHz
φRESOLUTION=5°
Direct time delay measurement is not practical
Time resolution =40ps
-π<
Phase delay give excellent time resolution but integer delay of half RF period (K) is unknown.
In L4: ~10<K<hundreds
integer
Drift space
BPM
B

## Slide 11
Calibration
Measure of amplitude asymmetries between + & - signal paths
Measure of phase delay between different PUs acquisition chain
Direct pulse
Reflected pulse
Calibration signals
ELECTRONICS
Relative measures
2*cable delay
Calibration mismatch ~ 1/1000
Position error for 30mm sensitivity ~ 30um

## Slide 12
LINAC 4 cavity tuning
Each cavity must be setup (in terms of voltage and phase) to match the simulated beam dynamic conditions
Following cavities are unpowered and detuned
BPM A
BPM B
BPM C
DTL3
cavity
Simulation 97%
Simulation 101%
Kinetic energy [MeV]
49
50
51
52
RF phase [deg]
-60
-40
-20
0
20
40
60
Meas. @ 20.7MV
Meas. @ 21.5MV
From LINAC4 elogbook

## Slide 13
Status and outlook
BPMs have been installing during the L4 construction phases (2014 ... LS2)
New FESA class developed (2017) to solve issues with server crashes
New JAVA based expertGUI under development
TOF still measured by a python scrypt. A BI server application and an OP GUI application are under development
Algorithm for the estimation of TOF at the lowest energies to be improved