## Slide 1: Testing Quantum Calculations with Measurements on Radioactive Molecular Hydrogen Isotopologues
K.F. Lai
P. Czachorowski, M. Schlösser, M. Puchalski,
J. Komasa, K. Pachucki, W. Ubachs, and E. J. Salumbides

## Slide 2: H2 and Isotopologues as Benchmark Molecule
Simplest neutral molecule
Internal nuclear motion
  Numerous transition available to test calculation
Dissociation energy D0(J=1) of H2
C. Cheng et al. PRL 121, 013001 (2018)
H2 High rotational state
v = 0, J = 0-16
E.J. Salumbides et al., PRL 107, 043005 (2011)
H2 High vibrational state
v = 10-12
M.L. Niu et al. JCP 143, 081102 (2015)
H2 HD and D2
Fundamental band (v = 1  0)
G. D. Dickenson et al., PRL 110, 193601 (2013)
HD
First Overtone (v = 2  0)
F.M.J. Cozijn et al., PRL 120, 153002 (2018)
D0
v = 0
v = 1
v = 2
J = 4
J = 8
J = 12
J = 16
v = 10-12

## Slide 3: Heavier Tritiated Species
H3He+ vs HT
Studies on heavier tritium-containing isotopologues doubles the no. candidates
Non-adiabatic contribution is smaller with larger reduced mass
Investigate g-u mixing contribution in HT and DT
T2
DT
HT
Non-adiabatic correction to E(4)
BO energy
Adiabatic correction
Non-adiabatic correction
N
N
P
P
P
N
P
P
M. Puchalski et al., PRL 121, 073001 (2018)

## Slide 4: Calculation on tritiated species
NAPT calculation by P. Czachorowski
Uncertainty fundamental band v = 1 0
~10-4 cm-1 for DT and HT
6 x 10-5 cm-1 for T2
100-fold improvement to C. Schwartz et al. (1987)

## Slide 5: “Recent” experiment on tritiated species
Uncertainty of old measurement on vibrational transition
T2 and DT
> 5 x 10-2 cm-1
HT
> 5 x 10-3 cm-1
J.E. Barefield et al. J. Mol. Spectosc. 80, 233-236 (1980)
M.C. Chuang et al. J. Mol. Spectosc. 121, 380-400 (1987)
Latest calculation uncertainty
< 10-4 cm-1

## Slide 6: Experimental challenge
Tritium sample from Tritium laboratory in KIT
Legal limit: <1 GBq radioactivity
~ 2.5 mbar T2, or
~ 4 mbar DT,
(HT is preparing)
in 4 cm3 well-sealed gas cell
Limited methods for measurement
Not feasible for molecular beam experiment
Beta decay of tritium
Half-life : 12.3 years

## Slide 7: Coherent Anti-Stokes Raman Scattering
v = 1, J
v = 0, J
Virtual state
ωp
ωp
ωs
ωas
Pump
Stokes
Anti-Stokes
Pump
Advantage
Non-destructive and sensitive method
Anti-Stokes signal can be easily separated
Visible blue light of Q(1) transition from 1 bar D2
Q-branch
ΔJ = 0
Broadband CARS spectrum of
DT Q-branch

## Slide 8: Doppler-limited measurement
ωp
ωp
ωs
ωas
Pump
Stokes
Anti-Stokes
Pump
Doppler-limited spectrum
 | Q-branch Doppler Width @ Room temp
D2 | 550 MHz
HT | 630 MHz
DT | 450 MHz
T2 | 370 MHz
T2 Q(1)
450 MHz

## Slide 9: Experimental Setup
Stabilized HeNe laser
Seeded pulsed Nd-YAG (532nm)
Pulsed dye amplifier
Wavemeter
CW ring dye laser
Chirp analysis
I2 saturation
Reference etalon
FSR ~ 150 MHz
Gas cell
PMT
Bandpass filter
Lens 1
f = 20cm
Lens 2
f = 10cm
ωas
ωp
ωs
v = 1, J’
v = 0, J”
Virtual state
ωp
ωp
ωs
ωas
Pump
Stokes
Anti-Stokes
Pump
Freq. uncertainty:
6 MHz

## Slide 10: Experimental Setup
Stabilized HeNe laser
Seeded pulsed Nd-YAG (532nm)
Pulsed dye amplifier
Wavemeter
CW ring dye laser
Chirp analysis
I2 saturation
Reference etalon
FSR ~ 150 MHz
Gas cell
PMT
Bandpass filter
Lens 1
f = 20cm
Lens 2
f = 10cm
ωas
ωp
ωs
v = 1, J’
v = 0, J”
Virtual state
ωp
ωp
ωs
ωas
Pump
Stokes
Anti-Stokes
Pump
Stokes cw-pulse freq. offset
~ 20 (5) MHz for DCM dye
~ -30 (5) MHz for Rh. 101 dye
cw light freq. uncertainty:
1 MHz
610-620 nm

## Slide 11: Experimental Setup
Stabilized HeNe laser
Seeded pulsed Nd-YAG (532nm)
Pulsed dye amplifier
Wavemeter
CW ring dye laser
Chirp analysis
I2 saturation
Reference etalon
FSR ~ 150 MHz
Gas cell
PMT
Bandpass filter
Lens 1
f = 20cm
Lens 2
f = 10cm
ωas
ωp
ωs
v = 1, J
v = 0, J
Virtual state
ωp
ωp
ωs
ωas
Pump
Stokes
Anti-Stokes
Pump

## Slide 12: Benchmark: D2 Q-branch
Ion Detection
60 MHz
Fundamental band (v = 1  0) with molecular beam setup
G. D. Dickenson et al., PRL 110, 193601 (2013)
D2 Q(2)
~ 8 mbar in DT cell
700 MHz
Uncertainty D2 Q-branch
4.5 MHz / 1.5 x 10-4 cm-1
Preparation of DT
D2 + T2  D2 + DT + T2
4 : 1

## Slide 13: Benchmark: D2 Q-branch
Δ Molecular beam experiment
● This work
D2 Q(2) ac-Stark analysis

## Slide 14: Comparison with old results

## Slide 15: Comparison with calculation

## Slide 16: Comparison with calculation
Mainly dominated non-adiabatic contribution of E(2)
Possible to do full calculation on E(2)
With uncertainty ~ 10-8 cm-1
T2 Q(1) uncertainty < 10-5 cm-1
> 10-times less than our measurement uncertainty

## Slide 17: Doppler-limited measurement
Molecular beam CARS (not for tritiated species)
~100 MHz (laser bandwidth of current setup)
Cooling sample cell with pre-cooled air
300 K  ~ 100 K
450 MHz  ~250 MHz
Saturation CARS
 | Q-branch Doppler Width @ room temp
D2 | 550 MHz
HT | 630 MHz
DT | 450 MHz
T2 | 370 MHz
~ 300 MHz
T2 Q(1)
450 MHz

## Slide 18: Saturation of CARS profile
Saturation in upper level
Interference coherence (Qi) by different velocity classes

## Slide 19: Saturation of CARS profile
D2 Q(2)
Unexpected ac-stark shift
Doppler profile getting more asymmetric at high energy
Position of saturation dip is not centered at Doppler profile
Need full understanding about the saturated profile
T2 Q(1)

## Slide 20: Pure Rotational Transition
v = 0, J+2
v = 0, J
Virtual state
ωp
ωp
ωs
ωas
Pump
Stokes
Anti-Stokes
Pump
S-branch
ΔJ = 2
 | S(0) Doppler Width @ room temp | Expected linewidth
D2 | 33 MHz | <100 MHz (depending on laser bandwidth)
HT | 44 MHz | 
DT | 27 MHz | 
T2 | 22 MHz | 
T2 S(0) ~ 120 cm-1
Requiring 2 laser sources working at similar freq.
+
Separate anti-Stokes for detection
H.G.M. Edwards et al. J. Chem. Sot. Faraday Trans. II 74, 1203-
1207 (1978).

## Slide 21: Conclusion & Outlook
D2 Q(0)-Q(2) show good agreement with molecular beam experiment
T2 and DT Q(0)-Q(5) have been measured with 12 MHz uncertainty
All of them have good agreement with latest calculated value
Move on to last isotopologue HT

## Slide 22: Acknowledgement
T. Madhu Trivikram, Meissa Diouf, Edcel Salumbides and Wim Ubachs
LaserLab, VU Amserdam
Rob Kortekass
Technical help

## Slide 23: AC-Stark shift
Doppler width

## Slide 24: Comparison with calculation
Mean difference:
6 MHz/ 2 x 10-4 cm-1

## Slide 25: Pump Frequency Calibration
High Finesse WS-U wavemeter
Drift rate:
0.1 MHz/ hr (from Stellmer)
0.3 MHz /hr (measured from comb-locked Ti-Sa)
S. Stellmer et al. Phys. Rev. A 90, 022512 (2014)

## Slide 26: Other artefacts of CARS profile
mJ splitting at high power
Non-resonant background interference
DT Q(6) at different power
DT Q(7)

## Slide 27: Collisional shift
 | Q(0) | Q(1) | Q(2)
H2a | -2.28(6) | -3.38(5) | -2.05(6)
HDb | -4.9(2) | -4.3(2) | -3.9(2)
D2c | -1.9(1) | -1.9(1) | -1.8(1)
a Larry A. Rahn et al. Phys. Rev. A 41, 3698 (1990)
b G.J. Rosasco et al. J. Chem. Phys. 90, 2115 (1989)
c G.J. Rosasco et al. J. Chem. Phys. 94, 7625 (1991)
Units in 10-6 cm-1/mabr
In DT cell,
D2 pressure ~ 8 mbar
DT pressure ~ 4 mbar
Collisional shift ~ 3 x 10-5 cm-1
Collisional shift coefficient from literature
In T2 cell,
T2 pressure ~ 2.5 mbar
Collisional shift < 1 x 10-6 cm-1
Preliminary pressure studies on D2 Q(2)

## Slide 28: Revisit T2 Q-branch

## Slide 29: Biased Revisit of T2 Q-branch
Etalon FSR changed within same day
Q(3) ~42 FSR away from I2 line
Q(0) ~20 FSR