## Slide 1: High-Precision Measurement of the Deuteron’s Atomic Mass
International Conference on Precision Physics and Fundamental Physical Constants Sascha Rau

## Slide 2
acronym for Light ION TRAP
purpose-built high precision Penning-trap mass spectrometer for light ions, located in Mainz, follow up from Mainz g-factor experiment for highly charged ions (electron mass, strong field BS-QED Tests)
first successful measurement campaign on proton mass with (parts per trillion, ) (F. Heiße et al. PRL 119, 033001, 2017)
relevant for precision spectroscopy (), tests of special relativity (), KATRIN ()
inconsistency in literature calls for independent values
difficult because of relatively small signals, high relativistic shifts
Why are mass measurements on light ions important?

## Slide 3
R.S. Van Dyck et al. @ UW
E. Myers et al. @ FSU
+ Binding Energy [4]
[2] S. L. Zafonte et al., Metrologia 52, 280 (2015)
[1]
[3]
[3]
[2]
?
4.4 σ
790(180) pu
Deviation
[2]
?
?
?
[1] R. S. Van Dyck Jr. et al., AIP Conf. Proc. 457, 101 (1999)
[4] Yan et al., PRA 67, 062504 (2003)
[3] E. Myers et al., PRL 114, 013003 (2015)
12C
3He
T
H
D
HD

## Slide 4
R.S. Van Dyck et al. @ UW
E. Myers et al. @ FSU
+ Binding Energy [4]
[2] S. L. Zafonte et al., Metrologia 52, 280 (2015)
[1] F. Heiße et al., PRL 119, 033001 (2017)
Our Measurement
[1]
[3]
[3]
[2]
?
3.5 σ
560(160) pu
Deviation
[2]
?
?
?
[4] Yan et al., PRA 67, 062504 (2003)
[3] E. Myers et al., PRL 114, 013003 (2015)
12C
3He
T
H
D
HD
Notes: -230 nu
056(16) nu

## Slide 5
R.S. Van Dyck et al. @ UW
E. Myers et al. @ FSU
+ Binding Energy [4]
[2] S. L. Zafonte et al., Metrologia 52, 280 (2015)
[1] F. Heiße et al., PRL 119, 033001 (2017)
Our Measurement
[2]
[1]
[3]
[5]
[2]
?
?
?
?
4.8 σ
490(97) pu
Deviation
[5] S. Hamzeloui et al, PRA 96, 060501 (2017)
[4] Korobov et al., PRL. 118, 233001 (2017)
[3] E. Myers et al., PRL 114, 013003 (2015)
New Measurement
12C
3He
T
H
D
HD
Notes: 0.47(10) nu

## Slide 6
Outline
Setup and Experimental Techniques - a new ultra-harmonic trap
Proton’s Atomic Mass F. Heiße et al., PRL 119, 033001 (2017)
Deuteron’s Atomic Mass

## Slide 7
measurement of cyclotron frequency:  homogenous static magnetic field
Experimental Approach
cyclotron frequency via invariance theorem [1]:
[1] L.S. Brown & G. Gabrielse, PRA 25, 2423 (1982)
Penning trap:
d
Deuteron:
 electrostatic quadrupole potential for trapping
B = 3.8 T
UUC2 ~ -8 V
UUC1 ~ -9 V
UR ~ -10 V
ULC1 ~ -9 V
ULC2 ~ -8 V
1cm

## Slide 8
Setup
2.3 m
3.8 T superconducting Magnet
Trap chamber p < 10-16 mbar
Liquid Helium
(T = 4 K)
offline Experiment
liquid Helium temperature
hermetically sealed trap chamber
in situ ion creation using miniature EBIT/S
cryoelectronic section
Notes: -6:40

## Slide 9
Measurement Procedure
(II) νc(12C6+) in PT
both ions at the same time within the trap chamber
time between v+ measurements optimized
  reduction of impact of magnetic field fluctuations compared to former measurements
Precision trap (PT)
Storage
trap 2 (ST2)
Storage
trap 1 (ST1)
12C6+
(I) vc(d) in PT
Notes: -6:40

## Slide 10
Eigenfrequency Detection
measurement of induced image currents () on trap electrodes
superconducting tank circuit
A
ultra low noise
cryogenic amplifiers
fourier transformation
Signal (dB)

## Slide 11
  2. Double-Dip Signal:
    v+, v- coupled to axial motion via rf-sideband coupling
1. Dip Signal
    vz of thermalized ion (Tz=4.5 K) measured as narrow “dip”
Eigenfrequency Measurement Techniques
    Disadvantages: -  “slow” (3 min)  impact of field fluctuations
    - Lineshape dependent
    Advantages: - Thermal equilibrium during measurement  Small energy dependent systematic shifts
740 000

## Slide 12
    Advantages:
    -linear scaling with Measurement Time
    -no lineshape model needed
Phase-Sensitive Detection Method
A phase sensitive measurement scheme allows coherent detection. The complex Fourier spectrum provides besides the peak position in the Fourier spectrum also the instantaneous phase of the ion.
Dipolar excitation
Electrode
SNRpeak

## Slide 13
A New Ultra-Harmonic Trap
Ideal world:
U
z
U
z
Real world:
→ vz independent of energy!
→ vz depends on energy!

## Slide 14
Real world:
UC ~ -9 V
UR ~ -10 V
UC ~ -9 V
Degrees of freedom: LR, LC, UC
So far:
Optimized parameters:
C4=C6=0 (compensated)
A New Ultra-Harmonic Trap
Use one pair of correction
electrodes

## Slide 15
Real world:
Degrees of freedom: LR, LC1, UC1, LC2, UC2
New trap (additional pair of correction electrodes)
Optimized parameters:
C4=C6=C8=C10=0
(doubly compensated)
UC2 ~ -8 V
UC1 ~ -9 V
UR ~ -10 V
UC1 ~ -9 V
UC2 ~ -8 V
A New Ultra-Harmonic Trap
10mm
Notes: 1:50

## Slide 16
Study shifts of axial freq. due to magnetron bursts:
Preliminary!
A New Ultra-Harmonic Trap - Performance
Our former bound-electron
g-factor experiment (me)
MIT/FSU Trap (hyperbolic)
[S. Rainville Ph.D. Thesis]
F. Heiße et al., PRA, accepted
Notes: 1;50
Screw up your harmonic potential
Calcium\Measurement\2017_08_23\MT\Carbon\TR\20171002II\OptTRAuswertung.opj
Rainville Doktorarbeit S. 31
Vz=212kHz; Ci-Expansion identical except no C2!!!, dchar=5.49mm (our dchar: 5.107mm) dvz=0.7Hz at rm=1mm, so in our system: 0.7/212*515
Carl Sagan: The universe is not required to be in perfect harmony with human ambition
When you start running your experiment you do not end up with your optimized electric potential, due to machining errors and patch potentials, which are charged islands on the inner surfaces of the electrodes.

## Slide 17
Outline
Setup and Experimental Techniques - a new ultra-harmonic trap
Proton’s Atomic Mass F. Heiße et al., PRL 119, 033001 (2017)
Deuteron’s Atomic Mass

## Slide 18
Results
[1] PRL 73, 1481 (1994). [2] Ph.D. thesis, Stockholm University (1997).
[3] AIP Conf. Proc. 457, 101 (1999). [4] Phys. Scr. 66, 201 (2002). [5] PRA 78, 2514 (2008).
[PRL 119, 033001 (2017)]
→ Improvement by a factor of 3
(stat) (syst)
Notes: 0:55
2.2Sigma mit VanDyck

## Slide 19
Results
[1] PRL 73, 1481 (1994). [2] AIP Conf. Proc. 457, 101 (1999). [3] Phys. Scr. 66, 201 (2002). [4] PRA 78, 2514 (2008).
[5] PRL 119, 033001 (2017)
Notes: 0:55
2.2Sigma mit VanDyck

## Slide 20
Proton/Electron Mass Ratio
[1] S. Alighanbari et al. Nat. Phys. 14, 555 (2018)
[2] M. Hori et al. Science 354, 610 (2016)
[3] F. Heiße et al., Phys. Rev. Lett. 119, 033001 (2017)
[4] S. Sturm et al. Nature 506, 467 (2014)
[1]
[2]
[3] [4]

## Slide 21
B2=-0.27(2)T/m2
B1=0.92(1)mT/m
Systematic Uncertainties
Magnetic inhomogeneity:
B(z)=B0+B1z+B2z2+…
<B>=B0+B2<z02>/2
Superconducting
B1/B2-shim coils
Effect | Relative Uncertainty ()
Residual Magnetostatic Inhomogeneity | 27.5
Special Relativity | 7.1
Image Charge | 4.6
Quadratic Sum | ≈29
Effect | 
Residual Magnetostatic Inhomogeneity | 27.5
Special Relativity | 7.1
Image Charge | 4.6
Quadratic Sum | ≈29
Notes: Alle cs null, was ist mit den bs?

## Slide 22
Outline
Setup and Experimental Techniques - a new ultra-harmonic trap
Proton’s Atomic Mass F. Heiße et al., PRL 119, 033001 (2017)
Deuteron’s Atomic Mass

## Slide 23
cryogenic electronic section
trap
chamber
placed around trap chamber:
Solenoidal Superconducting B2 Shim Coil
Notes: 2:20
Wire Radius:
Acetylenflamme mit Schutzgas

## Slide 24
Solenoidal Superconducting B2 Shim Coil
B @ 2mA
- Simulation
measurement in a testsetup
Superconducting Connection:
Closed B2 shim coil
charged up to 180mA

## Slide 25
B2 Shim Coil Performance
axial frequency shift as function of energy in -mode
now:
Proton mass campaign:
⇒Factor 200 improvement
Notes: 2:20
Wire Radius:
Acetylenflamme mit Schutzgas

## Slide 26
Estimated Error Budget Deuteron
Effect | Rel. Unc. () Pmass | Rel. Unc. () Deuteron (predicted)
Residual Magnetostatic Inhomogeneity | 27.5 | 0.2
Special Relativity | 7.1 | 2.9
Image Charge | 4.6 | 4.1
Quadratic Sum | ≈29 | ≈5.0
Effect |  | 
Residual Magnetostatic Inhomogeneity | 27.5 | 0.2
Special Relativity | 7.1 | 2.9
Image Charge | 4.6 | 4.1
Quadratic Sum | ≈29 | ≈5.0
current best value for the deuteron‘s atomic mass: S. L. Zafonte and R. S. Van Dyck Jr., Metrologia 52, 280 (2015)
current best mass ratio: R=m(29Si+ )/m(28SiH+) S. Rainville et al., Nature 438, 1096 (2005)
Schuh et al., PRA, accepted
Notes: 2:20
Wire Radius:
Acetylenflamme mit Schutzgas

## Slide 27
Preliminary Results
example run from 30.04.2019 to 02.05.2019
Ratio:

## Slide 28
Preliminary Results
previous best
measurement
run #
Zafonte and Van Dyck Jr., Metrologia 52, 280 (2015)
Ratio:
corrected for PnA Energy
!Preliminary!

## Slide 29
The mass of
consistency check using
closed circle using only our values
HD atomic & molecular Binding Energy:
Korobov et al., Phys. Rev. Lett. 118, 233001 (2017)

## Slide 30
Summary
proton mass with 33 ppt precision
leading order systematic effect made negligible with B2 shim coil
estimated systematic uncertainty for deuteron to be around
ongoing measurement, statistical error around
strong consistency check using
!preliminary!

## Slide 31
1Division of Stored and Cooled Ions at MPIK, Heidelberg
2Atomic Physics Division at GSI Helmholtzzentrum, Darmstadt
Acknowledgement
Funding:
Collaboration: | Sascha Rau, Fabian Heiße1,2, Florian Köhler-Langes1, Wolfgang Quint2, Sven Sturm1 and Klaus Blaum1
Target: | Raphael Haas2,3,4, Dennis Renisch3,4 and Christoph Düllmann2,3,4
3Institut for nuclear chemistry at JGU, Mainz
4Helmholtz Institute Mainz

## Slide 32
Why deuteron?
[1] M.S. Dewey et al. Physical Review C 73, 044303 (2006)
[2] https://www.ill.eu/instruments-support/ „PN3-GAMS“
[2]
Deuteron mass might help with puzzle of light ion masses
allows for easier measurement of the Image Charge Shift (q/m doublet)
one can extract the neutron mass
improved binding energy needed, currently measured at the ILL in France
p
n
Notes: 2.2MeV, 4e-10 limit, graphite holders filled with Kapton plastic

## Slide 33
Reference Trap
(II) vc(28Si13+) and νc(12C6+)
Simultaneous comparison of cyclotron frequencies to reference ion
(I) vc(28Si13+) and vc(p)
 cancel impact of common mode magnetic field fluctuations
Measurement trap (MT)
Reference trap (RT)
Storage
trap 2 (ST2)
Storage
trap 1 (ST1)
p
12C6+
28Si13+

## Slide 34
Data
Several 100‘s of measurement cycles have been performed with:
- three different p / 12C6+ pairs
- at different and .
Extrapolated frequency ratio R0:
Apply a golbal planar fit:
where i is the run number and R0, a and b are fit parameters.
i =
Notes: 1:10
Prediction Interval of the Fit

## Slide 35
Effect | Shifts [mHz]
ICS | 2.394
 | 0.076
Tilt | 0.162
q/m missmatch | 390.714
Total | 393.346
Effect | 
ICS | 2.394
 | 0.076
Tilt | 0.162
q/m missmatch | 390.714
Total | 393.346
BUT:
Tilt between magnetic and electric field (0.5 °)
Variations of this tilt are in the axial mode indistinguishable from voltage fluctuations
The Image Charge Shift
!!Preliminary!!
⇒ confirmation limited to 5% level (120 µHz)
Fit gives δ (Δ v_) = 43 µHz with Red chi2 = 2

## Slide 36
improve voltage stability by using a filter with a switchable time constant
use „freeze-out“ of silicon transistor (BF545) happening at :
Conducting at: 13 mW for 20 s Freezing out: 3 min
Rcold > 500 GΩ
Characteristics:
Improving axial stability
small voltage change
0.5V voltage change
leakage currents in the order of a few fA, resistance to ground
transistors DC resistance at least in same magnitude, acts as very small capacity (17fF)

## Slide 37
Improving axial stability
improve voltage stability by using a filter with a switchable time constant
use „freeze-out“ of silicon transistor (BF545) happening at :
⇒ Mechanical Feedthrough to adjust angle to zero in situ
Fluctuations in angle lead to instabilities:
Conducting at: 13 mW for 20 s Freezing out: 3 min
Rcold > 500 GΩ
Characteristics:

## Slide 38
Mechanical Feedthrough

## Slide 39
Target Preparation
use target printer to apply deuterated molecules (Thymidine-α,α,α,6-d4) to surface of standard mEBIS target R. Haas et al., Nucl. Instr. Meth. Phys. Res. A 874
small number of particles, while maintaining vacuum conditions

## Slide 40
Improved Statistics
implemented pressure and temperature stabilization
Allan deviation with consecutive measurements with a single deuteron promises statistics in the few per cycle
!preliminary!
Notes: 2:20
Wire Radius:
Acetylenflamme mit Schutzgas

## Slide 41
Pulse and Amplification – Method
S. Sturm et al., PRL 107, 143003 (2011)
Rapid measurement time ( ~ 10 s instead of ~ 3 min for Double-Dip)  Reduction of impact of B-field fluctuations
Small radial kinetic energies during phase evolution  Small magnetic and relativistic shifts
    Phase sensitive detection method for v+
Phase detection