## Slide 1: Hyperfine cross-over resonances producing Lamb-dips and Lamb-peaks in the saturation spectrum of HD
M.L. DIOUF1, F.M.J. COZIJN1, B. DARQUIÉ2, E.J. SALUMBIDES1, AND W. UBACHS1
1Department of Physics and Astronomy, LaserLaB, Vrije Universiteit, De Boelelaan 1081, 1081 HV Amsterdam, The Netherlands
2Laboratoire de Physique des Lasers, Université Paris 13, Sorbonne Paris Cité et CNRS, 99 av J B Clément, 93430 Villetaneuse, France

## Slide 2: Motivation

## Slide 3: Hydrogen (and isotopes) as a benchmark molecules
Best calculated neutral molecule
  ‘simple’4-body system
Excellent test for molecular QED theory
Extract fundamental constants from theory

## Slide 4: Vibrations in hydrogen as probe for new physics
Cavendish experiment
Bounds on fifth forces
E.J.Salumbides, J. Komasa, K. Pachucki, et al.,
Phys. Rev. D 87, 112008 (2013)

## Slide 5: History of and HD
quadrupole transitions very low intensity
Absorption path length for 1 atm
HD weak dipole transition due to non-adiabatic effects
Absorption path length for 1 atm
Herzberg in the 1950 : at 3 atm / path of 200m

## Slide 7: Direct excitation of first overtone band in HD
v=0
v=1
v=2
R-branch (ΔJ=+1)
Dipole transitions
Doppler-broadened
1.5 GHz FWHM
Doppler-free
~ 300 kHz FWHM
Last years result
Cozijn et al., PRL 120, 153002 (2018)
Lamb-dip: Saturation power is 10 kW
In our case : 100 W

## Slide 8: NICE-OHMS Noise-Immune Cavity-Enhanced Optical Heterodyne Molecular Spectroscopy
Frequency Modulation Spectroscopy (FMS) in a cavity
Signals identical to FMS
  Dispersion measurement
  Additional wm-dither
+
=

## Slide 9: Setup

## Slide 10
Finesse=150 000,

## Slide 14: Experiments (2018) Amsterdam and HEFEI
Cozijn et al., PRL 120, 153002 (2018)
Amsterdam
Tao et al., PRL 120, 153001 (2018)
HEFEI
MHz

## Slide 15: HD R(1) discrepancy
[1] Cozijn et al., PRL 120, 153002 (2018)
[2]Tao et al., PRL 120, 153001 (2018)
[3]Czachorowski et al., PRA 98, 052506 (2018)
[4] Fasci et al., PRA 98, 022516 (2018)

## Slide 16: HD hyperfine levels
Interaction nuclear spins( d-p):
and rotational quantum number J
  v=0, J=1 5 levels
  v=2, J=2 6 levels
Allowed transitions 21 transitions
N. F. Ramsey and H. R. Lewis, Phys. Rev. 108, 1246 (1957)

## Slide 17: HD R(1) Hyperfine structure
P. Dupré and J. Gauss

## Slide 18: Results

## Slide 19
HD R(1)

## Slide 21: Interpretation

## Slide 22: Crossovers in saturation spectroscopy
V-scheme
‘dip-like’
Λ-scheme
‘peak-like’
Doppler free Lamb-dip
Crossover resonances

## Slide 23: Crossovers effect
21 hyperfine transitions
36 V-crossovers
32 Λ-crossovers
Crossovers strength approximate

## Slide 24: Density matrix simulation
Hamiltonian .:
. the rabi frequency between 2 states i and j
Relaxation rates matrix
Liouville equation:
  Doppler profile : The spectrum is determined by summing different velocity of The Maxwell-Boltzmann distribution

## Slide 25: Simple Bloch equations
+)

## Slide 26: Simple Bloch equations
+)

## Slide 27: Simple Bloch equations
+)

## Slide 28: Simple Bloch equations
+)

## Slide 29: Simple Bloch equations
+)

## Slide 30: Simple Bloch equations
+)
Fixed and varied
=

## Slide 31
Stationary solutions needed -> time of integration needs to be long enough
Integration of the rate equation is done for each velocity
The distance between two velocity components need to be smaller than the , the HWHM
  For HD, let’s assume =50Khz, the Doppler broadened is 750 MHz
  So we need more than 15000 velocity components
For each velocity the equation needs to be solved for all the detuning
  Detuning needs to be smaller than the
  So we need a calculation time of 15000x15000 at least.
Around 850
Between 10 and 20 secs each
Why is a computer cluster needed ?

## Slide 32: Lisa
Normal pc task done in one Hour
In Lisa : 1 min done
1 whole spectrum done in 18 hours
Parallelization needed with the different Nodes
More info on: https://userinfo.surfsara.nl/systems/lisa

## Slide 33
Calculation outcome

## Slide 35: Remarks
The Lamb peak extrapolation 8kHz from the Hyperfineless center
Theory : 217 105 180.200 [900] MHz
Peak frequency:
217 105 181.895 [50] MHz

## Slide 37: Conclusion
HD spectroscopy gives rise to a complicated line profile
Explanation of previous discrepancy
Complex hyperfine structure gives rise to crossover
Bloch equation can mimic that shape with certain parameters

## Slide 38: Outlook
Improve the Bloch equation model
Cryogenic cooled cell is getting build
  Enhancement of population of the lower states
  Transit time longer
  R(0) (top of water line) can therefore be reached
R(0) hyperfine structure simpler

## Slide 39: Acknowledgements
NICE-OHMS team
Frank Cozijn
Meissa Diouf
Edcel Salumbides
Wim Ubachs
Patrick Dupré
Benoit Darquié
Technician
Rob Kortekaas

## Slide 40
Thank you

## Slide 41: HD hyperfine levels
Interaction between nuclear spins( d-p): and rotational quantum number J
  v=0, J=1 5 levels F=(,
  v=2, J=2 6 levels F=(,
Allowed transitions 21 transitions
N. F. Ramsey and H. R. Lewis, Phys. Rev. 108, 1246 (1957)