## Slide 2: Advanced Power-Quality Technologies for Future Circular Collider (FCC)
Thomas Hoehn
PhD-Student
Electrical Power Converters Group / Graz University of Technology

## Slide 3: Advanced Power-Quality Technologies for Future Circular Collider (FCC)
Introduction to Power Quality
Back-to-Back HVDC Link
Comparison and Conclusions
Transient Voltage Dips
DC Distribution Grid
Dynamic Voltage Restorer

## Slide 4: Advanced Power-Quality Technologies for Future Circular Collider (FCC)
Introduction to Power Quality
Back-to-Back HVDC Link
Comparison and Conclusions
Transient Voltage Dips
DC Distribution Grid
Dynamic Voltage Restorer

## Slide 5: Power Quality for FCC
FCC demands for an excellent power grid
Harmonic filtering
Voltage support/reactive power compensation
Transient voltage dip mitigation
Introduction to Power Quality

## Slide 6: Advanced Power-Quality Technologies for Future Circular Collider (FCC)
Introduction to Power Quality
Back-to-Back HVDC Link
Comparison and Conclusions
Transient Voltage Dips
DC Distribution Grid
Dynamic Voltage Restorer

## Slide 7: Main Cause and Numbers
Lightning strike in the 400kV overhead lines
At CERN now: 20-40 events per year
For FCC expected number of: 100-200 events per year
Transient Voltage Dips

## Slide 8: Statistics
Transient Voltage Dips

## Slide 9: Mitigation at Equipment-Level
Example: SIRIUS Power Converter
Higher cost and complexity per unit
Each equipment unit has to be upgraded
Transient Voltage Dips
Synergy for cycling operations: energy recovery

## Slide 10: Mitigation at System-Level
  Provides the immunity of transient voltage dips for the complete FCC distribution grid
  Release pressure when designing equipment
  Three solutions are under study
Transient Voltage Dips

## Slide 11: Advanced Power-Quality Technologies for Future Circular Collider (FCC)
Introduction to Power Quality
Back-to-Back HVDC Link
Comparison and Conclusions
Transient Voltage Dips
DC Distribution Grid
Dynamic Voltage Restorer

## Slide 12: Main Features
Economical: series injection of the Δu
Reaction time < 1ms
Already used for critical production processes
Dynamic Voltage Restorer

## Slide 13: Operational Principle
Dynamic Voltage Restorer

## Slide 14: Applied for FCC
Is integrated in classical AC distribution grid
  By-pass switch for downstream selectivity of the protection system
Several voltage levels are possible
Size to supply a 50MVA load:
Dynamic Voltage Restorer
6m
6 m

## Slide 15: Advanced Power-Quality Technologies for Future Circular Collider (FCC)
Introduction to Power Quality
Back-to-Back HVDC Link
Comparison and Conclusions
Transient Voltage Dips
DC Distribution Grid
Dynamic Voltage Restorer

## Slide 16: Main Features
Used for DC power transmission
Decoupling from the supplying grid
Protected from external disturbances
Provide reactive power at the load side
Back-to-Back HVDC Link

## Slide 17: System Design Considerations
Rectifier design
DC link design
Inverter design
For example: hybrid solution
Back-to-Back HVDC Link

## Slide 18: Applied for FCC
Is integrated in classical AC distribution grid
  By-pass switch for downstream selectivity of the protection system
Several voltage levels are possible
Size to supply a 50MVA load:
Back-to-Back HVDC Link
20m
20m

## Slide 19: Advanced Power-Quality Technologies for Future Circular Collider (FCC)
Introduction to Power Quality
Back-to-Back HVDC Link
Comparison and Conclusions
Transient Voltage Dips
DC Distribution Grid
Dynamic Voltage Restorer

## Slide 20: Main Features
No electro magnetic interference
Higher power transmission capability
Efficient large scale energy recovery
DC Distribution Grid
One powering point of FCC
Main bending dipoles
Compressor motor

## Slide 21: Energy Recovery
DC Distribution Grid

## Slide 22: Energy Recovery
DC Distribution Grid

## Slide 23: Energy Recovery
DC Distribution Grid

## Slide 24: Energy Recovery
DC Distribution Grid

## Slide 25: Energy Recovery
DC Distribution Grid
See dedicated talk from Francisco R. Blanquez
in session:
Special Technologies: Machine protection, circuit and powering Thursday 16:30-16:50

## Slide 26: R&D Aspects
Isolation
Optimal DC voltage level
Protection system
  Selectivity
  Short circuit detection and current breaking
Redundancy
DC Distribution Grid

## Slide 27: Advanced Power-Quality Technologies for Future Circular Collider (FCC)
Introduction to Power Quality
Back-to-Back HVDC Link
Comparison and Conclusions
Transient Voltage Dips
DC Distribution Grid
Dynamic Voltage Restorer

## Slide 28
 | Dynamic Voltage Restorer | Back-to-Back HVDC Link | DC Distribution Grid
Transient Voltage Dips | covered | covered | covered
Compensation of Pulsating Reactive Power (load side) | Not covered | covered | covered
Compensation of Pulsating Active Power (load side) | Not covered | covered | covered
Stand-by losses | Very Low | High | Medium
Technology Readiness Level | Available in industry | Available in industry | Design and standardisation phase
Protection Aspects | Bypass is needed | Bypass is needed | In development
Comparison and Conclusions

## Slide 29
Comparison and Conclusions
Power quality is a key aspect
High number of transient voltage dips expected for FCC
Three potential solutions
  Different features
  Different impacts on the whole FCC distribution network
For the technical design phase
  More studies in detail
  One option has to be chosen