Parallel data processing at T3g
       S.Chekanov
        (HEP Division, ANL)
        ANL ASC Jamboree
        September 2009

---
Low-cost PC farm cluster: challenges for ANL ASC and Tier3s
The US ATLAS Tier 3 Task Force Report of Spring 2009, concludes:
enhanced ATLAS analysis computing capabilities at home Universities of US ATLAS members are needed. Such capabilities are broadly called Tier3 computing
   - essential for “chaotic” and “interactive” data analysis
Points to the existing cluster prototype designed at ANL as a possible solution for data analysis for small or medium size HEP group (10-20 people)

---
Challenges for T3 computing:
- How to build a low-cost (tens $k) cluster designed for heavy I/O (processing tens of TB /day)
- How to take advantage of 1 Gbps network bandwidth to transfer data from Tier1/2

---
Requirements for Tier3 cluster (T3g)
- Interactive & chaotic analyses
- No resource allocation and file staging for each job execution
  - faster data processing compared to the grid
- Low cost: tens of $k.
  - ~$25k for processing power 0.5 TB/h of AOD files
- Off-the-shelf hardware
- Small effort in management (0.2FTE)
- No special network requirement & computer room
- Fully scalable, no I/O bottleneck
- Run long jobs “by agreement”

---
Grid is an operating system
See Rik's talk about the grid
Grid is an operating system
All you need to know is that:
Are the data files I want to analyze in the Grid?
Don’t need to know where the data is.
Don’t need to know where your job is going to be running.

---
ANL PC farm as Grid-like operating system
All you need to know is that:
Are the data files I want to analyze in the Grid? PCF?
Don’t need to know where the data is.
Don’t need to know where your job is going to be running.
PCF slaves
Fault rate <0.05%
(data are “pre-staged”!)

---
Two possible solutions for I/O intensive cluster
- Data storage is central. Read data via NFS/AFS
  - Good file storage is expensive
  - Load balancing is difficult - need to share file systems via NFS or other mechanisms to provide a central location for the data
  - 1 Gbps local network is not enough to support >20 CPUs accessing same data storage
- Distributed data storage
  - Each dataset distributed between several Linux boxes & local disks
  - No central file storage
  - No network load at runtime
  - Requires R&D
/data/mc08.xxxxxx
8 cores
8 cores
NFS/AFS
/data/mc08.xxxxxx_2
/data/mc08.xxxxxx_1
8 cores
8 cores
NFS/AFS

---
Possible T3g architectures based on Condor/Arcond/xrootd
Multi-user setup
Multi-user setup
Single-user workstation
PC farm
NFS/AFS data server
- Data local to CPU
- Not scalable
- Max cores 8-16
- Data redistributed between disks
- Fully scalable.
- No particular network requirement
- No single-point failure
- Data on NFS
- Scalable up to ~20 cores
- Require 1 Gbps network
Multi-user ANL setup with central interactive node
PC farm
- Data redistributed between disks
- Fully scalable
- No particular network requirement
- No single-point failure
- Interactive node with ssh
- Home directories on NFS for easy maintenance
Interactive node with ssh
Users home directories

---
PC farm challenge for T3g sites
A complete T3G PC farm setup is given on the ANL ASC page (atlaswww.hep.anl.gov):
Article in ATLAS e-News
More details: “A PC farm for ATLAS Tier3 analysis”
S.C., R.Yoshida, ATL-COM-GEN-2009-016
[Speaker Notes: I'm gonna to give somewhat subjective summary towards ep colliding experiments – and it will be somewhat compressed, since I'll attempt to cover as much as possible during these 40-50 min]

---
ANL T3g cluster design
24-CPU PC farm prototype is fully functional
  - $6k investment only
  - Man power: 0.5 FTE, which dropped to 0.1 FTE after the setup
  - Most of ANL results were done using the PC farm prototype (6 ATLAS notes)
Since Sep 1, 2008: ~300 submitted jobs (~7000 runs)
  - no failures reported
- T3g setup guide based on ArCond/Condor is available (http://atlaswww.hep.anl.gov)
  - Includes hardware, software, setup and maintenance description
- dq2-get Stress test documentation (including log files) & Esnet tuning
  - https://atlaswww.hep.anl.gov/twiki/bin/view/ASC/Dq2_getStressTest
- How to use dq2-get in multiple threads using ArCond and TCP recommendations:
  - https://atlaswww.hep.anl.gov/twiki/bin/view/Tier3Setup/T3gGettingDataPCfarm
[Speaker Notes: I'm gonna to give somewhat subjective summary towards ep colliding experiments – and it will be somewhat compressed, since I'll attempt to cover as much as possible during these 40-50 min]

---
To get started with ArCond
- ArCond – “Argonne+Condor” for T3s computer farms:
  - Python front-end of Condor for: job submission, data discovery, results retrieval
  - Developed and supported at ANL ASC
  - http://atlaswww.hep.anl.gov/asc/arcond/
- How to get started with the ArCond:
  - setup atlas release: https://atlaswww.hep.anl.gov/twiki/bin/view/Workbook/SettingUpAccount
  - > mkdir test; cd test
  - > arc_setup
  - > arc_help (to see the commands)
  - > edit: arcond.conf (if needed). Pay attention to:
    - atlas_release=15.4.0
    - events = 100
    - input_data = /data1/mc/mc08.108087.PythiaPhotonJetXXX
    - package_dir = /testarea/14.5.1/analysis/PromptGamma
    - max_jobs_per_node= -1
  - > arcond (submit)
  - Check condor status as: condor_q or condor_status
[Speaker Notes: I'm gonna to give somewhat subjective summary towards ep colliding experiments – and it will be somewhat compressed, since I'll attempt to cover as much as possible during these 40-50 min]

---
This jamboree
- https://atlaswww.hep.anl.gov/twiki/bin/view/Jamborees/Jamboree2009SepPart3
- How to use the PC farm:
  - to run an athena code on a PC farm
  - to analyze ROOT ntuples using a PC farm
  - to run full Monte Carlo simulation and reconstruction
[Speaker Notes: I'm gonna to give somewhat subjective summary towards ep colliding experiments – and it will be somewhat compressed, since I'll attempt to cover as much as possible during these 40-50 min]