## Slide 1: BPM Systems – A BPM Primer –
Manfred Wendt
CERN
BI CAS 2018

## Slide 2: A Beam Position Monitoring System
BPM
pickup
BPM
pickup
BPM
pickup
BPM
pickup
BPM
pickup
BPM
pickup
BPM
pickup
BPM
pickup
beam bunch
beam orbit (trajectory)
pickup signal
Read-out electronics
BPM data
required for each BPM pickup
Part 1
BPM pickups
Part 2
Read-out electronics, BPM systems & other aspects
& 2

## Slide 3: Learning Objectives
Introduction into BPM systems
  From an engineering perspective
    How to design and build a BPM system!?
  Focus on the principle of operation
    Often in graphical format
  Practical formulas as necessary, but no lengthy derivations
  Stick to the fundamentals
    Expert and exotic stuff: please study the related papers
Very personal selection of BPM topics
  Focus on popular BPM components and subsystems
    BPM pickups, such as buttons, stripline, cavity BPM, etc.
    BPM electronics, e.g. RF signal conditioning, digital signal processing
  Will not cover BPM applications and beam measurements
    Covered at the CAS introduction and advanced courses
Give the design basics for the key elements of a BPM system
  So lets start…

## Slide 4: BPM Systems
are based on Beam Position Monitors (BPM), which are beam detectors located along the accelerator
  BPM: Beam Position Monitor
    Beam pickup with signal processing (read-out) electronics
      Often colleagues just refer to the beam pickup as BPM
  BPMs are typically located near each quadrupole magnet
    Use 4 or more BPMs per betatron oscillation period
deliver beam orbit (trajectory) information
  Non-invasive monitoring based on the EM-field of the passing beam
  Synchronized BPMs deliver beam timing information
    Beam orbit measurement
      turn-by-turn, batch-by-batch, bunch-by-bunch, or averaged over many turns
    Beam phase or time-of-flight (TOF) information in linacs
are a powerful beam diagnostics tool
  Machine commissioning, characterization of the beam optics, measurement of beam parameters, trouble-shooting,…

## Slide 5: BPM Systems Part 1
Principle of operation
  Wall currents and the electrostatic BPM pickup
Bunch Beam Signals
The image charge (current) model for BPMs
  Position characteristic in a circular beam pipe
  Numerical analysis and correction of non-linearities
BPM pickups
  Split-plane BPM
  Button BPM
  Stripline BPM
  Cavity BPM
Summary of part 1

## Slide 6: E-field of a moving point charge
A relativistic moving charge has a “pancake”-like EM-field
  Only Transverse Electric Magnetic (TEM) field components
    almost no longitudinal field components
Point charge at rest
Relativistic moving point charge
+
+
Moving point charge
+

## Slide 7: Wall current
Single proton in a perfect conducting cylindrical beam pipe of radius
  Travelling with:
  Image charges along the azimuth of the beam pipe wall:
Wall current density:
Beam current:

## Slide 8: Electrostatic Beam Monitor
-
-
-
-
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
-
+
+
-
+
-
-
-
-
-
-
-
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
+
-
-
-
-
-
-
-
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
-
+
+
-
+
-
V
-
-
-
-
-
-
-
courtesy O.R. Jones
R

## Slide 9: Beam response – High-pass
V
R
C
Frequency (Hz)
Response (V)
0
0
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
courtesy O.R. Jones

## Slide 10: Electrostatic BPM
-
-
-
-
-
+
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
-
+
+
-
+
-
-
-
-
-
-
-
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
+
-
-
-
-
-
-
-
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
-
+
+
-
+
-
V
-
-
-
-
-
-
-
-
+
+
+
+
+
-
-
+
-
+
-
+
-
+
-
-
-
-
+
+
+
-
+
+
-
+
-
-
+
-
+
-
-
-
-
-
+
+
+
-
+
+
-
-
+
-
-
-
-
-
-
-
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
courtesy O.R. Jones
R

## Slide 11: Beam Position Monitor Principle
d
The BPM principle is based on symmetry
  The beam displacement d is detected by a pair of symmetrical arrange electrodes
  BUT: Hoops, wait a minute, not so fast… What happens if the beam / bunch intensity changes?!
    The -signal still contains beam intensity information!
    Need to “normalize” the -signal
courtesy O.R. Jones
=
–

## Slide 12: EM Pickup for Beam Position Measurements
The BPM pickup detects the beam positions by means of:
  identifying asymmetries of the signal amplitudes from two symmetrically arranged electrodes & :
    broadband pickups, e.g. buttons, striplines
  Detecting dipole-like eigenmodes of a beam excited, passive resonator:
    narrowband pickups, e.g. cavity BPM
BPM electrode transfer impedance:
  The beam displacement or sensitivity function is frequency independent for broadband pickups (@ )
applies only for resonant pickups
frequency depending transfer impedance of the BPM electrode
beam position
beam intensity

## Slide 13: Beam Current Signals
Single bunch with Gaussian distribution of the particles (long.)
  Number of particles:
  Bunch length (time):
Bunches spaced by an equidistant time
  Fourier series expansion:
  Average beam current:
  Frequency harmonics spaced by:
  Time distance:
    Note: Understand the integration time of the BPM electronics
  Harmonic amplitude factor:
time
amplitude

## Slide 14: Beam Signals: Harmonic Amplitude Factors
Bunch shape | Harmonic amplitude factor Am | Comments
δ-function (point charge) |  | For all harmonics
Gaussian |  | 
parabolic |  | 
(cos)2 |  | 
triangular |  | 
square |  | 
Bunch shape | Harmonic amplitude factor Am | Comments
δ-function (point charge) |  | For all harmonics
Gaussian |  | 
parabolic |  | 
(cos)2 |  | 
triangular |  | 
square |  | 

## Slide 15: Beam Signal Frequency Response
Use Fourier transformation
  instead of Fourier series expansion with infinite sums
Examples: Gaussian and raised cosine (cos2) pulse
  Time domain
Time domain (N=1011)
Frequency domain
Frequency domain log10[magn.(f))/log10[magn.(0)]
Frequency domain

## Slide 16: More on Image Charges and Image Currents
Relativistic beams v ≈ c:
  Electrostatic problem of a line charge in a conductive circular cylinder
Solution based on the image charge method:
  Image current density
  Image current integrated on BPM electrode A
  Similar solution for electrode B or for vertically arranged electrodes

## Slide 17: Normalized Beam Position Characteristic
Pair of symmetric horizontal electrodes:
  Horizontal and vertical beam position:
Normalized beam position characteristic Δ/Σ (horizontal):
  Approximation and closed form solution

## Slide 18: Example
Position characteristic for R = 12.5 mm, α = 300:
Approximations
  Point-like electrodes:
  Small beam positions:

## Slide 19: Logarithmic Ratio Normalization
Results in a more linear position characteristic
  The example for R = 12.5 mm, α = 300 gives a sensitivity of 2.75 dB/mm near the origin

## Slide 20: BPM with 450 Rotated Electrodes
Popular in synchrotron light and damping rings, and in the LHC!
  Prevents that sync light, or collision debris, hits the electrodes
    More non-linear position behavior
    Reduced position sensitivity (this example: 1.94 dB/mm)
  Same mathematical procedure, but with coordinate rotation of 450

## Slide 21: Numerical Analysis (1)
For most button or stripline type BPMs: 2D E-static analysis
  Relativistic beam long bunches
  Solve the 2D E-static potential problem
    BUT: without varying for many positions
  Apply Green’s reciprocity theorem and solve the Laplace equation in 2D:
line charge density
potential
2D “slice”, prepared with tetrahedral mesh for the numerical analysis
Result of the quasi-2D numerical analysis: equipotentials of the right electrodes

## Slide 22: Numerical Analysis (2)
For a horizontal BPM
  Mirror the potential field
  And then combine the fields
    Can be performed for any symmetric arrangement of the electrodes
Comparison:
analytical analysis
numerical analysis
analytical - numerical

## Slide 23: 1D Non-linear Correction
The 2D electrostatic analysis enables
  optimization of the characteristic impendence of a stripline
  Coverage factor, centered beam sensitivity
  Correction of the non-linear position behavior in 1D or 2D
    By look-up tables or a polynomial fit function
Find a 1D polynomial fit function for horizontal beam displacements
  Relationship between raw (measured) and true beam position:
  Fit the inverted function by a polynomial of power
    Larger , better fit
      A too high may lead to an unstable fit
    In most cases a x-y symmetry is given, and the same correction polynomial can be applied to the vertical axes
    In practice, the quadradic correction area has to be limited, e.g.
LHC stripline BPM

## Slide 24: 2D Non-linear Correction
1D non-linear correction example:
  Remaining errors for the LHC stripline BPM applying correction polynomials at an area
Find a 2D polynomial fit function for
  Raw and true beam position are given by: with: and
    Notice the swap!
  Fit a 2D surface polynomial for of power and for and

## Slide 25: Examples for 2D corrections
LHC stripline BPM
  Pin-cushion maps ()
    For symmetry reasons some cross-terms are 0, or very small (negligible)
  Remaining errors:

## Slide 26: Higher Order Moments
Particle<->BPM EM-fields are linear and time-invariant
  Superposition principles apply
  Many particles -> BPM detects (approximately) the center-of-charge
    Point charge
But: Non-linear effects allow the detection of higher moments:
  Electrode A signal to N particles:
  After some math gym follows:
monopole moment intensity (common mode)
dipole moment position/
quadrupolar moment (+pos)/

## Slide 27: Effects of the Beam Size
courtesy M. Bozzolan

## Slide 28: BPM with Linear Position Response
Split-plane tube electrode
  radius:
  length:
A beam of
  charge: , position:
induces an image charge on the electrode:
  with a linear position response
A electrode
B electrode

## Slide 29: “Shoe-box” BPM
ground guards
without
with
Split-plane (“shoe-box”) BPM with ground-guards
  Improved sensitivity and reduced cross-talk
  Improved linearity
courtesy P. Kowina

## Slide 30: Spit-Plane BPM
Pros
  Linear position response
    No correction for non-linearities required, simple analog read-out electronics without post-processing
  high transfer impedance at low frequencies
    Good match for long bunches, low-β beam
    High signal levels, allows operation at low frequencies with high load impedance
Cons
  Complicated mechanics, requires sufficient real-estate
  High capacitive source impedance, reflective
  Eigenmodes at low frequencies, high beam coupling impedance
    Limited to low frequency operation, typically <300 MHz

## Slide 31: “Shoe-box” BPM Example
Technical realization at the HIT synchrotron of 46 m length for 7 MeV/u 440 MeV/u
BPM clearance: 180x70 mm2, standard beam pipe diameter: 200 mm.

## Slide 32: Button BPM Equivalent Circuit
Increase | Effect
dbutton (larger area & Cbutton) | Higher signal level Lower resolution
tbutton (larger volume) | Lower wake impedance Lower resolution, higher weight
wgap (more trapped modes) | Higher resolution Higher wake impedance
typically 50 Ω
time constant
1/electrode transit time
coverage factor
button capacitance, very simplified typically 2…15 pF

## Slide 33: Button BPM
Pros
  Robust simple construction, cost effective, minimum real-estate
    RF UHV feedthrough and button is a single element
Cons
  High-pass characteristic with high cut-off frequency
    Typically >= 500 MHz,
    bad match to operate with long bunches, or at low frequencies
  Capacitive source impedance, reflective

## Slide 34: Examples of Button BPMs
ATF Button BPM (KEK)
NSLS-II Button BPM (BNL)
TTFII Button BPM (DESY)
located inside an undulator magnet
LHC Button BPM (CERN)

## Slide 35: Stripline or Directional Coupler BPM
beam
upstream ports
upstream ports
Pair of symmetrical arranged strip-lines

## Slide 36: Stripline BPM
Strip transmission-line of characteristic impedance Z0 = 50 Ω
No dielectric materials (εr = 1, vacuum)
  TEM fields of the signal, except near the transition at the ports
Coupling to the TEM field of the beam
  Electric and magnetic field coupling
Only the upstream port delivers a beam signal!
  Directional coupler
Both ports are terminated
  Sometimes the downstream port is shorted to ground
    No directivity

## Slide 37: Stripline BPM Principle (1)
+
+
-
-
stripline
upstream line
upstream port
downstream port

## Slide 38: Stripline BPM Principle (2)
annihilation
Stripline BPM response:
  δ-doublet pulse, space by

## Slide 39: Operational Principle: Beam from Left
+
+
+
+
+
Upstream Port (term.)
Downstream Port (term.)
Up
Down

## Slide 40: Operational Principle: Beam from Right
+
+
+
+
+
Downstream Port (term.)
Upstream Port (term.)
Down
Up

## Slide 41: Transfer Impedance
Time domain impulse response: δ-doublet pulse
Frequency domain transfer impedance
  Lobes at:
  3dB lobe bandwidth:
time
amplitude
characteristic impedance
typically 50 Ω
coverage factor

## Slide 42: Stripline BPM
Pros
  Well defined, and high transfer impedance function
    For striplines with l >> w, TEM operation
    Can be “tuned” to match a dominant beam frequency
      Optimizing the length of the stripline
  Matched characteristic impedance with 50 Ω source
    Only for terminated ports
      Shorted downstream port: 0 Ω source, no directivity
    Reduced reflection effects between generator (stripline BPM) and read-out electronics!
  Directivity
    Separate beam position measurement of counter-rotating beams
      e.g. near the IP in a ring collider
Cons
  Complicated, fragile mechanics, high costs, requires sufficient real-estate
    More RF feedthroughts required, impedance control of the stripline, strip-electrode may require a support structure

## Slide 43: Examples of Stripline BPMs
Ceramic posts
hold the electrode
Impedance Match
at the post
Inner-shielding bar
reduces electrode
to electrode
coupling
Stripline BPM SNS (ORNL)
Stripline BPM LHC (CERN)
Stripline BPM FLASH (DESY)
Stripline BPM
inside a quad FLASH (DESY)

## Slide 44: Bunch Signals from broadband BPMs
Button BPM output signal to a Gaussian bunch
Stripline BPM output signal to a Gaussian bunch
  at the upstream port

## Slide 45: Limits of the Analytical Analysis
Stripline BPM response in the frequency domain
No closed form expression which includes important details
  high frequency effects a the feedthrough transition
  attenuation and dispersion of long coaxial cables
  effects of low-β beams
Numerical analysis of the EM problem
  With a beam field as stimulus signal

## Slide 46: Numerically generated BPM Signals
Gaussian bunch:
  vertical beam offset=1mm
BPM sensitivity:
  e.g.: 2.7 dB / mm
Sensitivity: 2.7 dB/mm

## Slide 47: Resonant Cavity BPM
Based on a beam-excited, passive resonator
  Often a cylindrical “pillbox” cavity is used
  Operating on the TM110 dipole-eigenmode offers a higher resolution potential than comparable broadband BPMs (button, stripline).
    No common-mode signal, only a difference signal
    High transfer impedance, typically in the kΩ/mm range
TM010
(monopole)
TM110
(dipole)
TM020
(monopole)
courtesy D. Lipka

## Slide 48: Towards a Cavity BPM…
Eigenmodes in a brick-style resonator
  1st step towards a cavity BPM
  Unfortunately you need to go through the math of the modal expansion of the vector potential …😰
Laplace equation:
Product ansatz (Cartesian coordinates):
General solution (field components):
standing waves
travelling
waves
separation condition:
a
b
c
Eigen frequencies:

## Slide 49: Cylindrical “Pillbox” Cavity Resonator
Same procedure, but now with cylindrical functions 😢😢
Product ansatz (cylindrical coordinates):
General solution (field components):
standing waves
travelling
waves
separation condition:
,
(1,2)see Abramowitz and Stegun
Eigen frequencies:

## Slide 50: Cavity BPM
Beam couples to: dipole (TM110) and monopole (TM010) & other modes
Common mode (TM010) frequency discrimination
Decaying RF signal response
  Position signal: TM110
    Requires normalization and a phase reference
  Intensity signal: TM010
time domain bunch response

## Slide 51: Common-mode free Cavity BPMs
Add slot-coupled waveguide TE01-mode high-pass filter between cavity and coaxial output port.
  Finite Q of TM010 still leaks into TM110!
The dipole mode has two polarizations
  which will orientate along imperfections, or as wanted along the coupling slots
    Requires tight tolerances to minimize x-y cross talk
monopole mode
dipole mode
courtesy D. Lipka

## Slide 52: Cavity BPM
Pros
  No or minimum common mode signal contribution in the ∆-signal
    Frequency discrimination of dipole (TM110) and monopole (TM010) modes
  High resolution potential
    High shunt (transfer) impedance of the TM110 mode
      Even for lower Q tuning of the TM110 mode
    Sub-μm signal pass resolution potential
Cons
  High beam coupling impedance
    No free lunch: high impedance may cause beam break-up and/or instabilities
    No or very limited use in ring accelerators
  Requires a reference monopole mode (TM010) resonator
    Beam phase and intensity
  Limited position range
    ~half aperture
  Requires advanced RF read-out electronics
  High-Q resonator may not be suitable for single bunch position measurements

## Slide 53: Examples of Cavity BPMs
Courtesy of D. Lipka & Y. Honda
DESY XFEL 3.3 GHz cavity BPM
Setup of several 15 GHz cavity BPMs at the CLIC Test Facility linac
KEK C-Band
Cavity BPM,
resolution <10 nm

## Slide 54: Other Types of BPM Pickups
Less popular, but sometimes better suited for a specific application
  Stripline BPM with shorted downstream ports
  Exponentially tapered stripline BPM
  Re-entrant cavity BPM
  Resonant stripline of button BPM
  Inductive BPM, …
    In common: based on symmetry
exponential stripline BPM (CERN)
re-entrant cavity BPM (KEK)
inductive wall-current BPM (CERN)

## Slide 55: Summary Part 1
What have we learned?!
  It is hard to stay up on Sunday morning and to follow a BPM session…
What else have we learned,… about BPMs?!
  BPMs are based on symmetry
    Detect the asymmetric beam position by a pair of symmetrically arranged electrodes or by a symmetric resonant, beam driven cavity
  BPM pickups are non-invasive
    Detect the beam’s center-of-charge by electromagnetic coupling
  Broadband BPM electrode (stripline, button, etc.) signals
    contain information of the beam position and the beam intensity
      Need to “normalize” to extract a position signal
    May have a non-linear position characteristic
    Have a broad spectral response
  Resonant cavity BPMs
    Have a frequency selective beam response
    Have a high resolution potential
      No or only little “common mode” signal contribution in the dipole mode