## Slide 1: Some implementations of optical resonators in accelerators
Outlook
First iplementations with cw lasers
Pulsed laser cavities
ThomX, some details

## Slide 2
Cw NdYag laser
Cavity Finesse 26000
Power 1.5 kW
Mirrors from LMA/Lyon
Analog feedback & very low linewidth cw oscillator

## Slide 3
Beam pipe
soufflet
Pompes ioniques
laser
Support
miroir
Support
miroir
Amortisseurs
passifs
polarimeter
~2000
DESY / HERA
~30GeV
CW laser
2 mirrors, 2 m long
Finesse~25000
Power ~3kW
Mirrors from LMA/Lyon

## Slide 4
Tube protons

## Slide 5
Blindage (3 mm pb) +
isolation thermique
(sandwitch Alu/isolant/Alu)

## Slide 6
2-mirror cavity
Cw laser
Installed in ATF / KEK
Laser-wire

## Slide 7
2-mirror cavity &
7ps pulsed laser
3ns green laser
Donuts beam

## Slide 8
78 ps pulses, 4-mirror cavity & compensation of ellipticity  cavity finesse ~ 1700
2 spherical mirrors
 Mode focusing
2 planar mirrors
 synchronization
Planar 4-mirror cavity

## Slide 9
ATF e- beam
Injection laser
2 flat mirrors
2 spherical mirrors
laser/beam
Interaction point
Angle laser / e- beam= 8°
Non planar 4-mirror cavity for ATF
ATF beam pipe: 5mm slit…
(LAL/KEK/CELIA/LMA)
Contrat ANR
2008-2012
Polarised positron source
Circularely polarized eigen mode
10ps pulsed laser ~50kW stored average power
Mirrors from LMA/Lyon

## Slide 10
translation Z actuators
Gimbal mounts θx θy ± 10 mrad
actuator
translation : 3 balls on guide rail and plan
θx
θy
OVERALL DESIGN PRINCIPLE
Encapsulated commercial stepper motor
bellow

## Slide 11
Vacuum vessel for ATF
500mm
e-
5 mm slit on beam pipe inside cavity

## Slide 12
Implementation at ATF / KEK
Pulse Motor Port
for
Up-Down Move
Pulse Motor Port
for
Horizontal Move
Assumed ATF Beam Line
From KEK / Hirotaka-san
Funahasi-san’s ATF micrometric table mount
system

## Slide 13
‘main issues’ :
cleanliness (very low loss mirrors coatings)
‘Complexe’ dynamical behaviour with high average power
   feedback instability …
R&D going on with cavities
Stable run of hours with ~100 kW (LAL)
Modal instability when reaching ~400kW (LAL)
Collaboration with KEK and recently with Minalo’s group
Pierre Favier

## Slide 14
Idea at KEK that avoid high average power

## Slide 16
Very promessing for LINACS
K. Sakaue

## Slide 17
Interaction area
~ 18 meters
Notes: ThiS is the electron machine.
Here : the electron gun with photocatode
Then : accelerating section
A transfert line
Then the electron is stocked in the ring
Finally a extraction line and the dump.
The interaction point is here

## Slide 18
200mm
Interaction point
No space
Notes: There is only 20 cm between the dipoles. It’s very tight.

## Slide 19
Diameter 800 mm
Not possibile to integrate 1 vacuum chamber
Notes: It is not possible to integrate 1 vacuum chamber like a mightylaser chamber because it is too larged !

## Slide 20
Interaction point
X ray
2 vacuum chambers
350 diameter
Notes: The laser beam cross the electron beam with 2 degrees in order to get out the x ray in the middle of mirrors.

## Slide 21
Miroir plan 4
Miroir plan 1
Miroir sphérique 2
Miroir sphérique 3
IP
e-
~ 2100 mm
Laser
Compton 20 mrad
(half angle)
Optical path : ~ 9 mètres (30 Mhz)
Laser oscillator rep. rate & CEP locking
@ Dn/n ~10-12
Notes: So you can see the 2 vacuum chambers connected by interaction chamber (in blue)

## Slide 22
Chambre de dipôles
RIAL Vacuum Comp.
Notes: The IP chamber is used to make connection between the two mirrors cavity and the electron ring,
There are two parts, one octogonal section for the electron beam and one rectangular section for the laser beam.
The two parts are connected by 2 slits.

## Slide 23
Chambre de dipôles
Slits for laser and X ray
Notes: So this is a cut section of cavities. We can see the 2 slits who connect the laser to electron.

## Slide 24
Chambre de dipôles
Mirror adjustment system
Notes: Now, I will talk about the mirror adjustment system

## Slide 25
Enceinte à vide
DN250CF flange
Notes: The vacuum chamber allowed to install easier the mirrors by a 250 flange on the side.

## Slide 26
Ajustment mirror acces
Notes: Here the mirror acces on side

## Slide 27
Notes: Inside the chamber you can find 2 trucks on stainless steal heavy base

## Slide 28
Système d’ajustement des miroirs
3 ceramic balls on tracks
The flex part allows to rotate around the center
Step motor
Ceramic
Sub-C connector
Ajustment of frequency or focalisation
Notes: This is a truck’s detail.
There are 2 step motors encapsulated (no contact with a vacuum) who push the flexor to have a rotation around the center of mirror
And one step motor who push the heavy base for a translation in order to adjust the frequency (for the plan mirror) or the focalisation (for spherical mirror) .
This translation is made thanks to tracks and 3 ceramic balls (2 on « v » track and 1 on plan track)
The resolution of the motors is 0,1 micrometer.

## Slide 29
ThomX 1’’ mirror mount
Notes: Here the mirror mounting.
We use springs to have a good pressure on the mirror. The pressure is on the chanfer in order to not stress the optic

## Slide 30
Notes: The fabry perot cavity is installed on a big granit table ( around 6 tonnes) with hexapod (made by a french compagny called SYMETRIE) for match the electron beam
The hexapode allowed to 6 mouvments (3 rotations, 3 translations) around the interaction point.
We have a very high resolution about 1 micrometer for translation and 2 microradian for rotation.

## Slide 31
Notes: The assembly is under the air flow ISO5 with an airlock.

## Slide 32
1 nm
Quite complexe ultra-high vacuum mecanics
& tedious assembly
Slip-Stick Piezo technology
Very compact
Very simple and easy to use …
Futur ?
Notes: For ThomX or Mighty laser we used Ultra high Vacuum Technologie (around 10-10 mbar) BUT if you need a vacuum level around 10-6 ou 10-7, WE USE a standar part with vacuum compatibility,
This is Differents standards parts with Piezo technologie.
You can see the compacity of the system. It is less complicated but we keep a very good resolution in order to piezo technologie

## Slide 33: Global architecture
Low phase noise Oscillator
Amplificateur
Cavité optique
IP
<P> ~ 10 mW
<P> ~ 150 W
<P> ~ 500 kW
Anneau e_
Strecher
Compressor
Laser oscillator and fiber amplifier
Amp. #3
Amp. #2
Amp. #1
5 mW
150 W
Gain ~ 30000
CELIA Lab.

## Slide 34
laser system
Max power : 210 W
Stability over 90h @ 104 W :
210 W
h=69%
fiber amplifier
Fiber amplifiers are very efficients
CELIA Lab.

## Slide 35: laser system
Beam quality at high power
0A/4W
5A/97W
8A/158W
11A/200W
fiber amplifier : laser beam quality
CELIA Lab.

## Slide 36
At LAL we reached 400kW with a 25000 finesse cavity with new generation of COMMERCIAL low noise Yb dopped oscillators
(which was not the case few years ago …)
Feedback technology well known (from metrology)

## Slide 37
Summary & issues
Optical resonators for Compton scattering
Fibre laser & low noise oscillator are now available
Optical axis very stable in our 4-mirror optical cavities
High finesse mirrors require cleanliness …
Quite complex mechanical system
  Shortening the cavity  higher e-bunch frequency
  Use Slip-strick piezos of other technologies
Modal instabilities are for now limiting the average stored power
  R&D going on
  At lest 100kW-400kW will be provided for ThomX starting
Burst cavity proposed/tested at KEK
  Promising for LINACs

## Slide 38
Place for ATF beam pipe
Mirror mount troncated to decrease incident angle : 8°
Beam pipe : aperture slit of 5mm

## Slide 39
Notes: Concerning the vacuum level, all parts is made for UHV.
We design, clean, make baking and leakcheck test at 10-10mbar/l/s all parts
We are 4 Ionic pumps (around 1300 L/s)
2 turbo pump 6 gauges in situ baking system at 150 °C
2 mass spectrometers