## Slide 1: RRR measurement setup at CERN
Konrad Eiler

## Slide 2: Overview
LHe supply
Samples are in vacuum, cooled by through LHe and copper plate
Cold mass
(Cu plate)
as sample holder

## Slide 3
Top view
This setup allows us to measure both straight
as well as bent samples
(e.g. cut from cavities)

## Slide 4: Bottom view

## Slide 6: Setup data
Sample size: 120 mm x 2 mm x 2 mm
Max 6 samples in setup
Series connection, current: 5 A
2 Temperature sensors type TVO
Kapton foil for isolation
Acquisition of between 6 and 20 K without heating

## Slide 7: Results
at cold
exponential fit
at 300 K