## Slide 1: LAr purification from Rn
Grzegorz Zuzel
Jagiellonian University, Cracow, Poland
DS-20k CERN meeting, 26-27.10.2017, CERN, Switzerland

## Slide 2
Sources of Rn in the DS detectors
Cryo-adsorption of Rn
Removal of Rn from (L)Ar
Summary
Outline

## Slide 3
Sources of Rn in the DS detectors
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar
222Rn in DAr
T1/2 = 3.8 days

## Slide 4
Sources of Rn in the DS detectors
222Rn in DAr
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar

## Slide 5
Sources of Rn in the DS detectors
222Rn in DAr: 1 mBq/m3 (0.6 mBq/kg)
Atot (30 tons) = 18 Bq
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar

## Slide 6
Sources of Rn in the DS detectors
222Rn in DAr: 1 mBq/m3 (0.6 mBq/kg)
Atot (30 tons) = 18 Bq
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar

## Slide 7
Sources of Rn in the DS detectors
TPC
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar
Internal: emanation from parts
inside the detector, Rn
enters directly LAr
External: emanation from
auxiliaries,
(purification loop)
222Rn emanation
Getter
Pump

## Slide 8
Sources of Rn in the DS detectors
TPC
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar
222Rn emanation
Getter
Pump
Rn removal
system
Internal: emanation from parts
inside the detector, Rn
enters directly LAr
External: emanation from
auxiliaries,
(purification loop)

## Slide 9
Sources of Rn in the DS detectors
222Rn in DS-50: 2 Bq/kg (constant in time)
DS-20k: Atot (30 tons) = 60 mBq
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar

## Slide 10
Cryo-adsorption of Rn
Vt
C0
CN
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar

## Slide 11
Cryo-adsorption of Rn
Vt
C0
CN
1
0
R
CN/C0
Vg V
0.5
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar
R – Rn reduction factor

## Slide 12
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar
Cryo-adsorption of Rn

## Slide 13
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar
Cryo-adsorption of Rn

## Slide 14
1 L of CarboAct
>32 000 m3 of Ar
(>53 tons)
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar
Cryo-adsorption of Rn

## Slide 15
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar
222Rn content in LAr
222Rn content in Ar 100-1000 higher compared to N2

## Slide 16
222Rn removal from (L)Ar
MoREx (MPI-K HD)
H. Simgen, G. Zuzel, Appl. Radiat. Isot. 67 (2009) 922
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar

## Slide 17
Rn removal from (L)Ar by low-temperature adsorption is very effective
Purification in the liquid and in the gas phase has been already demonstrated, specific activities down to Bq/kg (or lower) achievable
Gas-phase purification preferred
Purification system for DarkSide may be based on a kg-scale column containing CarboAct (very pure in terms of 226Rn content)
Operational conditions to be defined (temperature, gas flow, Rn emanation from components, …)
Summary
222Rn sources
Summary
222Rn cryo-adsorption
222Rn removal from (L)Ar