## Slide 1: Mini-Thermosyphon CP Test
J. Direito
(EN/CV/DC)

## Slide 2: Objectives
Validation of the Thermosyphon concept in a small scale test (low cost).
Report the behavior of system during Start up/operation/shut down (data acquisition)
Gain experience during operation of this small scale test.

## Slide 3: Thermodynamic Cycle
Available Height of 13m => max dP of 1.9 bar

## Slide 4: Layout at B-191
Chiller
Condenser
Dummy Load

## Slide 5: P&I

## Slide 6: Part List