## Slide 2: De-convolution algorithm to properly remove dispersive profile for emittance calculations
G. Sterbini and J. F. Comblin
Special thanks to A. Oeftiger, A. Huschauer, H. Bartosik, B. Mikulec

## Slide 3: The deconvolution problem and beam emittance
By using the Wire Scanner (WS) we can measure the transverse profile of a beam, ρWS, i.e., the convolution of the betatronic profile ρβ and the dispersive profile ρD
ρWS = ρβ ⊗ ρD.
We present some details of the various deconvolutions algorithms.
For more details /eos/user/s/sterbini/MD_ANALYSIS/2017/PS/Deconvolution.ipynb
our
UNKNOWN,
needed to compute
beam emittance

## Slide 4: The deconvolution problem
The deconvolution it is a typical system identification problem (get input from output, get impulsive response of the system…).
It is an ill-posed problem difficult to solve in presence of noise.
On can attack the problem
by introducing working hypotheses on the two profiles (ρβ and ρD are Gaussian, present approach, trivial deconvolution),
in frequency-domain (difficult),
in time-domain (difficult),
by introducing a working hypothesis on one profile (ρβ is Gaussian, approach proposed by A. Oeftiger)
ρWS = ρβ ⊗ ρD

## Slide 5: 1. Assuming ρβ and rD Gaussian
The convolution of two Gaussian profiles is also Gaussian, with variance being the sum of the original variances. The deconvolution in this case is straight-forward since reduces to an algebraic problem (trivial deconvolution).
sβ2 = sWS2 - sD2.
We consider Gaussians with sWS=5 mm and sD=3 mm their de-convolution will have sβ=4 mm.
ρWS = ρβ ⊗ ρD
from the WS
from the tomo

## Slide 6: 2. Deconvolution in frequency domain
No special assumptions.
ρWS = ρβ ⊗ ρD
ρβ=IFFT(FFT(ρWS)/FFT(ρD))
“Filtered”

## Slide 7: 3. Deconvolution in time domain
Convolution and Toeplitz matrix
ρWS = ρβ ⊗ ρD
No special assumptions.

## Slide 8: 4. Assuming ρβ Gaussian
ρWS = ρβ ⊗ ρD
For convenience we need to center and normalize the distributions ρWS and ρD
so we can solve in the least square sense a problem with a single parameter (sβ).
The stability of the algorithm is much improved since the unknown is a scalar and not a function.
An offline code for this algorithm is available, see for instance /eos/project/l/liu/Instrumentation/tomography/ExtractProfileCPS.ipynb
Recently this algorithm has been implemented in a GUI by J.F. Comblin.
Sanity check on the working hypothesis

## Slide 9: Test application of the WS and deconvolution
BIG THANK TO J.F. Comblin
Applications still under test.
Your help and contribution are needed!
No yet in CALS.

## Slide 10: Example in the PSB
In the next examples we will consider the operational cycles 8b4e
PSB>LHC3>8b4e_BCS
PS>MD8> LHC25#32b_BCS_8b4e
rb
rD
ρWS = ρβ ⊗ ρD
rWS
PSB at extraction

## Slide 11: Example in the PSB
Strong dependence on dispersive profile.

## Slide 12: Example in the PS
PS at extraction
PS at injection
rb
rD
rWS
rb
rD
rWS

## Slide 13: Example in the PS
Strong dependence on dispersive profile.
PS at injection
PS at extraction
PS Dx at extraction

## Slide 14: Summary
Different approaches to solve the deconvolution problem to get rb.
As planned, a GUI interface has been prepared to ease the new (more general) approach.
  CALS logging still missing
  Tab to consider the effect of the dispersion
In the regime of the present beam/optics the dispersive contribution to the WS profile is VERY important (sometime dominant). This will even get worse for LIU beams.
In this regime, an error in the dispersive profile will result in a significant error in the H emittance computation.
Can we improve the accuracy of the measurement of the dispersion at WS?
How can we improve the situation? Can we reduce the DeltaP/P during the WS measurement at PS top energy?