## Slide 1
Radiological Implication in case of Fire
Doris Forkel-Wirth
CERN, HSE-RP
13th December 2017
EDMS No. 1369690
Notes: 1

## Slide 2: CERN - CONSEIL EUROPÉEN POUR LA RECHERCHE NUCLÉAIRE
1954:
Created by 12 European States
First European Organisation
Focus on nuclear physics (“nucleaire”)
Today: Particle Physics
EDMS No. 1369690

## Slide 3: CERN’s Main Accelerator Chain

## Slide 4: LHC
LHC - injectors
LHC - collider
27 km circumference
4 experimental caverns
2 proton beams a 7 TeV

## Slide 5
Main accelerator Chain at CERN (low-energy part)
LINAC (50 MeV)
200 m
Booster (1.6 GeV)
Proton Synchrotron (26 GeV/c)
EDMS No. 1369690

## Slide 6
1 km
Super Proton Synchrotron (450 GeV/c)
LHC (2 x 7 TeV)
Accelerators at CERN
(high-energy part)
SPS Circumference: 7 km
SPS beam
Fixed target experiments
LHC
FT
CNGS

## Slide 7: Prompt Ionising Radiation
Cosmos
Hadron accelerator
Particle impact creates high-energy mixed radiation fields
Highest particle energy measured: 3.2×1020 eV
up to 7 TeV
EDMS No. 1369690

## Slide 8: Origin of Radiation
beam on
beam off
Beam loss
Radioactive decay in activated material

## Slide 9: Some Key Figures…
Radiation Areas and Radioactive Laboratories:
~ 50 km accelerator tunnel
Class A, C laboratorites
RIB facility ISOLDE
Spallation source n-TOF
~ 50 - 60 access points
~ 160 experiments
~ 7000 radiation workers
new projects

## Slide 10: Operational Radiation Protection
1 hour
1 week
1 month
From design
to reality
EDMS No. 1369690
Notes: HiRADMat
Ramses materials
-yellow inside facility
- Red ventilation outlet

## Slide 11: Radiological Accident Scenarios
Each time a new facility has to be designed, the radiological impact in case of an accident has to be assessed
Until today the worst radiological scenarios had been always identified as fire in an area where radioactive material is present (e.g. magnets, cables, targets, shielding…)
Input for fire prevention and CERN’s emergency preparedness

## Slide 12: Radiological Impact - Parameter
Radioactive inventory: known (calculated or measured)
Fire parameters:
  Scenarios?
  Temperature profile?
  Duration?
  Percentage of radioactivity released from radioactive components?
  Percentage to radioactivity transported to the outlet?
Dispersion of radioactivity into the environment – known (calculated)
Result: very conservative estimates!
(e.g. all radioactivity is released)

## Slide 13: Wishlist
Realistic fire scenarios are required for
  Fire prevention
  Emergency preparedness
  Realistic assessment of radiological impact in case of fire
In addition:
  Pragmatic fire related rules and procedures for non-standard facilities like CERN’s accelerator complex