## Slide 2: Working on the CERN Site Prestations sur le Site du CERN
Pierre Bonnal, Simon Cherault, or Bertrand Nicquevert on the behalf of all Services concerned

## Slide 3: Agenda
Aim: going through document “Working on the CERN Site”
Compliance with Laws
Hours, Access, Reception Conditions
Safety and Safety Coordination
Storage Transport and Handling
Utilities and Work Site Services
Miscellaneous…

## Slide 4: Purpose
CERN has set up working rules
Contractors and contractors’ personnel shall comply these rules where applicable
This document “Working on the CERN Site” highlights rules that may have a cost for contractors
=

## Slide 5: Applicability
This document is subject to change
The latest version applies and is downloadable from: http://procurement.web.cern.ch/en/key-reference-documents
The contractor shall regularly consult this link

## Slide 6
Section 1
Compliance with Laws

## Slide 7: 1.1 General Obligation
The contractor shall comply with all applicable laws, i.e. all CERN rules and regulations applicable to the execution of the contract including:
http://cern.ch/hoststates
http://cern.ch/safety-rules
See also presentation related to the “4P” by the Procurement Officer

## Slide 8: 1.2 Competent Authorities

## Slide 9
Section 2
Hours, Access and Reception Conditions on Site

## Slide 10: 2.1 Working Hours and Days
Official CERN Working Hours
Normal Working Hours
Specific Authorizations (outside Normal Working Hours)
“Authorization to work outside normal working hours and days”
Authorization(s) from Work Inspectorate of the Host State

## Slide 11: 2.1 Working Hours and Days (cont’d)
Working Days
Monday Tuesday Wednesday Thursday Friday
Public Holidays
CERN closes for two weeks at the end of the year
1st January
Good Friday
Easter Monday
Ascension Thursday
1st May
Whit Monday
The “Jeûne Genevois”
24th December
25th December
31st December

## Slide 12: 2.2 Access to the CERN Site
Access card incl. access rights to specific areas
Safety awareness
and/or training CERN general Safety course + specific to the areas
+
This takes time !!

## Slide 13: 2.3 & 2.4 Access to Facilities
Specific authorizations are required for:
2.3 Surface Technical Installations
2.4 Beam Facilities
    PS Complex *
    SPS Complex *
    LHC Complex *
    * incl. corresponding Experimental Areas
Operation vs. Shutdown periods

## Slide 14: 2.6 Access Card Withdrawal
Non-compliance with the rules applicable on the CERN site can result in
the withdrawal of the access card, and thus of the access authorization to the CERN site!

## Slide 15: 2.7 Portable Cabins and Car Parks

## Slide 16
Section 3
Safety and Safety Coordination

## Slide 17: 3.1 Work Categories
First Category Works  large-scale operations | 
WSCP (Work & Safety Coordination Plan) SSHPP (Special Safety & Health Protection Plan) | Drawn up by CERN Drawn up by the contractor
Second Category Works  other operations or services | 
PP (Prevention Plan) | Prepared jointly by CERN and the contractor (at CERN’s initiative)
Technical Stops  specific operations or services | 
WSCP (Work & Safety Coordination Plan) Risk assessment(s) | Drawn up by CERN Drawn up by the contractor

## Slide 18: 3.2 Monitoring of Health and Fitness to Work
The contractor is responsible for monitoring the health
of his personnel in accordance with laws
Special monitoring may be required

## Slide 19: 3.3 Specific Hazards
Protective and preventive measures to implement

## Slide 20: 3.4 Electrical Hazards
Case 1: Non-electrical works in technical installations and beam facilities
Prerequisite:
Having followed CERN’s 15-min on-line electrical safety awareness
Then, access authorization delivered by CERN

## Slide 21: 3.4 Electrical Hazards
Case 2: Electrical works in technical installations and beam facilities
Prerequisite:
Having followed CERN’s 15-min on-line electrical safety awareness
Having followed the appropriate electrical safety training  Contractor
Being in possession of the appropriate electrical certification  Contractor
Then, access authorization delivered by CERN

## Slide 22: 3.5 Fire Hazards
CERN Fire Permit procedure
CERN Fire & Rescue Service

## Slide 23
Limited to some facilities or equipment
Participation in risk assessments
3.6 Flammable Gases Hazards

## Slide 24: 3.7 Rupture Hazards
Limited to some facilities or equipment
Participation in risk assessments

## Slide 25: 3.8 Cryogenic Hazards
Pressure
Asphyxiation (O2 deficiency)
Cold burns
Wearing of a portable ODH detector may be required
+ CERN’s 10-min on-line ODH detector awareness

## Slide 26: 3.9 Self-Rescue Masks
LHC and SPS underground areas
Self-rescue mask safety training
(2-hour training, organized by CERN)
Masks supplied and maintained by the contractor

## Slide 27: 3.10 Chemical Hazards
Limited to some facilities and equipment
Participation in risk assessments
3.10.1 Asbestos Hazards
3.10.2 Storage of Hazardous Materials
3.10.3 Transport of Hazardous Materials

## Slide 28: 3.11 Working in Confined Space
The presence of a person supervising outside the area is compulsory
CERN permit to enter procedure
One-day training organized by CERN

## Slide 29: 3.13 Ionising Radiation
Works in Radiation Areas:
Authorisations from competent authorities
Qualified expert (2013/59/EURATOM 24 Dec. 2013)
Exposed workers:
Appropriate RP training
Dosimetric monitoring
Medical follow-up

## Slide 30: 3.13 Ionising Radiation
CERN’s 45-min on-line RP training
One-day RP training organised by CERN

## Slide 31
In addition to their own dosimeter, CERN provides to exposed workers:
Personal dosimeters (obligatory)
Additional extremity or operational dosimeters as required
All industrial radiography activities are subject to CERN’s prior written approval
3.14/15/16 Dosimetry, Radiography
Notes: x

## Slide 32: 3.18 Magnetic Field Hazards
Restriction for persons not medically
fit to work in magnetic field environment

## Slide 33: 3.20 Working at Height Hazards

## Slide 34: 3.22 Hazards with Lone Working
Participation in risk assessments

## Slide 35: 3.23 Emergency Rescue Organization
Permanent presence of
occupational first-aiders

## Slide 36: 3.24
Immediate Stoppage of Activities
All persons have the duty to stop an activity
if they judge that it presents
an imminent and serious danger
The competent Host State authorities
and CERN representatives
may also stop the activity with immediate effect

## Slide 37: 3.25 Environmental Protection
Xyz
Xyz
Xyz
  Waste shall be temporarily stored in the designated areas and regularly evacuated
CERN commits itself to respect and protect the environment (air, soil, natural environment, etc.) and to respect the applicable environmental regulations
Notes: Insist oraly that as a baseline, contractor and contractor’s personnel shall take care of their waste while CERN will take care of its wsate.

## Slide 38
Section 4
Storage, Transport and Handling

## Slide 39: 4.1 Storage Areas
Storage space availability is an issue in underground areas (SPS and LHC)
Passage areas shall be kept free
Only marked out storage area
Stored equipment/bulk property clearly identified
Warning signs on both/all sides

## Slide 40: 4.2.1 Vertical Handling Operations in the Access Shafts
Handling equipment: operated
exclusively by CERN
Requests: through CERN technical contact
(5 working days before)

## Slide 41: 4.2.2 Use of Bicycles in the Underground Structures
The contractor may
use bicycles
Model approved
Parked in compliance with rules

## Slide 42: 4.3 Customs Formalities
Belonging to CERN or being sent to CERN
by CERN’s Import-Export Service
Belonging to the contractor
contact Custom’s Office or Custom’s Agent

## Slide 43
Section 5
Utilities and Work Site Services

## Slide 44: 5.1 CERN Computing Resources
In compliance with CERN Op. Circular no. 5

## Slide 45: 5.2 Communication Networks
CERN internal telecom network limited to 6XXXX, 7XXXX and 16XXXX
“CERN Mobile Phone” Contract limited to 6XXXX, 7XXXX and 16XXXX External communications at contractor’s expense

## Slide 46: 5.3 Electricity and Lighting
400 V, 32 A or 63 A CE type sockets
230 V, 10 A Swiss type sockets
even on French side
Compliance with CERN Safety Code C1

## Slide 47: 5.5 Principe of Ventilation of Underground Works
Constant air velocities in underground works
Ambient temperature ca. 16 ºC

## Slide 48: 5.6 Water Distribution and Sewage
Water can be supplied to contractor (request shall be made to CERN technical contact)
Water can be drained into the CERN site drainage or sewage water network (request authorization through CERN technical contact)
The discharge of water into drainage/ sewage shall comply with laws where the water is collected (France or Switzerland)

## Slide 49: 5.8 Use of CERN Vehicles
In compliance with CERN Op. Circular no. 4

## Slide 50: 5.9 Keys
CERN will provide the contractor with keys to access relevant buildings and rooms, exclusively for the performance of the contract
The contractor shall return all keys to CERN on the date of termination of the assignment of the personnel concerned

## Slide 51
Section 6
Miscellaneous

## Slide 52: 6.1 Visual Identity of the Contractor
Xyz
Xyz
Xyz

## Slide 53: 6.2 Liability and Insurance in Case of High Value Exposure
See clause 27.4 of the General Conditions of CERN Contracts

## Slide 54: 6.3 Performance of the Contract
6.3.1 Time Loss by the Contractor
6.3.2 Disappearance, Loss or Theft of CERN Property
    Specific procedure (CERN/DSU-RH/13100)
    Penalties:

## Slide 55
Many thanks to you for submitting a bid