## Slide 1
Technological mock-up
of detector layer
for FoCal mTower
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting,
CERN, November 15, 2017
NIKHEF:
Thomas Peitzmann Ton van den Brink
LTU:
Slava Borshchov
Ihor Tymchuk (speaker)
Maksym Protsenko
Yuliia Taranova
Activities for FoCal
in Kharkiv

## Slide 2: Outline
Tasks of activity
Composition of the mock-up
Performed works
Developed and fabricated components
Assembly sequence
Obtained results
Further steps
Conclusions
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 3
FoCal mTower
3
24 layers,
24x2 ALPIDE chips
,,mTower”
Note: figure is received from Ton
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 4
mTower: detector layer composition
4
Note: figure is received from Ton
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 5: Tasks of activity
Development and fabrication of technological mock-up of detector layer for FoCal mTower for verifying developed approach
Defining possible design/technological issues at fabrication and/or assembly of mock-up and its components
Note: proposal on development of possible approach received Sept.21,2017
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 6
Performed works
6
Approach for realization has been developed
Assembly procedure has been developed
Technological mock-up is developed and designed
Components are fabricated
Mock-up is assembled
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 7
Nature of the approach
7
For chips-to-flex connection ,,chipcables” are used
All flex cables and boards are made of adhesiveless foiled aluminium-polyimide dielectrics (Al 30um thick, Pi 20um thick)
Interconnection technique is SpTAB
Flex is 4-layered board: bottom+spacer+top+coverlayer
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 8
Developed and fabricated components
(for one mock-up)
8
Absorber (1 pc)
SMD Flex mount (4pcs)
Chipcable (2 pcs)
Flex bottom layer (1 pc)
Flex spacer layer (1 pc)
Flex top layer (1 pc)
Flex cover layer (1 pc)
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 9: Main assembly steps
Assembling MAPSs with chipcables
Assembling multilayered flex
Mounting cutout cables with MAPSs on absorber
Mounting SMDs on chipcable
Mounting flex on absorber with cables
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 10: Step 1: assembling MAPS with chipcables and SMDs
Notes:
each chipcable is developed for 2 sensors
testing MAPS on cable allows to exclude mounting defective MAPSs in detector layer and mTower
Chipcable
Test frame
Framed cable
MAPSs
Aligning,
SpTAB,
Testing,
Protecting bonds
Cutout cables
(with MAPS)
Cutting-off work areas
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 11: Step 2: assembling multilayered flex
11
Flex bottom layer
Two-layered flex
Three-layered flex
Multilayered flex (work area)
Aligning,
laminating
Note:
- layout is developed for 100 Ohm impedance
Flex spacer layer
Flex top layer
Aligning,
SpTAB,
Testing,
protecting bonds
Flex cover layer
Four-layered flex
Aligning,
laminating
Removing technological areas
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 12: Step 3: mounting MAPSs on absorber
12
Aligning,
laminating
Multilayered flex
Chips on absorber
Absorber
Note: for better robustness and reliability dielectric spacers are placed between chipcables and absorber (for each chip)
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 13: Step 4: mounting SMDs on chipcable
13
Chips on absorber
Chips on absorber with SMDs
Flex Mount
SMDs (0402,
1,1mmx0,6mmx0,6mm)
Flex Mount with SMDs
Soldering
Aligning,
SpTAB,
Testing,
protecting bonds
Rear view
Front view
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 14: Step 5: mounting flex on absorber
14
Chips on absorber with SMDs
Multilayered flex (work area)
Aligning,
SpTAB,
Testing,
protecting bonds
Detector layer mock-up
Rear view
Front view
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 15: Open issues
Aligning MAPS chips on absorber – requirements and approach need to be clarified/specified
Type of glue for mounting MAPS chips on absorber (type, requirements?)
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 16: Obtained results
At fabrication of components and assembly of mock-up and assembly units any major issues were not observed
Observed issues need to be discussed
Some minor modifications in design need to be applied
Proposed approach for possible realization of detector layer for FoCal mTower is verified
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 17: Next steps
Development and manufacture of few real prototypes
Development and manufacture technological jig for assembly
Creation of test setup at LTU for functional test of MAPS
Development and verification of test procedures for MAPS and detector layers functional tests
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 18: Conclusions
Mock-up of mTower detector layer is developed and fabricated
Proposed approach for possible realization of detector layer is verified
Proposed approach might be considered as a base line for FoCal mTower detector layer development based on MAPS
Approach need to be tested on prototypes (next step) with real ALPIDE chips
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017

## Slide 19
Thanks a lot
for your attention!
viatcheslav.borshchov@cern.ch, ihor.tymchuk@cern.ch
FoCal meeting, November 15, 2017