## Slide 2: Incidents and accidents Lessons learned
https://indico.cern.ch/event/679768
cern.ch/ep-th-safety
ep-safety-office@cern.ch

## Slide 3: Agenda
CERN 2016 accidents statistics
Faintness and first-aid
Fire
Evacuation drills

## Slide 4: What do we want to avoid?

## Slide 5: Accidents: 2016 CERN’s statistics
240 accidents in 2016, 103 on MPE, 53 on MPA (resp. 86 and 83 in 2015)

## Slide 6: Accidents: 2016 CERN’s statistics

## Slide 7: Accidents: 2016 CERN’s statistics

## Slide 8: Accidents: 2016 CERN’s statistics

## Slide 9: Accidents: 2016 CERN’s statistics

## Slide 10: Accidents: 2016 CERN’s statistics

## Slide 11: Faintness
Two faintnesses on Meyrin site related to heart issues in Nov. 2017
  Quick alert and intervention from Emergency services
  One didn’t survive.
Let’s get trained to react in case of an emergency

## Slide 12: First-aid
First-aid training course:
    Initial courses (8h)
      EN: https://edh.cern.ch/Document/Personnel/TRN/new?course=STAID01IE
      FR: https://edh.cern.ch/Document/Personnel/TRN/new?course=STAID01IF
    Refresher courses (4h)
      EN https://edh.cern.ch/Document/Personnel/TRN/new?course=STAID01RE
      FR https://edh.cern.ch/Document/Personnel/TRN/new?course=STAID01RF
    Short version (1h) – Defibrillator and chest compressions
      EN https://edh.cern.ch/Document/Personnel/TRN/new?course=STDEF01IE
      FR https://edh.cern.ch/Document/Personnel/TRN/new?course=STDEF01IF

## Slide 13: Fire
21 fires at CERN since 1st Jan. 2017
  4 underground
  4 outdoor
  8 caused by electrical installation or equipment
  6 extinguished with fire extinguisher by the personnel

## Slide 14: Fire – what made the difference
Quick detection and alert
  Smoke detection (automatic or human)
  AL3 or 74444 (0041 22 767 4444)
Quick reaction
  Fire extinguisher
  AUL
Personnel trained and vigilant
  Fire extinguisher
  Reduced amount of combustible material
  Type of combustible (IS23 and IS41)

## Slide 15: Fire-extinguisher training course is highly recommended to all personnel!

## Slide 16: Fire extinguisher
Get trained: short (2h), free, fun, interesting for your work and your private life, and you meet fire-fighters!
  EN: https://edh.cern.ch/Document/Personnel/TRN/new?course=STFIE01IE
  FR: https://edh.cern.ch/Document/Personnel/TRN/new?course=STFIE01IF

## Slide 17: Fire prevention – day to day

## Slide 18: Evacuation exercises in 2017
Several evacuation drills organized with the help of HSE Unit – reports available in EDMS:
  AD Hall, in collaboration with EN Dep.
  EHN1, in collaboration with EN Dep.
  SCX5
  B.28
Participation to evacuation drill as observers
  B.35
Roughly 10-15 evacuation drills per year at CERN
  List validated by the DSOC
  If you identify a need for your building, please contact us

## Slide 19: Thanks for your attention

## Slide 20: Spare slides

## Slide 21
8
Take collective prevention measures
6
Replace dangerous items by safer or less dangerous items
The 9 general principles of prevention
1
Avoid the risks
2
Evaluate the risks
3
Fight the risks at their source
4
Adapt the work to the individual
5
Adapt the workplace to technical progress
Include prevention in the work planning
7
Give appropriate instructions
9
Notes: Éviter les risques

## Slide 22: What do we want to avoid?