## Slide 1
Diamond Light Source
Colin Abraham
Snr Power Supply Engineer

## Slide 2
Injector: 100MeV Linac + 3Gev 5Hz Booster
Storage Ring: 24 DBA Cells, 560m, 300mA
30 Beam lines, including
22 I.D. Beam lines
7 Dipole Beam lines
C Abraham – Snr Power Supply Engineer
Diamond – 3rd Generation Light Source

## Slide 3
Four kickers bump in one straight sections (8.3 m flange-to-flange)
2007-15: septum at -16mm and injection point at -8.3 mm
- 8.3 mm
2015-now septum moved at -12 mm to have the injection
point at -6.5 mm and lower the strength of the kicker bump
Diamond SR Injection

## Slide 4
Kickers assembly overview

## Slide 5
Kicker Poor Matching

## Slide 6
Existing kickers coating and tune kicker coating
coating damage appears at the ends
SIK-03
SIK-01
SIK-01
Tune kicker
Kicker vessel coating damage

## Slide 7
4-Point Probe setup
Coating thickness measurements

## Slide 8
Coating thickness measurements

## Slide 9
Kicker Test Stand

## Slide 10
Kicker Test Stand

## Slide 11
Kicker Test Stand

## Slide 12
Kicker Test Stand

## Slide 13
Thank you for your
Attention.
Colin Abraham
Snr Power Supply Engineer