## Slide 1
New button-type BPM design for BESSY VSR
J.-G. Hwang, G. Schwietz, M. Ries, A. Schälicke, V. Dürr, D. Wolk
Helmholtz-Zentrum Berlin (HZB)

## Slide 2
Standard orbit
Island orbit
Motivation
BESSY II
- Hybrid fill pattern
0.8 mA multi-bunch
4 mA slicing
4 mA chopper
3 mA PPRE
TRIBs
- Large offset
- Selective
BESSY VSR
- Intensity
1.65 mA (15 ps)
0.18 mA (1.1 ps)

## Slide 3
BESSY II button-type Beam Position Monitor
Single bunch (1 mA)
Multibunch

## Slide 4
BESSY II button-type Beam Position Monitor
Superposition
▬ Measured
▬ Calculated

## Slide 5
BESSY II button-type Beam Position Monitor
Peak shift : 3.1 %
Fluctuation : ~ 0.66 %
Beam position of 1st bunch is given by
When the 1st bunch signal is influence on next bunch, the position of 2nd bunch is
When , position of next bunch can be calculated

## Slide 6
BESSY II button-type Beam Position Monitor
Coaxial cavity type modes TEm1p-mode (Hm1p-mode) where m and p are 1, 2, 3, k (field variation in azimuthal and longitudinal directions). The cut-off frequency for Hm1-mode like in a coaxial waveguide can be defined as†
where ri and ro are the outer radius of inner conductor and the inner radius of outer conductor, respectively.
BESSY-II button
fc @ button : 8.60 GHz
(10.8 mm diameter )
fc @ insulator : 4.91 GHz
Trapped mode in insulator and button

## Slide 7
For bunch-by-bunch BPM system
Compensation
by front-end system
- High frequency noise rejection
- Bandwidth (Ringing)
- Short and long-term stability
by new BPM design
- Simple/direct solution
- Non-cost effective
Front-end from Elettra

## Slide 8
new BPM opportunity (BESSY VSR)
Chamber
Button structure
dimensions & button layout
Impedance matching
Insulator material
5 multipole magnets in front and behind the VSR cryomodule
→ Chamber dimension : 24 x 55 mm
1. Button head : Signal ↑ and wake field↓
2. Insulator : Impedance and High frequency (ringing)↓
3. Button structure (impedance) : Reflection signal ↓
4. Distance between buttions :
Resolution ↓
5. Gap between button and chamber (housing) : RF shield

## Slide 9
As the signal we use the voltage drop at a resistor R
where Ibeam = I0 e-iwt and .
Since , the width of transformed beam current in frequency domain
In our case ( ~ 3.2 GHz for 1 pF),
.
Then resulting voltage drop is
Curtesy of Peter Forck
New button-type Beam Position Monitor (Button head)
(ps) | (Ghz)
1 | 159
20 | 7.96
30 | 5.31
1 | 159
20 | 7.96
30 | 5.31
To enhance signal strength
- Size of button ↑
- Capacitance of button↓
- Chamber size ↓
But
Size of button ↑ → fcut ↓
Chamber size ↓ → Wake field↑

## Slide 10
New button-type Beam Position Monitor (Button head)
▬ L = 2.0 mm −− g = 0.3 mm
▬ L = 2.5 mm −− g = 0.5 mm
▬ L = 3.0 mm −− g = 0.7 mm
The resulting voltage drop is
For high energy electron beams () , , and the capacitance of coaxial structure (), the voltage is given by
where a is radius of the chamber, is the permittivity.
a
Button
r
L
g

## Slide 11
New button-type Beam Position Monitor (Button head)
Large button
- Signal strength ↑
- Cutoff frequency ↓
What is meant by the cutoff frequency fc? -The desirable TEM mode is allowed to propagate at all frequencies, but at frequencies above fc the first higher-order mode called TE11 is also allowed to propagate*.
† A. Blednykh et. al., Proceedings of IPAC15, MOPMN021 (2015).
*https://www.microwaves101.com/encyclopedias/coax
L = 2.0 mm
g = 0.5 mm
Coaxial cavity type modes TEm1p-mode (Hm1p-mode) where m and p are 1, 2, 3, k (field variation in azimuthal and longitudinal directions). These modes then can be seen by the beam at frequencies defined by the cut-off frequency.
The cut-off frequency for Hm1-mode like in a coaxial waveguide can be defined as†
where r is the radius of button size and g is gap between button and chamber.

## Slide 12
New button-type Beam Position Monitor (Impedance matching)
Old button
Trapped mode in between insulator and button housing
Impedance mismatching

## Slide 13
r22
r21
r12
r11
Δz2
Δz1
Since the wave direction is varied due to the angle (radius change), the optimization of the relative edge position between inner and outer conductor is required.
, where kco is coefficient.
The numerical calculation is performed for various kco.
zpos
▬ kco = 0.0 ▬ kco = 0.1
▬ kco = 0.2 ▬ kco = 0.3
▬ kco = 0.4 ▬ kco = 0.5
▬ kco = 0.6 --- original
ZL = 48.2 Ω for kco = 0.2
New button-type Beam Position Monitor (Impedance matching)
˟ ˟ ˟ ˟
˟ ˟ ˟ ˟
˟ ˟ ˟ ˟
˟ ˟ ˟ ˟
˟ ˟ ˟ ˟
˟ ˟ ˟ ˟
● ● ● ●
● ● ● ●
● ● ● ●
z
r
?

## Slide 14
New button-type Beam Position Monitor (Impedance matching)
▬ Old button
▬ New button
Button
Old button
New button

## Slide 15
New button-type Beam Position Monitor (Insulator)
Fused silica
Alumina
The impedance of coaxial line is given by
where Z0 is the impedance of free space, is dielectric constant, D is outer diameter, d is inner diameter.
Dielectric constant of materials of useable insulator
- Zirconia : 10 ~ 23
- Aluminum oxide : 9.0 ~ 9.8
- Magnesium oxide : 9.0 ~ 10.1
- Aluminum nitride : 9.0
- Nitride : 7.5
- Silicon nitride : 7.5
- Diamond : 5.7
- Fused silica : 3.82
The cut-off frequency for Hm1-mode like in a coaxial waveguide can be defined as†
where r is the radius of button size and g is gap between button and chamber.

## Slide 16
New button-type Beam Position Monitor (Insulator)
The mode decays proportional to
Aluminum Oxide (Al2O3)
= 9.5
= 0.00343
Q = / ~ 2741
Fused silica (SiO2)
= 3.74
= 0.00144
Q = / ~ 2597

## Slide 17
New button-type Beam Position Monitor (Insulator)
1. Fused silica (SiO2)
Hardness kg/mm2 600
Thermal Conductivity W/m•°K 1.38
Coefficient of Thermal Expansion 10^–6/°C 0.55
Dielectric Constant@ 1 MHz 3.82
Dissipation Factor@ 1 MHz 0.00002
2. Aluminum Oxide (Al2O3)
Hardness kg/mm2 1440
Thermal Conductivity W/m•°K 35
Coefficient of Thermal Expansion 10^–6/°C 8.4
Dielectric Constant@ 1 MHz 9.0 ~ 9.8
Dissipation Factor@ 1 kHz 0.0002

## Slide 18
Conclusion
High accuracy bunch-by-bunch BPM
Please check your BPM .
LPF / BPF?
Three solutions are under-investigation.
- New BPM design
- Self-compensation scheme
- Flat-phase filter
Thank you for your attention.